## Backflow
Backflow Prevention Devices Requiring Inspection
ED. Centre | SCHOOL | LOCATION | TYPE | DEVICE NO. | SERIAL NO. | INSPECTION DATE | EXPERATION DATE | INSPECTED BY
WEC | ANDOVER ELEMENTARY | SPRINKLER ROOM | DCVA | 8930 | K1-1034
WEC | ANDOVER ELEMENTARY | BEHIND GYM | RPP | 8550 | 139531
WEC | ANDOVER ELEMENTARY | JANITOR ROOM | RPP | 8552 | 348250
WEC | ANDOVER ELEMENTARY | MECH ROOM UPSTAIRS | RPP | 8549 | 348253
WEC | ANDOVER ELEMENTARY | JANITOR ROOM | RPP | 8551 | 348256
WEC | ANDOVER ELEMENTARY |  | RPP | 333995 | 414474
OEC | ASSINIBOINE AVE | WATER FEED TO BOILER | DCVA | 10597 | 289672 | 2024-Aug-23 | 2025-Aug-23 | Jeff Donahue
OEC | ASSINIBOINE AVE | WATER MAIN BOILER ROOM | DCVA | 6629 | 44653 | 2024-Aug-23 | 2025-Aug-22 | Jeff Donahue
OEC | BARKERS POINT | New Boiler Room | Cast Iron Sectional - Hot Water | 23219 | 4046 | 2024-Apr-5 | 2025-Apr-5 | Jason Paquin
OEC | BARKERS POINT | New Boiler Room | Hot Water Tank Over 42 | 23220 | 295062Y3 | 2024-Apr-6 | 2026-Apr -5 | Jason Paquin
OEC | BARKERS POINT | Second level Mechanical Room/Humidifier | RPP | 4020399T | PH415 | 2025-02-20 | 2026-02-20 | Paul Dykeman
OEC | BARKERS POINT | Upper Level Mechanical Room/Humidifer | RPP | 4020399T | PB414 | 2025-02-20 | 2026-02-20 | Paul Dykeman
OEC | BARKERS POINT | Boiler room | AMES | 2000 SS | 126159 | 2024-06-13 | 2025-06-13 | Roy Barton
OEC | BARKERS POINT | Boiler room/WATER MAIN | DCVA | 4010899T | MK057 | 2025-02-20 | 2026-02-20 | Paul Dykeman
OEC | BARKERS POINT | BOILER ROOM/BOILER FEED | RPP | 4020399T | PH408 | 2025-02-20 | 2026-02-20 | Paul Dykeman
OEC | BARKERS POINT | Custodial Room D27/Gym water main | DCVA | 7 | 249613 | 2025-02-20 | 2026-02-20 | Paul Dykeman
WEC | BATH COMMUNITY | WATER SUPPLY BOILER ROOM | RPP | 8275 | 291656
WEC | BATH ELEMENTARY | WATER SUPPLY BOILER ROOM | RPP | 8276 | 295833
FEC | BLISS CARMEN | Boiler Room | Cast Iron Sectional - Hot Water | PVX105338 | 7133839800260100 | 2024-Apr-4 | 2025-Apr -4 | Jason Paquin
FEC | BLISS CARMEN | Boiler Room | Cast Iron Sectional - Hot Water | PVX105337 | 7142361700131 | 2024-Apr-4 | 2025-Apr -4 | Jason Paquin
FEC | BLISS CARMEN | Air Seperator | Pressure Vessel Upto 42 | PVX105339 | 117094 | 2024-Apr-4 | 2026-Apr -4 | Jason Paquin
FEC | BLISS CARMEN | Boiler Room Expansion Tank | Hydro Pneumatic Tank | PVX105340 | 183198 | 2024-Apr-4 | 2026-Apr -4 | Jason Paquin
FEC | BLISS CARMEN | Custodial Room 215/Cold Supply | RPP | 975X6 | W356075 | 2025-01-15 | 2026-01-15 | Paul Dykeman
FEC | BLISS CARMEN | Custodal Room 215/Hot Supply | RPP | 975X6 | W358090 | 2025-01-15 | 2026-01-15 | Paul Dykeman
FEC | BLISS CARMEN | Custodial Room 113/ Hot Supply | RPP | 975X6 | W358097 | 2025-01-15 | 2026-01-15 | Paul Dykeman
FEC | BLISS CARMEN | Custodial Room 113/Cold Supply | RPP | 975X6 | W357968 | 2025-01-15 | 2026-01-15 | Paul Dykeman
FEC | BLISS CARMEN | Custodial Room 108/ Hot Supply | RPP | 975X6 | W358099 | 2025-01-15 | 2026-01-15 | Paul Dykeman
FEC | BLISS CARMEN | Custodial Room 108/ Cold Supply | RPP | 975X6 | W357973 | 2025-01-15 | 2026-01-15 | Paul Dykeman
FEC | BLISS CARMEN | Custodial Room 143/Hot Supply | RPP | 975X6 | W348037
FEC | BLISS CARMEN | Custodial Room 143/Cold Supply | RPP | 975X6 | W356053 | 2025-01-14 | 2026-01-14 | Paul Dykeman
FEC | BLISS CARMEN | Custodial Room 143 | RPP | 975XL | W358637 | 2025-01-14 | 2026-01-14 | Paul Dykeman
FEC | BLISS CARMEN | Kitchen/Dishwasher | PVB | 800M4QT | 306232 | 2025-01-15 | 2026-01-15 | Paul Dykeman
FEC | BLISS CARMEN | Custodial Room 153/Cold Supply | RPP | 975X6 | W358096 | 2025-01-14 | 2026-01-14 | Paul Dykeman
FEC | BLISS CARMEN | Boiler Room/Boiler Feed | RPP | 375 | 2676416 | 2025-01-14 | 2026-01-14 | Paul Dykeman
FEC | BLISS CARMEN | Second Floor Mechanical Room/Humidifier | RPP | 975X6 | W291367 | 2025-01-14 | 2026-01-14 | Paul Dykeman
FEC | BLISS CARMEN | Custodial Room 153/Hot Supply | RPP | 975X6 | W358093 | 2025-01-14 | 2026-01-14 | Paul Dykeman
FEC | BLISS CARMEN | Custodial Room 147B/HOT SUPPLY | RPP | 975XL | W358089 | 2025-01-15 | 2026-01-15 | Paul Dykeman
FEC | BLISS CARMEN | Custodial Room 147B/COLD SUPPLY | RPP | 975XL | W356103 | 2025-01-15 | 2026-01-15 | Paul Dykeman
FEC | BLISS CARMEN | Custodial Room 209/COLD SUPPLY | RPP | 975XL | W358094 | 2025-01-15 | 2026-01-15 | Paul Dykeman
FEC | BLISS CARMEN | Custodial Room 209/HOT SUPPLY | RPP | 975XL | W358095 | 2025-01-15 | 2026-01-15 | Paul Dykeman
FEC | BLISS CARMEN | SPRINKLER ROOMWATER MAIN | DCVA | 950XLT | 3048938 | 2025-01-14 | 2026-01-14 | Paul Dykeman
FEC | BLISS CARMEN | SPRINKLER ROOMWATER MAIN | DCVA | 950XLT | 3048940 | 2025-01-14 | 2026-01-14 | Paul Dykeman
FEC | BLISS CARMEN | SPRINKLER ROOM |  | 757 | 1F1091 | 2024-06-25 | 2025-06-25 | Roy Barton
WEC | BRISTOL ELEMENTARY | WATER SUPPLY BOILER ROOM | RPP | 315407 | 411439
OEC | BURTON | Boiler Room | RPP |  | AJAU8799 | 2024-Sept-05 | 2025-Sept-05 | Jeff Donahue
WEC | CANTERBURY | WATER SUPPLY BOILER ROOM | RPP | 3373957 | 174369
WEC | CARLETON NORTH | MECHANICAL ROOM | RPP | 7098 | A90888
FEC | CENTRAL NEW BRUNSWICK | Automotive Shop - Small Room - Air Compressor | Air Tank Mounted | PVH161177 | 393563 | 2024-Apr-09 | 2026-Apr-09 | Jason Paquin
FEC | CENTRAL NEW BRUNSWICK | Boiler Room - Air Separator | Pressure Vessel Upto 42 | PVS103957 | 193877 | 2024-Apr-09 | 2026-Apr-09 | Jason Paquin
FEC | CENTRAL NEW BRUNSWICK | Boiler Room - Expantion Tank | Pressure Vessel Upto 43 | PVS103958 |  | 2024-Apr-09 | 2026-Apr-09 | Jason Paquin
FEC | CENTRAL NEW BRUNSWICK | Boiler Room - Air Compressor | Air Tank Mounted | PVH161176 | 272581 | 2024-Apr-09 | 2026-Apr-09 | Jason Paquin
FEC | CENTRAL NEW BRUNSWICK | BOILER FEED -MECH ROOM | RPP | 7562 | B32857
FEC | CENTRAL NEW BRUNSWICK | FEED TO FIRE TANK | RPP | 7561 | B32863
FEC | CENTRAL NEW BRUNSWICK | WALL BETWEEN 2 LAB | RPP | 7565 | A58214
WEC | CENTREVILLE |  | RPP | 10889 | 425614
OEC | CHIPMAN ELEMENTARY | BOILER ROOM | RPP | 8075 | 270833 | 2024-Sept-04 | 2025-Sept-04 | Jeff Donahue
OEC | CHIPMAN ELEMENTARY | BOILER ROOM | Cast Iron Sectional - Hot Water | BOS104071 | 67107 | 2024-Apr-09 | 2025-Apr-09 | Jason Paquin
OEC | CHIPMAN ELEMENTARY | BOILER ROOM | Pressure Vessel Upto 42 | PV81039 | 51525 | 2024-Apr-09 | 2026-Apr-09 | Jason Paquin
OEC | CHIPMAN FOREST AVENUE | SPRINKLER ROOM | Hydro Pneumatic Tank | PV61674 | U2601 | 2024-Apr-09 | 2026-Apr-09 | Jason Paquin
OEC | CHIPMAN FOREST AVENUE | MECHANICAL ROOM SPRINKLER | Hydro Pneumatic Tank | PV61673 | U2600 | 2024-Apr-09 | 2026-Apr-09 | Jason Paquin
OEC | CHIPMAN FOREST AVENUE | MECHANICAL ROOM | Electric Boiler - Hot Water | BO61677 | 23817 | 2024-Apr-09 | 2026-Apr-09 | Jason Paquin
OEC | CHIPMAN FOREST AVENUE | MECHANICAL ROOM | Air Tank Mounted | pv61676 | 5.8445 | 2024-Apr-09 | 2026-Apr-09 | Jason Paquin
OEC | CHIPMAN FOREST AVENUE | MECHANICAL ROOM | Air Tank Mounted | PV61675 | 585584 | 2024-Apr-09 | 2026-Apr-09 | Jason Paquin
OEC | CHIPMAN FOREST AVENUE | MECHANICAL ROOM UPSTAIRS HUMIDIFIER |  |  | 261914 | 2024-Sept-03 | 2025-Sept-03 | Jeff Donahue
OEC | CHIPMAN FOREST AVENUE | PENTHOUSE HUMIDIFIER |  |  | 261916 | 2024-Sept-03 | 2025-Sept-03 | Jeff Donahue
OEC | CHIPMAN FOREST AVENUE | TANK ROOM |  | 7 | A04871 | 2024-07-31 | 2025-07-31 | Roy Barton
FEC | CONNAUGHT | Boiler Room | Horizontal Return Tube - Hot Water | PVH161146 | 7745189900064 | 2024-Apr-04 | 2025-Apr-04 | Jason Paquin
FEC | CONNAUGHT | Boiler Room Expansion Tank | Hydro Pneumatic Tank | PVH161147 | 1019025001 | 2024-Apr-04 | 2026-Apr-04 | Jason Paquin
FEC | CONNAUGHT | Boiler Room Air Seperator | Pressure Vessel Upto 42 | PVH161150 | 301427 | 2024-Apr-04 | 2026-Apr-04 | Jason Paquin
FEC | CONNAUGHT | BOILER ROOM/WATER MAIN | DCVA | 7 | 1274481 | 2025-02-16 | 2026-02-26 | Paul Dykeman
FEC | CONNAUGHT | CAFETERIA/DISHWASHER | PVB | 460XL | 438656 | 2025-02-26 | 2026-02-26 | Paul Dykeman
FEC | CONNAUGHT | CAFETERIA/DISHWASHER | PVB | 460XL | 438649 | 2025-02-26 | 2026-02-26 | Paul Dykeman
FEC | CONNAUGHT | Cafeteria/TRAP PRIMERS | PVB | 460XL | 427054 | 2025-02-26 | 2026-02-26 | Paul Dykeman
FEC | CONNAUGHT | CUSTODIAL CLOSET ROOM 37/TRAP PRIMERS | PVB | 460XL | 427053 | 2025-02-26 | 2026-02-26 | Paul Dykeman
FEC | CONNAUGHT | Penthouse Mechanical Room/HUMIDIFIER | RPP | RPLFUA | 831874 | 2025-02-26 | 2026-02-26 | Paul Dykeman
FEC | CONNAUGHT | Penthouse Mechanical Room/TRAP PRIMERS | PVB | 460XL | 427057 | 2025-02-26 | 2026-02-26 | Paul Dykeman
FEC | CONNAUGHT | Sprinkler Room | DCVA | 350XL | AKG8762 | 2025-02-27 | 2026-02-27 | Paul Dykeman
FEC | CONNAUGHT | Sprinkler Room | DCVA | 7 | 70012 | 2025-02-27 | 2026-02-27 | Paul Dykeman
OEC | DEVON | . | Cast Iron Sectional - Hot Water | BOS104012 | A8553933903079 | 2024-Apr-09 | 2025-Apr-09 | Jason Paquin
OEC | DEVON | Boiler Room - Fire Compressor | Air Tank Mounted | PVS104011 | NB1554890 | 2024-Apr-09 | 2026-Apr-09 | Jason Paquin
OEC | DEVON | Boiler Room - Under Stiars Air Compressor | Air Tank Mounted | PVN165038 | 1663010 | 2024-Apr-09 | 2026-Apr-09 | Jason Paquin
OEC | DEVON | Tunnel | RPP | 909 | 92867 | 2025-02-24 | 2026-02-24 | Paul Dykeman
OEC | DEVON | Boiler Room | RPP | 909 | 199587 | 2025-02-24 | 2026-02-24 | Paul Dykeman
OEC | DEVON | SCHOOL STREET TUNNEL |  | 774 | 1-05600 | 2024-06-26 | 2025-06-26 | Roy Barton
FEC | DOAKTOWN | ELECTRICAL ROOM | RPP | 3600 | 281854
FEC | DOAKTOWN | JANITOR ROOM | RPP | 8395 | 345266
FEC | DOAKTOWN | BOILER ROOM | Cast Iron Sectional - Hot Water | PVP98288 | A8544961103…34 | 2024-Apr-09 | 2025-Apr-09 | Jason Paquin
FEC | DOAKTOWN | ELECTRICAL ROOM | DCVA | 3599 | A05080
FEC | DOAKTOWN | GLYCOL MACHINE BOILER ROOM | RPP | 8397 | 335137
FEC | DOAKTOWN | JANITOR ROOM | RPP | 8396 | A69497
FEC | DOAKTOWN | JANITOR ROOM | RPP | 8394 | 73333
FEC | DOAKTOWN | JANITOR ROOM | RPP | 8393 | A69490
WEC | FLORENCEVILLE MIDDLE | BOILER ROOM | RPP | 1767 | 119150
WEC | FLORENCEVILLE MIDDLE | BOILER ROOM | RPP | 2312 | 174046
FEC | FOREST HILL | BOILER ROOM | Cast Iron Sectional - Hot Water | BOS103977 | 9350307000027 | 2024-Apr-04 | 2025-Apr-04 | Jason Paquin
FEC | FOREST HILL | BOILER ROOM | Air Tank Mounted | PVH161269 | A17060988 | 2024-Apr-04 | 2026-Apr-04 | Jason Paquin
FEC | FOREST HILL | BOILER ROOM | DCVA | 7 | 272200 | 2025-02-27 | 2026-02-24 | Paul Dykeman
FEC | FOREST HILL | BOILER ROOM | RPP | 9 | A38495 | 2025-02-27 | 2026-02-27 | Paul Dykeman
FEC | FOREST HILL | Equipment Room | DCVA | 7 | 260222 | 2025-02-28 | 2026-02-28 | Paul Dykeman
FEC | FREDERICTON HIGH | C Block Penthouse/Hunidifier Feed | RPP | 9 | 243814
FEC | FREDERICTON HIGH | Boiler Room/Boiler Feed | RPP | 9 | 38495
FEC | FREDERICTON HIGH | Equipment Room off Gym/ Water Main | DCVA | 7
FEC | FREDERICTON HIGH | Storage Room B/Water Main | DCVA | 7 | 272884
FEC | FREDERICTON HIGH | York St. Entrance/Water Main | DCVA | 7 | 272194
FEC | FREDERICTON HIGH | Boiler Room/water Main | DCVA | 7 | 267503
FEC | FREDERICTON HIGH | Sprinkler Room in Auto Shop |  | 870V | 11221349 | 2024-08-21 | 2025-08-21 | Roy Barton
FEC | FREDERICTON HIGH | Custodial Closet Room E128 |  | 975XL | W341488 | 2024-08-21 | 2025-08-21 | Roy Barton
FEC | FREDERICTON HIGH | Staff Wellness Room D 112 |  | 375 A | X14240 | 2024-08-21 | 2025-08-21 | Roy Barton
FEC | FREDERICTON HIGH | Cafeteria Storage Room |  | 975XL | W341496XLTCU | 2024-08-23 | 2025-08-23 | Roy Barton
FEC | FREDERICTON HIGH | Custodial Closet C136 |  | 975XL | 2876128XLTCU | 2024-08-21 | 2025-08-21 | Roy Barton
FEC | FREDERICTON HIGH | ROOM E136 |  |  | 797332
FEC | FREDERICTON HIGH | ROOM F113 |  |  | 810369
FEC | FREDERICTON HIGH | PENTHOUSE B WING |  |  | 873154
FEC | FREDERICTON HIGH | PENTHOUSE D WING |  |  | 922780
FEC | FREDERICTON HIGH | COOLING TOWER |  |  | 922993
FEC | FREDERICTON HIGH | SPRINKER ROOM |  |  | 9910201159
FEC | FREDERICTON HIGH | WASH STATION |  |  | 388779
FEC | FREDERICTON HIGH | WASH STATION |  |  | 405148
FEC | FREDERICTON HIGH | CHEF CAFÉ |  |  | 414366
FEC | FREDERICTON HIGH | CHEF CAFÉ |  |  | 418862
FEC | FREDERICTON HIGH | STORE ROOM #3 |  |  | 15156
FEC | FREDERICTON HIGH | ROOM C60 |  |  | 12725
FEC | FREDERICTON HIGH | MOP SINK |  |  | 109796
FEC | FREDERICTON HIGH | UPSTAIRS MECHANICAL ROOM |  |  | 109814
FEC | FREDERICTON HIGH | MOP SINK |  |  | 110044
FEC | FREDERICTON HIGH | MECHANIC SHOP |  |  | 31521
FEC | FREDERICTON HIGH | ROOM A26 |  |  | 20203
FEC | FREDERICTON HIGH | CUSTODIAL ROOM |  |  | 20205
FEC | FREDERICTON HIGH | MOP SINK ROOM |  |  | 20206
FEC | FREDERICTON HIGH | ROOM E128 |  |  | 20378
FEC | FREDERICTON HIGH | ROOM F105 |  |  | 176505
FEC | FREDERICTON HIGH | ROOM C144 |  |  | 20738
FEC | FREDERICTON HIGH | ROOM C103 |  |  | 21825
FEC | FREDERICTON HIGH | CAFETERIA |  |  | 21829
FEC | FREDERICTON HIGH | ROOM F104 |  |  | 21832
FEC | FREDERICTON HIGH | ROOM E11 |  |  | 22999
FEC | FREDERICTON HIGH | ROOM C027 |  |  | 23000
FEC | FREDERICTON HIGH | ROOM C136 |  |  | 23002
FEC | FREDERICTON HIGH | ROOM D3 |  |  | 23011
FEC | FREDERICTON HIGH | BESIDE MAIN OFFICE |  |  | 23013
FEC | FREDERICTON HIGH | ROOM C51 |  |  | 23014
OEC | GAGETOWN | BOILER ROOM | RPP | 10580 | SP161 Replaced
FEC | GAGETOWN | BOILER ROOM | RPP | 10580 | AJBA3634 | 2024-Sept-05 | 2025-Sept-05 | Jeff Donahue
OEC | GEARY | WATER MAIN BOILER ROOM | DCVA | 348556 | 125995 Replaced
OEC | GEARY | WATER MAIN BOILER ROOM | DCVA | 348556 | AKH6206 | 2025-Mar-04 | 2026-Mar-04 | Jeff Donahue
OEC | GEARY | KITCHEN BEHIND STEAM OVEN | PVB | 348566 | 380404 | 2025-Mar-04 | 2026-Mar-04 | Jeff Donahue
OEC | GEARY | MECHANICAL ROOM | RPP | 348696 | 429860 Replaced
OEC | GEARY | MECHANICAL ROOM Rm E 117 | RPP | 348696 | AJBE7929 | 2025-Mar-04 | 2026-Mar-04 | Jeff Donahue
OEC | GEARY | JANITOR ROOM | RPP | 348562 | 450016 Replaced
OEC | GEARY | JANITOR ROOM 2nd Floor Rm E209 | RPP | 348562 | AJUAU1130 | 2025-Mar-04 | 2026-Mar-04 | Jeff Donahue
OEC | GEARY | CUSTODIAL ROOM 2nd Floor Rm E209 | RPP |  | AJAY4626 | 2025-Mar-04 | 2026-Mar-04 | Jeff Donahue
OEC | GEARY | TRAP PRIMER/ WATER ENTRANCE | RPP | 348569 | 450020 Replaced
OEC | GEARY | TRAP PRIMER/ WATER ENTRANCE Rm E 107 | RPP | 348569 | AJAU0712 | 2025-Mar-04 | 2026-Mar-04 | Jeff Donahue
OEC | GEARY | PENTHOUSE MECHANICAL | RPP | 348568 | 450021 | 2024-Aug-30 | 2025-Aug-30 | Jeff Donahue
OEC | GEARY | STORAGE ROOM INTERCEPTOR | RPP | 348535 | 450169 Replaced
OEC | GEARY | STORAGE ROOM INTERCEPTOR Rm 123 | RPP | 348535 | AJU4963 | 2024-Aug-30 | 2025-Aug-30 | Jeff Donahue
OEC | GEARY | JANITOR ROOM | RPP | 348557 | 450173 | 2024-Aug-30 | 2025-Aug-30 | Jeff Donahue
OEC | GEARY | JANITOR ROOM | RPP | 348539 | 450174 | 2024-Aug-30 | 2025-Aug-30 | Jeff Donahue
OEC | GEARY | BOILER ROOM | RPP | 348551 | 450175 Replaced
OEC | GEARY | BOILER ROOM | RPP | 348551 | AJAU0722 | 2025-Mar-04 | 2026-Mar-04 | Jeff Donahue
OEC | GEARY | JANITOR ROOM | RPP | 348559 | 450177 Replaced
OEC | GEARY | JANITOR ROOM by Kitchen Rm E122 | RPP | 348559 | AJAU0711 | 2025-Mar-04 | 2026-Mar-04 | Jeff Donahue
OEC | GEARY | STORAGE ROOM INTERCEPTOR | RPP | 348540 | 450178 Replaced
OEC | GEARY | STORAGE ROOM INTERCEPTOR Rm E123 | RPP | 348540 | AJBA3678 | 2025-Mar-04 | 2026-Mar-04 | Jeff Donahue
OEC | GEARY | JANITOR ROOM | RPP | 348564 | 450609 | 2024-Aug-30 | 2025-Aug-30 | Jeff Donahue
FEC | GEORGE ST | Room 216 Above Ceiling/Lab hot water supply | RPP | 9 | 194418 | OUT OF SEVICE
FEC | GEORGE ST | Room 216 Above Cei8ling/Lab cold water | RPP | 9 | 174496 | OUT OF SEVICE
FEC | GEORGE ST | Annex Tunnel | DCVA | 7 | 234191 | 2025-02-26 | 2026-02-26 | Paul Dykeman
FEC | GEORGE ST | Gym Tunnel/Water Main | DCVA | 7 | 272879 | 2025-02-26 | 2026-02-26 | Paul Dykeman
FEC | GEORGE ST | Room 104/Water Main | DCVA | 7 | 272878 | 2025-02-26 | 2026-02-26 | Paul Dykeman
FEC | GEORGE ST | ROOM 105 CUSTODIAL |  | 774 | 1-05583 | 2024-07-29 | 2025-07-29 | Roy Barton
OEC | GESNER | WATER FEED TO BOILER | DCVA | 3757 | 134165 | 2024-Aug-23 | 2025-Aug-23 | Jeff Donahue
OEC | GESNER | WATER MAIN BOILER ROOM | DCVA | 6628 | 44682 Replaced
OEC | GESNER | WATER MAIN BOILER ROOM | DCVA | 6628 | AKG8754 | 2024-Sept-13 | 2025-Sept-13 | Jeff Donahue
OEC | GESNER | KITCHEN / DISHWASHER | RPP | 429192 | 3638 | 2024-Aug-26 | 2025-Aug-26 | Jeff Donahue
OEC | GIBSON NEILL | Mechanical Room - Boiler #1 | Cast Iron Secitonal - Hot Water | BOS108859 | 7134284200038100 | 2024-Apr-5 | 2025-Apr-5 | Jason Paquin
OEC | GIBSON NEILL | Mechanical Room - Boiler #2 | Cast Iron Secitonal - Hot Water | BOS109958 | 7134284100032100 | 2024-Apr-5 | 2026-Apr-5 | Jason Paquin
OEC | GIBSON NEILL | Boiler Room - Expansion Tank #2 | Pressure Vessel UPto42 | PVS104820 | 699771 | 2024-Apr-5 | 2026-Apr-5 | Jason Paquin
OEC | GIBSON NEILL | Boiler Room - Expansion Tank #1 | Pressure Vessel UPto43 | PVS104819 | 699772 | 2024-Apr-5 | 2026-Apr-5 | Jason Paquin
OEC | GIBSON NEILL | Mechanical Room 148/Humidifier | DCVA | 7 | 67405 | 2025-01-23 | 2025-01-23 | Greg Hallet
OEC | GIBSON NEILL | Mechanical Room 148/Trap Seal Primer | PVB | 460 | 349323 | 2025-01-23 | 2025-01-23 | Greg Hallet
OEC | GIBSON NEILL | Custodial Room 152/Trap Seal Primer | PVB | 460 | 349238
OEC | GIBSON NEILL | Custodial Room 152/Cold Supply | RPP | 375 | A146256 | 2025-01-23 | 2026-01-23 | Greg Hallet
OEC | GIBSON NEILL | Custodian Room 152/Hot Supply | RPP | 375 | A149509 | 2025-01-23 | 2026-01-23 | Greg Hallet
OEC | GIBSON NEILL | Mechanical Room 127/Humidifier | DCVA | 7 | 71196 | 2025-01-23 | 2026-01-23 | Greg Hallet
OEC | GIBSON NEILL | Mechanical Room 127/Trap Seal Primer | PVB | 460 | 349286 | 2025-01-23 | 2026-01-23 | Greg Hallet
OEC | GIBSON NEILL | Work Room/Trap Seal Primer | PVB | 460 | 349289 | 2025-01-23 | 2026-01-23 | Greg Hallet
OEC | GIBSON NEILL | Custodial Closet 131/Trap Seal Primer | PVB | 460 | 349382
OEC | GIBSON NEILL | Custodian Room 131/Cold Supply | RPP | 375 | A149506 | 2025-01-23 | 2026-01-23 | Greg Hallet
OEC | GIBSON NEILL | Custodial Room 131/Hot Supply | RPP | 375 | A149500 | 2025-01-23 | 2026-01-23 | Greg Hallet
OEC | GIBSON NEILL | Boys Washroom Room 113/Trap Seal Primer | PVB | 460 | 349316 | 2025-01-23 | 2026-01-23 | Greg Hallet
OEC | GIBSON NEILL | Custodial Room by Office/cold supply | RPP | 375 | A149531 | 2025-01-23 | 2026-01-23 | Greg Hallet
OEC | GIBSON NEILL | Custodial Closet by office/Hot Supply | RPP | 375 | A142991 | 2025-01-23 | 2026-01-23 | Greg Hallet
OEC | GIBSON NEILL | Kitchen/Trap Seal Primer | PVB | 460 | 349385 | 2025-01-23 | 2026-01-23 | Greg Hallet
OEC | GIBSON NEILL | Custodian Room off Kitchen/Cold Supply | RPP | 9 | 344692 | 2025-01-23 | 2026-01-23 | Greg Hallet
OEC | GIBSON NEILL | Custodian Roof Off Kitchen/Hot Supply | RPP | 9 | 335906 | 2025-01-23 | 2026-01-23 | Greg Hallet
OEC | GIBSON NEILL | Girls Washroom Roof 196/Trap Seal Primer | PVB | 460 | 349317 | 2025-01-23 | 2026-01-23 | Greg Hallet
OEC | GIBSON NEILL | Public Gym Washroom Room 216/Trap Seal Primer | PVB | 460 | 349296 | 2025-01-23 | 2026-01-23 | Greg Hallet
OEC | GIBSON NEILL | Room 230/Trap Seal Primer | PVB | 460 | 349283
OEC | GIBSON NEILL | Room 230/Custodian Sink Hot Supply | RPP | 375 | A138319 | 2025-01-23 | 2026-01-23 | Greg Hallet
OEC | GIBSON NEILL | Custodial Room 230/Custodian Sink Cold Supply | RPP | 375 | 145717 | 2025-01-23 | 2026-01-23 | Greg Hallet
OEC | GIBSON NEILL | Shower Room 211/Trap Seal Primer | PVB | 460 | 349287 | 2025-01-23 | 2026-01-23 | Greg Hallet
OEC | GIBSON NEILL | Boiler Room/Trap Seal Primer | PVB | 460 | 349318
OEC | GIBSON NEILL | Boiler Room/Water Main | RPP | 375 | A178232 | 2025-01-23 | 2025-01-23 | Greg Hallet
OEC | GIBSON NEILL | Boiler Room/Water Main | RPP | 375 | A189695 | 2025-01-23 | 2025-01-23 | Greg Hallet
OEC | GIBSON NEILL | Second Level Mechanical Room/Trap Seal Primer | PVB | 460 | 349301
OEC | GIBSON NEILL | Second Level Mechanical Room/Trap Seal Primer | PVB | 460 | 349330 | 2025-01-23 | 2026-01-23 | Greg Hallet
OEC | GIBSON NEILL | Second Level Mechanical Room/Trap Seal Primer | PVB | 460 | 349329 | 2025-01-23 | 2026-01-23 | Greg Hallet
OEC | GIBSON NEILL | Second Level Mechanical Room/Humidifier | DCVA | 7 | 72895 | 2025-01-23 | 2026-01-23 | Greg Hallet
OEC | GIBSON NEILL | Second Level Mechanical Room/Humidifier | DCVA | 7 | 71192 | 2025-01-23 | 2026-01-23 | Greg Hallet
OEC | GIBSON NEILL | Second Level Mechanical Room/Humidifier | DCVA | 7 | 60274 | 2025-01-23 | 2026-01-23 | Greg Hallet
OEC | GIBSON NEILL | Custodial Closet 178 | RPP | 375 | 61895 | 2025-01-23 | 2026-01-23 | Greg Hallet
OEC | GIBSON NEILL | Custodial Closet 179 | RPP | 376 | 149536 | 2025-01-23 | 2026-01-23 | Greg Hallet
OEC | GIBSON NEILL | Mechanical Room C 174/humidifier | DCVA | 7 | 70652 | 2025-01-23 | 2026-01-23 | Greg Hallet
OEC | GIBSON NEILL | Mechanical Room C 174/humidifier | PVB | 460 | 349288 | 2025-01-23 | 2026-01-23 | Greg Hallet
OEC | GIBSON NEILL | SPRINKLER ROOM |  | DC200 | L150508 | 2024-07-05 | 2025-07-05 | Roy Barton
OEC | HAROLD PETERSON | WATER MAIN CLOSET | DCVA | 6701 | 44686 | 2024-Aug-22 | 2025-Aug-22 | Jeff Donahue
OEC | HAROLD PETERSON | WATER FEED TO BOILER | RPP | 3758 | 5Z108 | 2024-Aug-22 | 2025-Aug-22 | Jeff Donahue
OEC | HAROLD PETERSON | SPRINKLER MAIN | DCVA | 6702 | IJ1505 | 2024-06-15 | 2025-06-15 | Roy Barton
WEC | HARTLAND COMMUNITY | MECHANICAL ROOM ii | RPP | 4532 | AC177
WEC | HARTLAND COMMUNITY | MECHANICAL ROOM DOWNSTAIRS | RPP | 4531 | AC184
WEC | HARTLAND COMMUNITY | MECHANICAL ROOM #2 | RPP | 4530 | ACJ07
WEC | HARTLAND COMMUNITY | LAB ROOM A210 | RPP | 4534 | AGE46
WEC | HARTLAND COMMUNITY | MECHANICAL ROOM WATER MAIN | DCVA | 4529 | NEG99
WEC | HARTLAND COMMUNITY | LAB ROOM A210 | RPP | 4533 | UM346
WEC | HARTLAND COMMUNITY | SPRINKLER ROOM | DCVA | 5019 | 91200606
WEC | HARTLAND COMMUNITY | SPRINKLER ROOM |  | 757 | RC-1893 | 2024-08-14 | 2025-08-14 | Roy Barton
OEC | HARVEY ELEMENTARY | BOILER ROOM | RPP | 3598 | 281872
OEC | HARVEY HIGH | BOILER ROOM | RPP | 3601 | 219677
OEC | HARVEY HIGH | PUMP ROOM | DCVA | 5371 | 2595473
OEC | HARVEY HIGH | SPRINKLER ROOM ON TANK | DCVA | 7119 | 65341 | 2024-07-30 | 2025-07-30 | Roy Barton
FEC | HANWELL PARK | ON WATER ENTRANCE | LF009QT |  | 41719 | 2024-Aug-27 | 2025-Aug-27 | Jeff Donahue
FEC | HANWELL PARK | SCIENCE LAB 2ND FLOOR | LF009QT |  | 102315 | 2024-Aug-27 | 2025-Aug-27 | Jeff Donahue
FEC | HANWELL PARK | SCIENCE LAB 2ND FLOOR | LF009QT |  | 102325 | 2024-Aug-27 | 2025-Aug-27 | Jeff Donahue
FEC | HANWELL PARK | BOILER ROOM | LF009QT |  | 125166 | 2024-Aug-27 | 2025-Aug-27 | Jeff Donahue
FEC | HANWELL PARK | 1st FLOOR UNDER STAIRS BESIDE KITCHEN | LF009QT |  | 230718 | 2024-Aug-27 | 2025-Aug-27 | Jeff Donahue
FEC | HANWELL PARK | 1st FLOOR UNDER STAIRS BESIDE KITCHEN | LF009QT |  | 230719 | 2024-Aug-27 | 2025-Aug-27 | Jeff Donahue
FEC | HANWELL PARK | BOILER ROOM | LF009QT |  | 232701 | 2024-Aug-27 | 2025-Aug-27 | Jeff Donahue
FEC | HANWELL PARK | CUSTODIAL ROOM 1st FLOOR | LF009QT |  | 311434 | 2024-Aug-27 | 2025-Aug-27 | Jeff Donahue
FEC | HANWELL PARK | CUSTODIAL ROOM 1st FLOOR | LF009QT |  | 321772 | 2024-Aug-27 | 2025-Aug-27 | Jeff Donahue
FEC | HANWELL PARK | CUSTODIAL ROOM 2nd FLOOR WEST WING | LF009QT |  | 321773 | 2024-Aug-27 | 2025-Aug-27 | Jeff Donahue
FEC | HANWELL PARK | CUSTODIAL ROOM 1st FLOOR | LF009QT |  | 321774 | 2024-Aug-27 | 2025-Aug-27 | Jeff Donahue
FEC | HANWELL PARK | CUSTODIAL ROOM 3rd FLOOR COLD | LF009QT |  | 321775 | 2024-Aug-27 | 2025-Aug-27 | Jeff Donahue
FEC | HANWELL PARK | CUSTODIAL ROOM WEST WING | LF009QT |  | 321795 | 2024-Aug-27 | 2025-Aug-27 | Jeff Donahue
FEC | HANWELL PARK | CUSTODIAL ROOM 3rd FLOOR HOT | LF009QT |  | 321796 | 2024-Aug-27 | 2025-Aug-27 | Jeff Donahue
FEC | HANWELL PARK | CUSTODIAL ROOM 2nd FLOOR | LF009QT |  | 321797 | 2024-Aug-27 | 2025-Aug-27 | Jeff Donahue
FEC | HANWELL PARK | CUSTODIAL ROOM ACROSS KITCHEN | LF009QT |  | 321798 | 2024-Aug-27 | 2025-Aug-27 | Jeff Donahue
FEC | HANWELL PARK | CUSTODIAL ROOM 1st FLOOR | LF009QT |  | 321799 | 2024-Aug-27 | 2025-Aug-27 | Jeff Donahue
FEC | HANWELL PARK | CUSTODIAL ROOM ACROSS KITCHEN | LF009QT |  | 321800 | 2024-Aug-27 | 2025-Aug-27 | Jeff Donahue
FEC | HANWELL PARK | CUSTODIAL ROOM 1st FLOOR | LF009QT |  | 321801 | 2024-Aug-27 | 2025-Aug-27 | Jeff Donahue
FEC | HANWELL PARK | CUSTODIAL ROOM 2nd FLOOR | LF009QT |  | 321802 | 2024-Aug-27 | 2025-Aug-27 | Jeff Donahue
FEC | HANWELL PARK | CUSTODIAL ROOM 1st FLOOR | LF009QT |  | 321803 | 2024-Aug-27 | 2025-Aug-27 | Jeff Donahue
FEC | HANWELL PARK | CUSTODIAL ROOM 1st FLOOR | LF009QT |  | 321805 | 2024-Aug-27 | 2025-Aug-27 | Jeff Donahue
FEC | HANWELL PARK | MECHANICAL ROOM 3rd FLOOR | LF009QT |  | 325926 | 2024-Aug-27 | 2025-Aug-27 | Jeff Donahue
FEC | HANWELL PARK | GYM MECHANICAL ROOM | LF009QT |  | 325929 | 2024-Aug-27 | 2025-Aug-27 | Jeff Donahue
FEC | HANWELL PARK | AIR HANDLING ROOM 2nd FLOOR | LF009QT |  | 325930 | 2024-Aug-27 | 2025-Aug-27 | Jeff Donahue
FEC | HANWELL PARK | GYM MECHANICAL ROOM HUMIDIFIER | LF009QT |  | 325938 | 2024-Aug-27 | 2025-Aug-27 | Jeff Donahue
FEC | HANWELL PARK | CUSTODIAL ROOM 1st FLOOR | LF009QT |  | 334026 | 2024-Aug-27 | 2025-Aug-27 | Jeff Donahue
FEC | HANWELL PARK |  |  |  |  | 2024-Aug-27 | 2025-Aug-27 | Jeff Donahue
OEC | HUBBARD AVENUE | WATER FEED TO BOILER | RPP | 557 | 106802
OEC | HUBBARD AVENUE | WATER MAIN TO BOILER | DCVA | 6699 | 44667
OEC | HUBBARD AVENUE | SPRINKLER LINE BOILER ROOM | DCVA | 6700 | IK0471
OEC | HUBBARD AVENUE | BOILER ROOM | RPP |  | AJAX5628 | 2025-Mar-11 | 2026-Mar-11 | Jeff Donahue
FEC | KESWICK RIDGE | Boiler Room Expansion Tank | Pressure Vessel Upto 42 | PVS108861 | 250244 | 2024-Apr-05 | 2026-Apr-05 | Jason Paquin
FEC | KESWICK RIDGE |  | Cast Iron Sectional - Hot Water | BOS104014 | 33149 | 2024-Apr-05 | 2025-Apr-05 | Jason Paquin
FEC | KESWICK VALLEY | SPRINKLER ROOM ABOVE TANKS | RPP | 4165 | 105565 | 2024-08-07 | 2026-AUG-07 | Roy Barton
FEC | KINGSCLEAR | Basement Boiler Room | Hydro Pneumatic Tank | PVX105390 | Y07796 | 2024-Apr-04 | 2026-Apr -04 | Jason Paquin
FEC | KINGSCLEAR | Basement Boiler Room | Cast Iron Sectional - Hot Water | PVX105389 | 7160534900030100 | 2024-Apr-04 | 2025-Apr -04 | Jason Paquin
OEC | LINCOLN | Boiler Room | Bertical Boiler - Hot Water | BON165039 | 7499086200136 | 2024-Apr-05 | 2025-Apr-05 | Jason Paquin
OEC | LINCOLN | Boiler Room |  |  | A200925 | 2024-Aug-26 | 2025-Aug-26 | Jeff Donahue
OEC | LINCOLN | Water line Main in Boiler Room | DCVA |  | A164333 | 2024-Aug-26 | 2025*Aug-26 | Jeff Donahue
OEC | LINCOLN | Boiler Room - Expansion Tank | Pressure Vessel Upto 42 | PVN165040 | 210858 | 2024-Apr-05 | 2025-Apr-05 | Jason Paquin
OEC | LINCOLN | Boiler Room - Air Seperator | Pressure Vessel Upto 43 | PVN165041 | 719822 | 2024-Apr-05 | 2025-Apr-05 | Jason Paquin
OEC | LINCOLN | KITCHEN - HOT | RPP | 303433 | A203021 | 2024-Aug-26 | 2025-Aug-26 | Jeff Donahue
OEC | LINCOLN | CUSTODIAL- COLD WATER | RPP | 303466 | A204568 | 2024-Aug-26 | 2025-Aug-26 | Jeff Donahue
OEC | LINCOLN | CUSTODIAL- COLD WATER Rm 182 | RPP |  | A23022 | 2024-Aug-26 | 2025-Aug-26 | Jeff Donahue
OEC | LINCOLN | CUSTODIAL- HOT WATER Rm 182 | RPP |  | A203020 | 2024-Aug-26 | 2025-Aug-26 | Jeff Donahue
OEC | LINCOLN | CUSTODIAL- COLD WATER Rm 132 | RPP |  | A211576 | 2024-Aug-26 | 2025-Aug-26 | Jeff Donahue
OEC | LINCOLN | CUSTODIAL- HOT WATER Rm 132 | RPP |  | A211841 | 2024-Aug-26 | 2025-Aug-26 | Jeff Donahue
OEC | LINCOLN | PENTHOUSE COLD WATER | RPP | 303480 | A191452 | 2024-Aug-26 | 2025-Aug-26 | Jeff Donahue
OEC | LINCOLN | MECHANICAL POTABLE WATER | RPP | 303475 | A200921 | 2024-07-22 | 2025-07-22 | Roy Barton
OEC | LINCOLN | DISHWASHER in KITCHEN RM 108 | RPP |  | A178492 | 2025-Mar-05 | 2026-Mar-05 | Jeff Donahue
FEC | LIVERPOOL STREET | Upper Level Mechanical Room/Humidifer | RPP | 9 | 102077
FEC | LIVERPOOL STREET | Room 142 | DCVA | 7 | 229475 | 2025-02-27 | 2026-02-27 | Paul Dykeman
FEC | LIVERPOOL STREET | Penthouse Mechanical Room | RPP | 9 | 162077 | 2025-02-27 | 2026-02-27 | Paul Dykeman
FEC | MCADAM AVENUE | Boiler Room/Boiler Feed | RPP | 9 | 157709
FEC | MCADAM ELEMENTARY | WATER ROOM | RPP | 345587 | 86761
FEC | MCADAM ELEMENTARY | BOILER ROOM | RPP | 3602 | 278909
FEC | MCADAM ELEMENTARY | BOILER ROOM / WATER MAIN | RPP | 345584 | 111600
FEC | MCADAM ELEMENTARY | BOILER ROOM/ ABOVE CEILING | RPP | 3603 | 290768
FEC | MCADAM HIGH
WEC | MEDUXNEKEAG | SUPPLY TRAP | PVB | 356144 | 378410
WEC | MEDUXNEKEAG | SUPPLY TRAP ROOM A129 | PVB | 356150 | 384391
WEC | MEDUXNEKEAG | PENTHOUSE SUPPLY TRAP | PVB | 356152 | 384401
WEC | MEDUXNEKEAG | SPRINKLER MAIN SUPPLY | RPP | 356436 | 39832
WEC | MEDUXNEKEAG | SPRINKLER ON WATER SUPPLY | RPP | 356167 | 39865
WEC | MEDUXNEKEAG | HOT SUPPLY B104 | RPP | 356434 | 420249
WEC | MEDUXNEKEAG | HUMIDIFIER ROOM C108 | RPP | 356397 | 435424
WEC | MEDUXNEKEAG | JANITOR ROOM SINK | RPP | 356400 | 527408
WEC | MEDUXNEKEAG | HOT SUPPLY ROOM B111 | RPP | 356418 | 527410
WEC | MEDUXNEKEAG | COLD SUPPLY ROOM C204 | RPP | 356445 | 527413
WEC | MEDUXNEKEAG | HOT SUPPLY ROOM C104 | RPP | 356172 | 531160
WEC | MEDUXNEKEAG | COLD SUPPLY ROOM 234 | RPP | 356453 | 545888
WEC | MEDUXNEKEAG | JANITOR'S SINK KITCHEN | RPP | 356415 | 545893
WEC | MEDUXNEKEAG | SINK ROOM B215 | RPP | 356455 | 545903
WEC | MEDUXNEKEAG | JANITOR'S SINK KITCHEN | RPP | 356165 | 551163
WEC | MEDUXNEKEAG | HOT SUPPLY ROOM C204 | RPP | 356471 | 551164
WEC | MEDUXNEKEAG | COLD SUPPLY ROOM B104 | RPP | 356431 | 551165
WEC | MEDUXNEKEAG | COLD SUPPLY JANITOR'S SINK | RPP | 356398 | 551170
WEC | MEDUXNEKEAG | JANITOR'S SINK B215 | RPP | 356454 | 551171
WEC | MEDUXNEKEAG | SUPPLY TO HUMIDIFIER ROOM | RPP | 356437 | 551172
WEC | MEDUXNEKEAG | COLD SUPPLY ROOM B111 | RPP | 356426 | 551173
WEC | MEDUXNEKEAG | HOT SUPPLY ROOM 234 | RPP | 356446 | 551208
WEC | MEDUXNEKEAG | COLD SUPPLY ROOM C104 | RPP | 356171 | 551210
WEC | MEDUXNEKEAG | SUPPLY TRAP ROOM C108 | PVB | 356009 | 381146
WEC | MEDUXNEKEAG | SPRINKLER ROOM | PVB | 356005 | 384366
WEC | MEDUXNEKEAG | SUPPLY TO TRAP | PVB | 355998 | 384369
WEC | MEDUXNEKEAG | SUPPLY TO TRAP 1ST FLOOR | PVB | 356004 | 384373
WEC | MEDUXNEKEAG | HUMIDIFER IN PENTHOUSE | RPP | 356476 | 453598
WEC | MEDUXNEKEAG | SCIENCE LAB | RPP | 356478 | 514927
WEC | MEDUXNEKEAG | SCIENCE LAB | RPP | 356477 | 515290
WEC | MEDUXNEKEAG | SUPPLY TO PENTHOUSE | RPP | 356482 | 515504
WEC | MEDUXNEKEAG | SUPPLY TO HUMIDIFIER PENTHOUSE | RPP | 356474 | 527416
WEC | MEDUXNEKEAG | SUPPLY TO HUMIDIFIER PENTHOUSE | RPP | 356473 | 551201
WEC | MEDUXNEKEAG | TRAP PRIMER / BOILER ROOM | PVB | 356157 | 384364
WEC | MEDUXNEKEAG | BOILER MAKE UP | RPP | 356168 | 515512
WEC | MEDUXNEKEAG | JANITOR'S SINK ROOM A129 | RPP | 356457 | 527386
WEC | MEDUXNEKEAG | JANITOR'S SINK ROOM A129 | RPP | 356757 | 551199
WEC | MEDUXNEKEAG | SUPPLY DISH KITCHEN | PVB | 356138 | 380924
WEC | MEDUXNEKEAG | Pump Room | Watts | 774 | 1141940614 | 2024-08-09 | 2025-08-09 | Roy Barton
OEC | MINTO ELEM-MIDDLE | Mechanical Room | Electric Boiler - Hot Water | BO60937 | H21534 | 2024-Apr-09 | 2026-Apr-09 | Jason Paquin
OEC | MINTO ELEM-MIDDLE | Mechanical Room | Electric Boiler - Hot Water | BO60938 | H21535 | 2024-Apr-09 | 2026-Apr-09 | Jason Paquin
OEC | MINTO ELEM-MIDDLE | Mechanical Room (Air Separator) | Pessure Vessel Upto 42 | PV60939 | 112071 | 2024-Apr-09 | 2026-Apr-09 | Jason Paquin
OEC | MINTO ELEM-MIDDLE | Fire Protection Room | Hydro Pneumatic Tank | PV60931 | U-2240 | 2024-Apr-09 | 2026-Apr-09 | Jason Paquin
OEC | MINTO ELEM-MIDDLE | Fire Protection Room | Hydro Pneumatic Tank | PV60932 | U-2241 | 2024-Apr-09 | 2026-Apr-09 | Jason Paquin
OEC | MINTO ELEM-MIDDLE | Tank Room |  | 55990 | 4010772 | 2024-08-06 | 2025-08-06 | Roy Barton
OEC | MINTO HIGH | MECHANICAL ROOM BASEMENT | RPP | 1976 | OP401
OEC | MINTO HIGH | PUMP ROOM | DCVA | 2528 | SS990
OEC | MINTO HIGH | MOP ROOM | RPP | 8049 | 368105 | 2024-Sept-04 | 2025-Sep-04 | Jeff Donahue
OEC | MINTO HIGH | Automotive Shop - Small Room | Air Tank Mounted | PVS108892 | 646139 | 2024-Apr-09 | 2026-Apr-09 | Jason Paquin
OEC | MINTO HIGH | Automotive Shop - Custodial Sink |  |  | AJAL4567 | 2024-Sept-04 | 2025-Sept-04 | Jeff Donahue
OEC | MINTO HIGH | MECHANICAL ROOM 2nd Floor | RPP | 3199 | SF352 | 2025-Mar-07 | 2026-Mar-7 | Jeff Donahue
OEC | MINTO HIGH | MECHANICAL ROOM 1 | RPP | 3200 | TC448 Replaced
OEC | MINTO HIGH | MECHANICAL ROOM 2 | RPP | 3200 | AJAY4629 | 2025-Mar-07 | 2026-Mar-07 | Jeff Donahue
FEC | MONTGOMERY STREET |  | Cast Iron Sectional - Hot Water | BOS104043 | 307000024 | 2024-Apr-04 | 2025-Apr-04 | Jason Paquin
FEC | MONTGOMERY STREET | Boiler Room/water Main | DCVA | 7 | 260220 | 2025-02-20 | 2026-02-20 | Paul Dykeman
FEC | MONTGOMERY STREET | Boiler Room/Boiler Feed | RPP | 9 | 162068 | 2025-02-20 | 2026-02-20 | Paul Dykeman
FEC | NACKAWIC HIGH | BOILER ROOM BEHIND MUSIC ROOM |  | 350A | 456478 | 2024-08-08 | 2024-08-08 | Roy Barton
FEC | NASHWAAK VALLEY | MECHANICAL ROOM UPSTAIRS | RPP | 3604 | 273937
FEC | NASHWAAKSIS MEMORIAL | Boiler Room/water Main | DCVA | 7 | 267389 | 2025-02-24 | 2026-02-24 | Paul Dykeman
FEC | NASHWAAKSIS MEMORIAL
OEC | NASHWAAKSIS MIDDLE | PENTHOUSE MECHANICAL ROOM | RPP | 9 | 151607 | 2025-02-24 | 2026-02-24 | Paul Dykeman
OEC | NASHWAAKSIS MIDDLE | Boiler Room/Boiler Feed | RPP | 9 | 65346 REPLACED
OEC | NASHWAAKSIS MIDDLE | Boiler Room/Boiler Feed | RPP | 9\009 | 316324 | 2025-02-24 | 2026-02-24 | Paul Dykeman
FEC | NASHWAAKSIS MIDDLE | Boiler Room/water Main | DCVA | 7 | 114623 | 2025-02-24 | 2026-02-24 | Paul Dykeman
FEC | NEW MARYLAND | WATER MAIN TANK ROOM | DCVA | 1890 | 117129
FEC | NEW MARYLAND | SPRINKLER ROOM | DCVA | 1785 | 1392 | 2024-07-18 | 2025-07-18 | Roy Barton
FEC | NEW MARYLAND | SPRINKLER ROOM |  | 770 | Q1392 | 2024-07-18 | 2025-07-18 | Roy Barton
OEC | OROMOCTO HIGH | MECHANICAL ROOM 155 | RPP | 1383 | LY363 Replaced
OEC | OROMOCTO HIGH | MECHANICAL ROOM 155 | RPP | 1383 | AJBA3774 | 2024-Aug-26 | 2025-Aug-26 | Jeff Donahue
OEC | OROMOCTO HIGH | HUMIDIFIER ROOM 194 | RPP | 2966 | PB380 Replaced
OEC | OROMOCTO HIGH | HUMIDIFIER ROOM 194 | RPP | 2966 | AJBS3771 | 2024-Aug-26 | 2025-Aug-26 | Jeff Donahue
OEC | OROMOCTO HIGH | BOILER ROOM SPRINKLER | DCVA | 2315 | 326553 | 2024-08-12 | 2025-08-12 | Roy Barton
OEC | OROMOCTO HIGH | BOILER ROOM WATER SOFTENER |  |  | A845523 | 2024-Aug-23 | 2025-Aug-23 | Jeff Donahue
FEC | PARK STREET | Boiler Room - Boiler #2 | Scotch Dry Back - Hot Water |  | 101473 | 2024-Apr-09 | 2025-Apr-09 | Jason Paquin
FEC | PARK STREET | Boiler Room - Boiler #1 | Scotch Dry Back - Hot Water |  | 101472 | 2024-Apr-09 | 2025-Apr-09 | Jason Paquin
FEC | PARK STREET | Boiler Room - Left Side | Hydro Pneumatic Tank |  | 404071 | 2024-Apr-09 | 2026-Apr-09 | Jason Paquin
FEC | PARK STREET | Boiler Room - Right Side | Hydro Pneumatic Tank |  | B14909 | 2024-Apr-09 | 2026-Apr-09 | Jason Paquin
FEC | PARK STREET | Boiler Room - Air Seperator #1 | Pressure Vessel UPto42 | PVN165036 | 304056 | 2024-Apr-09 | 2026-Apr-09 | Jason Paquin
FEC | PARK STREET | Boiler Room - Air Seperator #2 | Pressure Vessel UPto43 | PVN165037 | 304078 | 2024-Apr-09 | 2026-Apr-09 | Jason Paquin
FEC | PARK STREET | Sprinkler Room |  | 774 | 2950 | 2024-06-26 | 2025-06-26 | Roy Barton
FEC | PARK STREET | Boiler Room/Humidifier Feed | RPP | 9 | 160260 | 2025-02-25 | 2026-02-25 | Paul Dykeman
FEC | PARK STREET | Boiler Room/Boiler Feed | RPP | 9 | 84792 | 2025-02-25 | 2026-02-25 | Paul Dykeman
FEC | PARK STREET | SPRINKLER ROOM | DCVA | 7 | 108406 | 2025-02-25 | 2026-02-25 | Paul Dykeman
WEC | PERTH-ANDOVER | ROOM 154 DOMESTIC HOT WATER | RPP | 2851 | 30701
WEC | PERTH-ANDOVER | ROOM 111 BACK OF WATER MAIN | DCVA | 3055 | 8433
WEC | PERTH-ANDOVER | ROOM 154 HUMIDIFIER | RPP | 3053 | 238943
WEC | PERTH-ANDOVER | ROOM 154 DOEMSTIC COLD | RPP | 3056 | 25293
WEC | PERTH-ANDOVER | MECHANICAL ROOM SPRINKLER | DCVA | 3182 | 1890 | 2024-08-19 | 2025-08-19 | Darryl Shirley
WEC | PERTH-ANDOVER | MECHANICAL ROOM 111 | RPP | 3057 | 162482
FEC | PRIESTMAN
OEC | RIDGEVIEW | WATER FEED TO BOILER | RPP | 1784 | 1M896 Replaced
OEC | RIDGEVIEW | WATER FEED TO BOILER | RPP | 1784 | AJAX9115 | 2024-Aug-26 | 2025-Aug-26 | Jeff Donahue
FEC | ROYAL ROAD | Boiler Room/Boiler Feed | RPP | 9 | 64916 | 2025-02-24 | 2026-02-24 | Paul Dykeman
FEC | ROYAL ROAD | Sprinkler Room Rm 133 | Watts | 774 | 103505 | 2024-06-25 | 2025-06-25 | Roy Barton
FEC | ROYAL ROAD | Mech Room 111/Humidifier Feed | RPP | 9 | 208125 | 2025-02-24 | 2026-02-24 | Paul Dykeman
FEC | ROYAL ROAD | SPRINKLER ROOM | DCVA | 7 | 114566 | 2025-02-24 | 2026-02-24 | Paul Dykeman
WEC | SOUTHERN VICTORIA |  | RPP | 11023 | 429855
WEC | SOUTHERN VICTORIA |  | RPP | 11022 | 129841
WEC | SOUTHERN VICTORIA | BOILER ROOM | RPP | 10483 | 401288
FEC | STANLEY CONSOLIDATED | Sprinkler Room Compressor | Air Tank Mounted | PVH161099 | 1651227 | 2024-Apr-09 | 2026-Apr-09 | Jason Paquin
FEC | STANLEY CONSOLIDATED | Carpentry Shop - SM Room - Air Compressor | Air Tank Mounted | PVX105219 | 201154 | 2024-Apr-09 | 2026-Apr-09 | Jason Paquin
FEC | STANLEY CONSOLIDATED | Sprinkler Room - tank #5 | Pressure Vessel Over 42 | PV75324 | U3003 | 2024-Apr-09 | 2026-Apr-09 | Jason Paquin
FEC | STANLEY CONSOLIDATED | Sprinkler Room Tank #4 | Pressure Vessel Over 42 | PV75323 | U2999 | 2024-Apr-09 | 2026-Apr-09 | Jason Paquin
FEC | STANLEY CONSOLIDATED | Sprinkler Room Tank #3 | Pressure Vessel Over 42 | PV75322 | U3002 | 2024-Apr-09 | 2026-Apr-09 | Jason Paquin
FEC | STANLEY CONSOLIDATED | Sprinkler Room Tank #2 | Pressure Vessel Over 42 | PV75321 | V3004 | 2024-Apr-09 | 2026-Apr-09 | Jason Paquin
FEC | STANLEY CONSOLIDATED | Sprinkler Room Tank #1 | Pressure Vessel Over 42 | PV75320 | V3005 | 2024-Apr-09 | 2026-Apr-09 | Jason Paquin
FEC | STANLEY CONSOLIDATED | Sprinkler Room Tank #8 | Pressure Vessel Over 42 | PV75327 | 3000 | 2024-Apr-09 | 2026-Apr-09 | Jason Paquin
FEC | STANLEY CONSOLIDATED | Boiler Room Air Compressor | Air Tank Mounted | PV75342 | 60726 | 2024-Apr-09 | 2026-Apr-09 | Jason Paquin
FEC | STANLEY CONSOLIDATED | Boiler Room - Boiler #2 | Cast Iron Sectional - Hot Water | PVX105223 | 71342895000122096 | 2024-Apr-09 | 2026-Apr-09 | Jason Paquin
FEC | STANLEY CONSOLIDATED | Boiler Room Expansion Tank - Right | Pessure Vessel Upto 42 | PV75345 | 4983 | 2024-Apr-09 | 2026-Apr-09 | Jason Paquin
FEC | STANLEY CONSOLIDATED | Boiler Room Expansion Tank - Left | Pressure Vessel Upto 42 | PV75343 | 4984 | 2024-Apr-09 | 2026-Apr-09 | Jason Paquin
FEC | STANLEY CONSOLIDATED | Sprinkler Room Tank #7 | Pressure Vessel Upto 42 | PV75326 | U3001 | 2024-Apr-09 | 2026-Apr-09 | Jason Paquin
FEC | STANLEY CONSOLIDATED | Sprinkler Room Tank #6 | Pressure Vessel Upto 42 | PV75325 | U3006 | 2024-Apr-09 | 2026-Apr-09 | Jason Paquin
FEC | STANLEY CONSOLIDATED | Tank Room |  | 007M1 | 10957 | 2024-08-02 | 2025-08-02 | Roy Barton
OEC | SUMMERHILL | WATER FEED TO BOILER | RPP | 1385 | 135501
OEC | SUMMERHILL | WATER MAIN BOILER ROOM | DCVA | 6627 | 44661 Replaced
OEC | SUMMERHILL | WATER MAIN BOILER ROOM | DCVA | 6627 | AKH2654 | 2025-Mar-05 | 2026-Mar-05 | Jeff Donahue
OEC | SUMMERHILL | BOILER ROOM | DCVA |  | AJI3415 | 2024-Aug-23 | 2025-Aug-23 | Jeff Donahue
OEC | SUMMERHILL | Sprinkler Room | DCVA | 369626 | 5046A | 2024-06-26 | 2025-06-26 | Roy Barton
WEC | TOBIQUE VALLEY | WATER ENTRANCE | DCVA | 6839 | 136870
WEC | TOBIQUE VALLEY | WATER ENTRANCE | DCVA | 6840 | JA-0420 | 2024-06-26 | 2025-06-26 | Darryl Shirley
WEC | TOWNSVIEW | A129 COLD WATER | RPP | 399407 | A326772
WEC | TOWNSVIEW | A129 HOT WATER | RPP | 399408 | A327332
WEC | TOWNSVIEW | CAFETERIA- COLD WATER | RPP | 402242 | A327329
WEC | TOWNSVIEW | BOILER ROOM EYE WASH | PVB | 429980 | 383008
WEC | TOWNSVIEW | C108 MECHANICAL ROOM | PVB | 428850 | 385441
WEC | TOWNSVIEW | C108 MECHANICAL ROOM | RPP | 409099 | A333867
WEC | TOWNSVIEW | B108 MECHANICAL -NON POTABLE HOT | PVB | 428852 | 383009
WEC | TOWNSVIEW | B108 MECHANICAL ROOM | RPP | 428851 | A321576
WEC | TOWNSVIEW | B100 WING -CUSTODIAL SINK COLD | RPP | 429992 | A340020
WEC | TOWNSVIEW | B100 CUSTODIAL HOT | RPP | 429988 | A326128
WEC | TOWNSVIEW | B111 CUSTODIAL HOT | RPP | 429984 | A326133
WEC | TOWNSVIEW | B234 CUSTODIAL ROOM HOT | RPP | 429981 | A326775
WEC | TOWNSVIEW | B234 SINK -COLD | RPP | 429993 | A327896
WEC | TOWNSVIEW | B111 CUSTODIAL COLD | RPP | 429987 | A335833
WEC | TOWNSVIEW | TRAP PRIMER | PVB | 409073 | 385445
WEC | TOWNSVIEW | C204 COLD | RPP | 409084 | A325215
WEC | TOWNSVIEW | B215 SINK- HOT | RPP | 409086 | A326786
WEC | TOWNSVIEW | C204 SINK- HOT | RPP | 409080 | A327330
WEC | TOWNSVIEW |  | RPP | 409097 | A36312
WEC | TOWNSVIEW | D118 SPRINKLER | DCVA | 427057 | NL-2455 | 2024-07-04 | 2025-07-04 | Roy Barton
WEC | TOWNSVIEW | PENTHOUSE BESIDE GYM | PVB | 352629 | 385465
WEC | TOWNSVIEW | C104 JANITOR ROOM | PVB | 352664 | 50064
WEC | TOWNSVIEW | A129 CUSTODIAN ROOM EYE WASH | PVB | 352634 | 50066
WEC | TOWNSVIEW | KITCHEN DISH WASHER | PVB | 352622 | 385442
WEC | TOWNSVIEW | KITCHEN | PVB | 352665 | 50058
WEC | TOWNSVIEW | KITCHEN | RPP | 352666 | A316451
WEC | TOWNSVIEW | PENTHOUSE BESIDE GYM | RPP | 352627 | A326778
WEC | TOWNSVIEW | PENTHOUSE BESIDE GYM | RPP | 352628 | A327333
WEC | TOWNSVIEW | PENTHOUSE BESIDE GYM | RPP | 352625 | A327341
WEC | TOWNSVIEW | D131 JANITOR ROOM | RPP | 352636 | A327890
WEC | TOWNSVIEW | D121 JANITOR ROOM | RPP | 352641 | A327903
WEC | TOWNSVIEW | B111 JANITOR ROOM | PVB | 352598 | 50063
WEC | TOWNSVIEW | B234- JANITOR ROOM | PVB | 352681 | 50059
WEC | TOWNSVIEW | D118 WATER MECH ROOM | PVB | 352677 | 385471
WEC | TOWNSVIEW | B215 JANITOR ROOM | PVB | 352678 | 50062
WEC | TOWNSVIEW | B104 JANITOR ROOM | PVB | 352644 | 50067
WEC | TOWNSVIEW | C204 JANITOR ROOM | PVB | 352679 | 50068
FEC | UMES
FEC | UPPER MIRAMICHI ELEMENTARY | BOILER ROOM | Vertical Boiler - Hot Water | PVH161327 | 2108302238203940 | 2024-Apr-09 | 2025-Apr-09 | Jason Paquin
WEC | WOODSTOCK HIGH | SPRINKLER ROOM | DCVA | 350750 | 114150014 | 2024-08-09 | 2025-08-09 | Roy Barton
l | WOODSTOCK HIGH (THEATRE) | SPRINKLER ROOM | PVB | 353441 | 388400

## General
ASD-W Asset Protection General Data 2024-2025 Fiscal Year (April 1, 2024 to March 31, 2025)
| Asbestos Assessments |  | Food Establishment Inspection (Public Health Inspection) |  | Air Duct Inspection | Dust Collector Annual Inspection | Scissor Lift Inspections | Fire Hydrant Fee (SNB pays this unless there is a defeciency, then they will bill us) | Boiler Pressure Vessel (BPV) |  | Cathodic Protection | Precision Testing (3 Years) | Petroleum Storage Site License | Cooling Towers |  | Playground Comprehensive Annual Inspection
School | Date | Inspector | Date. | Colour | Date2 | Date, | Date' | Calendar Year Period | Date5 | # of Devices | Annual | Last done 2017/2021 | Expiry Date | Liscence Expiry | Testing | Date Inspected | Inspected By
Andover Elementary | 2024-05-21
Assiniboine Avenue Elementary
Barkers Point | [8 empty] | 2024-04-05 | 2 |  |  | 2025-09-30
Bath Community | [12 empty] | 2025-09-30
Bliss Carman Middle | [5 empty] | 2024-08-08 |  |  | 2024-04-04 | 4
Bristol Elementary | [10 empty] | being done summer 2024 |  | 2025-09-30
Burton Elementary | [10 empty] | being done summer 2024
Cambridge-Narrows | [5 empty] | 2024-08-08
Canterbury High Site/License 159 | 2024-05-21 | [9 empty] | being done summer 2024 |  | 2025-09-30
Carleton North High | 2024-05-21 |  |  |  |  | 2024-07-25
Central New Brunswick Academy | [8 empty] | 2024-04-09 | 4 |  |  | 2025-09-30
Centreville Community | [5 empty] | 2024-07-25
Chipman Elementary | [8 empty] | 2024-04-09 | 2 | being done summer 2024 |  | 2025-09-30
Chipman Forest Avenue | [5 empty] | 2024-08-30 |  |  | 2024-04-09 | 5
Connaught Street | [8 empty] | 2024-04-04 | 3
Cuffman Street | [8 empty] | 2024-08-29 | 5
Devon Middle | [5 empty] | 2024-07-29 |  |  | 2024-04-05 | 3
Doaktown Elementary | [8 empty] | 2024-04-09 | 1 | being done summer 2024
Donald Fraser Memorial | 2024-05-21
Florenceville Elementary | 2024-05-21 | [11 empty] | 2025-09-30
Florenceville Middle | 2024-05-21 |  |  |  |  | 2024-07-25
Forest Hill | [5 empty] | 2024-07-08 |  |  | 2024-04-04 | 2
Fredericton High | [6 empty] | 2025-03-07
Gagetown | [10 empty] | being done summer 2024 |  | 2025-09-30
Garden Creek
Geary Elementary
George Street Middle
Gesner Street Elementary
Gibson Neill Memorial | [8 empty] | 2024-04-05 | 4
Hanwell Park Academy
Harold Peterson Middle
Hartland Community | [5 empty] | 2024-07-25
Harvey Elementary
Harvey High | [5 empty] | 2024-09-05
Hubbard Avenue Elementary
John Caldwell | 2024-05-21 |  |  |  |  | 2024-08-30 | 2024-12-30
Keswick Ridge | [8 empty] | 2024-04-05 | 2 |  |  | 2025-09-30
Keswick Valley Memorial
Kingsclear | [8 empty] | 2024-04-04 | 2 | being done summer 2024 |  | 2025-09-30
Leo Hayes High
Lincoln Elementary Community | [8 empty] | 2024-04-05 | 3
Liverpool Street
McAdam Avenue
McAdam Elementary
McAdam High
Meduxnekeag | [5 empty] | 2024-08-07 | [6 empty] | 2025-09-30
Minto Elementary/Middle | [8 empty] | 2024-04-09 | 5
Minto Memorial High | [8 empty] | 2024-04-09 | 1
Montgomery Street | [8 empty] | 2024-04-04 | 1
Nackawic Elementary | 2024-05-21
Nackawic Middle | 2024-05-21
Nackawic Senior High | 2024-05-21 |  |  |  |  | 2024-08-26
Nashwaak Valley
Nashwaaksis Memorial
Nashwaaksis Middle
New Maryland Elementary
Oromocto High
Park Street | [8 empty] | 2024-04-05 | 6
Perth-Andover Middle | [6 empty] | 2024-12-30
Priestman Street
Ridgeview Middle
Royal Road
Saint Mary's Academy
Southern Victoria High | 2024-05-21 |  |  |  |  | 2024-08-14 | 2024-12-30 | [5 empty] | 2025-09-30
Stanley Consolidated | [5 empty] | 2024-09-05 |  |  | 2024-04-09 | 14 |  |  | 2025-09-30
Summerhill Street Elementary
Sunbury West
Tobique Valley High | 2024-05-21 | [11 empty] | 2025-09-30
Townsview | [5 empty] | 2024-08-07 | [6 empty] | 2025-09-30
Upper Miramichi Elementary | [8 empty] | 2024-04-09 | 1
Woodstock High | [5 empty] | 2024-07-23 | 2024-12-30 | [5 empty] | 2025-09-30
Notes:
IP - in progress
Have been delayed due to COVID as the focus of the inspections is on more public venues.
Some kitchens have lost service or changed providers.
Air Duct - May appear overdue, we record the date of insection and may not receive the report until new fiscal year
,

## Water
ASD-W Asset Protection WATER 2024-2025 Fiscal Year (April 1, 2024 to March 31, 2025)
| Organic |  | Inorganic | Microbiology Monthly Test - ARSENIC (As), LEAD (Pb), VOC, HPC/MTBE, FLOURIDE (F) | [11 empty] | Special Test
School | FEC-Mar OEC-May WEC- Mar | FEC-Sep OEC- Nov WEC- Sep | FEC-Aug OEC- Aug WEC- Mar | 2024 Apr | 2024 May | 2024 Jun | 2024 July | 2024 Aug | 2024 Sept | 2024 Oct | 2024 Nov | 2024 Dec | 2025 Jan | 2025 Feb | 2025 Mar | Date
Bristol Elementary |  |  |  | 4/4/11 | 30 |  | 31/31 |  | 3/26/26/ 26/26 | 31 | 28/ | 20/ | 29 | 28 | 28
Burton Elementary |  |  |  | 19/19 | 29/22/22/22 |  | 31/31/31/22 | 22/22/22/22 | 26/26/26 | 22/22 | 21/21/21/21/21 | 17/17/ | 22/22/22 | 20/20 | 17
Cambridge-Narrows |  |  |  | 17/17 | 29/22/22 |  | 30/30/21 | 21/21/21/21 | 3/26/26/ 26 | 21/21 | 21/21/21/21/22 | 16/16/ | 22/22/22 | 20/20 | 18/18/18
Canterbury High |  |  |  | 4/4/11 | 30 |  |  |  | 3/26/26/ 26/26 | 31 | 28/ | 20/ | 29 | 28 | 28
Carleton North High System 1 |  |  |  | 4/4/11 | 30 |  |  |  | 3/26/26/ 26/26 | 31 | 28/ | 20/ | 29 | 28 | 28 | 2024-10-07
Carleton North High System 2 |  |  |  | 4/4/11 | 30 |  |  |  | 3/26/26/ 26/26 | 31 | 28/ | 20/ | 29 | 28 | 28
Central New Brunswick Academy |  |  |  | 4/25 | 29 |  | 30 | 26/26/26 | 3/20/20/ 20/20/20 | 28 | 26/26 | 18/ | 29 | 24 | 25
Centreville Community |  |  |  | 4/4/11 | 30 |  |  | 21 | 3/26/26/ 26/26 | 31 | 28/ | 20/ | 29 | 28 | 28
Chipman Elementary |  |  |  | 17/17 | 29/23 |  | 31/31/31 | 21/21/21/21/21 | 24/24 | 21/21 | 18/18/24 | 16/16/ | 21/21 | 19/19 | 19/19
Chipman Forest Avenue |  |  |  | 17 | 29/31 | 10 | 31/31 | 21/21/21/21/21 | 24 | 21 | 18/24/ | 16/ | 21/ | 19 | 19
Florenceville Elementary |  |  |  | 4/4/11 | 30 |  |  |  | 3/26/26/ 26/26 | 31 | 28/ | 20/ | 29 | 28 | 28
Florenceville Middle |  |  |  | 4/4/11 | 30 |  |  |  | 3/26/26/ 26/26 | 31 | 28/ | 20/ | 29 | 28 | 28
Gagetown |  |  |  | 19/19/19 | 29/22/22 |  | 30/30/30 | 22/22/22/22 /22 | 26/26/26/26 | 22/22/22 | 21/21/21/21 | 17/17/17/ | 22/22/22/22 | 20/20/20 | 18/18/18
Geary Elementary | 2024-08-22 |  |  | 19 | 29/22/22 |  | 31/30 | 22/22/22/22 | 27 | 22 | 21/21/21 | 17/ | 22 | 20/20 | 17
Hanwell Park Academy |  | 2024-09-24 |  | 25 |  |  | 30 | 22/26/26/26 /26/26 | 24/24 | 28 | 26/26 | 23/ | 23 | 25 | 25/25
Harvey Elementary |  | 2024-09-24 |  | 25 |  |  | 30 | 22/26/26/26/26 /26 | 24/24/24 | 28 | 26/26 | 23/ | 23 | 25 | 25/25
Harvey High |  | 2024-09-24 |  | 25 |  |  | 30 | 22/26/26/26 /26/26 | 24/24/24 | 28 | 26/26 | 23/ | 23 | 25 | 25/25
Keswick Ridge |  | 2024-09-24 |  | 25 |  |  | 30 | 22/26/26/26 /26/26 | 24/24/24 | 28 | 26/26 | 23/ | 23 | 25 | 4/4/4/4/25/25
Keswick Valley Memorial |  | 2024-09-24 |  | 25 | 29 |  | 30 | 22/26/26/26 /26/26 | 24/24/24 | 28 | 26/26 | 23/ | 23 | 25 | 25/25
Lincoln Elementary Community |  |  |  | 19 | 29 |  | 31 | 22/22/22 /22/22 | 27 | 22 | 21/21/21 | 17/ | 22 | 20 | 17
McAdam High School
Minto Elem/Middle |  |  |  | 17/17 | 29/23 |  | 31/31 | 21/21/21/21/21 | 24/24 | 21/21 | 18/18/24 | 16/16/ | 21/21 | 19/19 | 19/19
Minto Memorial High |  |  |  | 17 | 29 |  | 31 | 21/21/21/21/21 | 24 | 21 | 18/24 | 16/ | 21 | 19 | 19
Nashwaak Valley |  |  |  | 25 |  |  | 30 | 26/26/26 | 20/20/20/20/20 | 28 | 26/26 | 18/ | 29 | 24 | 25
Stanley High |  | 2024-08-26 |  | 25 | 29 |  | 30 | 26/26/26 | 20/20/20/20/20 | 28 | 26/26 | 18/ | 29 | 24 | 25
Upper Miramichi Elementary |  |  |  | 25 | 29 |  | 30 | 26/26/26 | 20/20/20/20/20 | 28 | 26/26 | 18/ | 29 | 24 | 25

## Sprinkler & Fire
ASD-W Asset Protection Sprinklers & Fire 2024-2025 Fiscal Year (April 1, 2024 to March 31, 2025)
| Sprinkler Inspections Dry Pipe systems to be tested every 3 years for Leakage |  |  |  | Fire Marshal Inspections | Fire Pump | Fire Suppression Hoods Semi-Annual Inspections |  | Fire Alarm | Fire Extinguishers | Fire Hydrant | 5 year Internal Piping
| Y:\Facilities\Buildings\Inspections & Reports\Fire & Fire Prevention\Sprinklers\Sprinkler & Standpipe Inspection (1/4 sprinkler fire alarm from Troy) |  |  |  | Fire Prevention Oct/Nov |  | Cafeteria- Brunswick Fry |  | Sprinkler/Fire - Annual Sept | Atlantic Fire & Safety (Record the date of front of the invoice) |  | Just record the date
School | Inspection Date | Inspection Date2 | Inspection Date3 | Inspection Date4 | Inspection Date5 | Date Inspected | Date Inspected6 | Date Inspected7 | Inspection Date7 | Inspection Date8 | Inspection Date9 | Inspection Date10
Andover Elementary | 2024-04-04 | 2024-08-19 | 2024-11-26 |  | 2024-10-30 |  |  |  | 2024-09-03 | 2025-01-15 | 2024-09-11
Assiniboine Avenue Elementary | [8 empty] | 2024-08-15
Barkers Point | 2024-03-13 | 2024-06-13 | 2024-09-23 | [5 empty] | 2024-08-02 | 2025-02-10
Bath Community |  |  |  |  | 2024-09-27 |  |  |  | 2024-09-03 | 2025-02-18
Bliss Carman Middle | 2024-03-12 | 2024-06-25 | 2024-09-18 |  |  |  | 2025-02-24 |  | 2024-07-24 | 2025-01-14
Bristol Elementary |  |  |  |  | 2024-10-15 |  |  |  | 2024-09-03 | 2025-02-19
Burton Elementary | [8 empty] | 2024-08-26
Cambridge-Narrows | [6 empty] | 2024-09-13 |  | 2024-08-16
Canterbury High | [6 empty] | 2024-05-13 | 2024-11-25 | 2024-09-03
Carleton North High |  |  |  |  | 2024-09-16 |  | 2024-05-15 | 2024-11-25 | 2024-09-03 | 2025-03-25
Central New Brunswick Academy | 2024-04-16 | 2024-08-01 | 2024-10-21 |  | 2024-09-24 | 2024-08-01 | 2024-05-15 | 2024-09-24 | 2024-08-01 | 2024-08-30
Centreville Community | 2024-03-22 | 2024-08-14 | 2024-10-17 |  | 2024-11-04 | 2024-08-14 | 2024-11-21 |  | 2024-09-03
Chipman Elementary |  |  |  |  | 2024-09-03 |  |  |  | 2024-08-09
Chipman Forest Avenue | 2024-03-26 | 2024-07-31 | 2024-10-17 |  | 2024-11-25 |  | 2024-10-25 |  | 2024-08-09
Connaught Street | 2024-03-19 | 2024-08-12 | 2024-09-20 |  |  |  | 2024-10-22 |  | 2024-08-02 | 2025-01-30
Devon Middle | 2024-03-22 | 2024-06-26 | 2024-09-23 | [5 empty] | 2024-07-23 | 2025-02-24
Doaktown Elementary |  |  |  |  | 2024-09-24 |  |  |  | 2024-07-17 | 2024-08-30
Donald Fraser Memorial |  |  |  |  | 2024-10-09 |  |  |  | 2024-09-03 | 2025-02-18
Florenceville Elementary |  |  |  |  | 2024-10-11 |  |  |  | 2024-09-03 | 2025-03-24
Florenceville Middle |  |  |  |  | 2024-10-11 |  |  |  | 2024-09-03 | 2025-03-24
Florenceville School Bus Garage | [9 empty] | 2024-11-21
Forest Hill | [8 empty] | 2024-07-18 | 2025-01-15
Fredericton High | 2023-03-09 | 2024-04-30 | 2024-08-23 | 2024-10-17 |  | 2024-08-28 | 2024-08-19 | 2025-02-25 | 2024-08-23 | 2024-04-22
Gagetown |  |  |  |  | 2024-11-21 |  |  |  | 2024-08-06
Garden Creek | [6 empty] | 2025-02-24 |  | 2024-07-22
Geary Elementary | [8 empty] | 2024-08-07
George Street Middle | 2023-03-01 | 2024-04-26 | 2024-07-29 | 2024-10-10 |  |  | 2024-10-22 |  | 2024-07-29 | 2025-01-30
Gesner Street Elementary | [8 empty] | 2024-08-08
Gibson Neill Memorial Elementary | 2023-03-07 | 2024-03-22 | 2024-07-05 | 2024-10-02 |  |  | 2025-02-04 |  | 2024-07-23 | 2025-02-10
Hanwell Park Academy | 2023-03-08 | 2024-03-20 | 2024-07-22 | 2024-09-18 | 2024-09-07 | 2024-07-22 | 2024-08-20 | 2025-02-06 | 2024-08-26 | 2024-08-30
Harold Peterson Middle STANDPIPE | 2023-02-23 | 2024-03-20 | 2024-06-14 | 2024-09-30 |  |  |  |  | 2024-08-19
Hartland Community | 2023-03-13 | 2024-03-21 | 2024-08-14 | 2024-11-01 | 2024-09-18 | 2024-08-14 | 2024-05-14 | 2024-11-07 | 2024-09-03 |  | 2024-09-11
Harvey Elementary | [8 empty] | 2024-07-25 | 2024-08-30
Harvey High | 2023-01-05 | 2024-04-25 | 2024-07-30 | 2024-10-07 | 2024-10-17 |  | 2024-09-05 | 2024-09-05 | 2024-07-26 | 2024-08-30
Hubbard Avenue Elementary STANDPIPE | [6 empty] | 2024-09-26 | 2025-03-25 | 2024-08-06
John Caldwell | 2023-01-05 | 2024-04-09 | 2024-07-04 | 2024-11-05 | 2024-10-02 |  |  |  | 2024-09-03 | 2025-01-15
Keswick Ridge |  |  |  |  | 2024-09-07 |  |  |  | 2024-07-25
Keswick Valley Memorial | 2023-01-03 | 2024-04-18 | 2024-08-07 | 2024-10-22 | 2024-10-26 |  | 2024-05-13 | 2024-12-17 | 2024-09-03
Kingsclear | [8 empty] | 2024-07-22
Leo Hayes High |  |  |  | 2025-01-02 |  |  | 2024-10-23 |  | 2025-01-02
Lincoln Elementary Community | 2023-03-01 | 2024-03-18 | 2024-07-22 | 2024-10-07 |  | 2024-07-22 |  | 2025-02-20 | 2024-08-15
Liverpool Street | [8 empty] | 2024-07-24 | 2025-01-15
McAdam Avenue
McAdam Elementary |  |  |  |  | 2024-10-08 |  |  |  | 2024-07-15 | 2024-08-30
McAdam High | 2023-01-05 | 2024-04-23 | 2024-07-30 | 2024-10-07 | 2024-10-01 |  |  |  | 2024-07-15 | 2024-08-30
Meduxnekeag | 2023-01-04 | 2024-04-30 | 2024-08-12 | 2024-10-08 | 2024-09-14 | 2024-08-09 | 2024-05-14 | 2024-11-25 | 2024-09-03 | 2024-04-25 | 2024-09-12
Minto Elementary/Middle | 2023-03-10 | 2024-04-02 | 2024-08-06 | 2024-10-16 | 2024-09-03 |  | 2024-10-02 |  | 2024-08-14 | 2024-08-30
Minto Memorial High |  |  |  |  | 2024-09-03 |  | 10/2/2024** |  | 2024-08-14 | 2024-08-30
Montgomery Street | [8 empty] | 2024-07-22 | 2025-01-15
Nackawic Elementary | 2023-11-23 |  |  |  | 2024-09-05 |  | 2024-05-13 | 2024-11-18 | 2024-09-03
Nackawic Middle |  |  |  |  | 2024-09-13 |  | 2024-05-13 | 2024-11-18 | 2024-09-03 |  | 2024-09-12
Nackawic Senior High | 2024-05-16 | 2024-08-08 | 2024-09-24 |  | 2024-09-13 |  | 2024-05-13 | 2024-11-18 | 2024-09-03 |  | 2024-09-12
Nashwaak Valley |  |  |  |  | 2024-10-26 |  |  |  | 2024-07-26 | 2024-08-30
Nashwaaksis Memorial | [8 empty] | 2024-08-27 | 2025-03-12
Nashwaaksis Middle | [7 empty] | 2025-02-04 | 2024-07-31 | 2025-02-24
New Maryland Elementary | 2023-03-07 | 2024-03-06 | 2024-07-18 | 2024-10-18 |  |  |  |  | 2024-07-18 | 2025-03-11 | 2024-10-02
Oromocto High | 2023-01-02 | 2024-05-03 | 2024-08-12 | 2024-10-16 |  |  | 2024-09-26 |  | 2024-08-13 |  | 2024-10-02
Park Street | 2023-02-22 | 2024-03-20 | 2024-06-26 | 2024-10-02 |  |  |  | 2024-09-11 | 2024-07-16 | 2025-03-12
Perth-Andover Middle | 2023-01-03 | 2024-04-25 | 2024-08-19 | 2024-11-26 | 2024-10-30 |  |  |  | 2024-09-03 | 2025-01-10 | 2024-09-11
Perth-Andover Maintenance Shop | [9 empty] | 2025-02-23
Priestman Street | [8 empty] | 2024-07-29 | 2025-01-14
Ridgeview Middle | [8 empty] | 2024-08-08
Royal Road | 2023-03-06 | 2024-03-13 | 2024-06-25 | [5 empty] | 2024-07-16 | 2025-03-12
Saint Mary's Academy | 2023-03-16 | 2024-03-27 | 2024-06-27 | 2024-09-12 |  |  |  | 2024-11-06 | 2024-09-03 | 2024-12-20 | 2024-09-10
Southern Victoria High | 2024-04-04 | 2024-08-19 | 2024-11-28 |  | 2024-10-30 |  | 2024-05-21 | 2024-11-20 | 2024-09-03 | 2024-01-10
Stanley High | 2023-02-27 | 2024-04-04 | 2024-08-06 | 2024-10-18 | 2024-10-25 |  | 2024-05-13 | 2024-11-14 | 2024-07-19 | 2024-08-30
Summerhill Street Elementary | 2023-03-01 | 2024-03-20 | 2024-06-26 | 2024-09-30 |  |  |  |  | 2024-08-19 |  | 2024-10-02
Sunbury West | 2023-03-03 | 2024-03-14 | 2024-06-24 | 2024-10-01 | 2024-10-17 |  | 2025-02-27 |  | 2024-08-26 |  | 2024-10-02
Tobique Valley High | 2023-04-25 | 2024-03-19 |  |  | 2024-10-15 |  | 2024-11-04 |  | 2024-09-03 | 2025-02-19
Tobique Valley High STANDPIPE | 2023-07-07 | 2024-06-26 | 2024-11-06
Tobique School Bus Garage | [9 empty] | 2025-02-25
Townsview | 2023-01-04 | 2024-03-27 | 2024-07-04 | 2024-09-24 | 2024-09-14 |  | 2024-05-13 | 2024-11-19 | 2024-09-03 |  | 2024-09-12
Townsview School STANDPIPE
Upper Miramichi Elementary |  |  |  |  | 2024-09-24 |  |  |  | 2024-07-17
Woodstock High | 2023-01-04 | 2024-03-22 | 2024-08-09 | 2024-10-03 | 2024-09-20 | 2024-08-09 | 2024-05-13 | 2024-11-25 | 2024-09-03 | 2024-04-23 | 2024-09-12
FEC
OEC
WEC

## Elevators
ASD-W Asset Protection Elevators 2024-2025 Fiscal Year (April 1, 2024 to March 31, 2025)
School | Permit Invoice Date (We Receive) | Permit Received | Permit Expires | Device # | Type | Group | Bi-monthly Apr-May (1 of 5) | Bi-monthly Jun-Sep (2 of 5) | Bi-monthly Oct-Nov (3 of 5) | Bi-monthly Dec-Jan (4 of 5) | Bi-monthly Feb-Mar (5 of 5) | Semi-Annual (1 of 2) | Semi-Annual (2 of 2) | Annual | Condition Report | 5 Year
Andover Elementary | 2025-01-07 |  |  | 238364 | Lift | AP2 | [8 empty] | 2024-05-29
Andover Elementary | 2024-04-27 | 2024-11-07 |  | 17822 | Lift | AP2 | [8 empty] | 2024-11-27
Assiniboine Avenue | 2024-11-04 | 2024-12-19 | 2024-12-12 | 148921 | Elevator | AP2 | [8 empty] | 2024-11-24
Barkers Point |  | 2024-10-11 | 2025-09-15 | 61272 | Lift | AP3 |  |  |  | 2024-12-12 |  |  |  |  | 2024-09-27
Bliss Carmen | 2024-06-03 |  |  | 199966 | Elevator | AP3 |  |  |  | 2024-12-12
Cambridge Narrows |  |  |  | 694 | Lift | AP2 | [8 empty] | 2024-11-20
Canterbury High | 2025-02-19 | 2024-04-20 |  | 64591 | Lift | AP2 |  |  | 2024-10-16
Canterbury High | 202-02-19 | 2024-04-20 |  | 64565 | Lift | AP2 |  |  | 2024-10-16 | 2024-12-18
Carleton North |  |  |  | 278844 | Lift | AP3
Centreville |  | 2025-03-17 | 2025-08-25 | 40 | Lift | AP3 | [8 empty] | 2025-02-26
Centreville | 2024-12-28 | 2025-03-17 | 2026-02-26 | 585615 | Lift | AP3 | [8 empty] | 2025-02-26
Chipman Forest | 2024-12-06 | 2025-02-25 | 2025-02-04 | 866 | Elevator | AP3 | [8 empty] | 2025-02-12
Doaktown | 2024-12-13 |  |  | 230642 | Lift | AP2 |  |  |  | 2024-12-12
Doaktown | 2024-12-13 |  |  | 230633 | Lift | AP2 |  |  |  | 2024-12-12
Donald Fraser | 2024-11-04 |  |  | 1387 | Lift | AP2 | [8 empty] | 2024-11-07
Florenceville Middle |  | 2025-03-17 | 2025-10-13 | 84148 | Lift | AP3 | [8 empty] | 2025-02-26
Fredericton High |  |  |  | 1343 | Elevator | AP2 |  |  |  | 2024-12-12 |  |  |  |  | 2024-05-24
Geary Elementary |  |  | 2025-11-14 | 340230 | Elevator | AP2 | [8 empty] | 2024-11-28
George Street |  |  |  | 16885 | Elevator | AP3 |  |  |  | 2024-12-13
Gesner Street | 2024-04-25 |  | 2024-08-30 | 105763 | Lift | AP3
Hanwell Park Academy |  |  |  | 657201 | Elevator | DTI |  | 2024-09-28 |  | 2024-12-12- |  |  |  |  | 2024-11-28
Harold Peterson (DTI) | 2024-11-04 |  |  | 148937 | Elevator | AP3 |  |  |  | 2024-12-10
Hartland Community | 2024-12-11 |  |  | 150553 | Elevator | AP2 | [8 empty] | 2025-01-23
Harvey Elementary | 2024-06-01 |  |  | 219972 | Elevator | AP3 |  |  |  | 2024-12-12
Harvey High | 2024-04-23 |  |  | 1160 | Elevator | AP3 | [8 empty] | 2024-04-17
Hubbard (95 Drummond) |  |  |  | 64433 | Lift | AP2 | 2024-05 | [7 empty] | 2024-09-24
John Caldwell | 2024-04-25 |  | 24-10-22 | 1395 | Elevator | AP2 |  | 2024-08-23 | [6 empty] | 2024-04-19
John Caldwell |  |  |  | 1396 | Lift | AP2 |  | 2024-08-23
Keswick Ridge |  |  |  | 148416 | Lift | AP3 |  |  |  | 2024-12-12
Keswick Valley | 2025-02-10 | 2025-03-25 | 2026-04-11 | 1170 | Elevator | AP2 | [8 empty] | 2025-01-23
McAdam Elementry |  |  |  | 1159 | Elevator | AP3 |  |  |  | 2024-12-12
McAdam High |  | 2025-03-17 | 2025-05-26 | 1362 | Elevator | AP3 |  |  |  | 2024-12-12 |  |  |  |  | 2025-02-25
Meduxnekeag | 2024-10-20 |  |  | 618859 | Elevator | AP3 |  |  | 2024-10-20
Meduxnekeag | 2024-12-18 |  |  | 324447 | Elevator | AP4 | [8 empty] | 2024-12-18
Minto Elementary/Middle |  | 2025-02-25 | 2025-06-27 | 691 | Elevator | AP3 | [8 empty] | 2025-02-12
Minto Memorial High | 2024-12-06 |  |  | 692 | Lift | AP3
Minto Memorial High | 2024-12-06 |  |  | 693 | Lift | AP3
Nackawic Elementary | 2024-12-04 | 2025-03-17 | 2026-02-02 | 1227 | Lift | AP3 | [8 empty] | 2025-02-26
Nackawic High | 2024-12-04 |  |  | 1240 | Lift | AP3 |  |  |  | 2024-12-19 |  |  |  |  | 2025-02-26
Nackawic Middle | 2024-04-27 | 2024-02-22 |  | 1187 | Lift | AP2 | [8 empty] | 2025-01-23
Nashwaak Valley |  |  |  | 40239 | Lift | AP3
Nashwaaksis Memorial |  |  |  | 358144 | Lift | AP2 | [8 empty] | 2024-05-27
Nashwaaksis Memorial |  |  |  | 358175 | Lift | AP2 | [8 empty] | 2024-05-27
Nashwaaksis Middle |  |  |  | 1374 | Elevator | AP2 | [8 empty] | 2024-05-27
Nashwaaksis Middle | 2024-05-14 |  | 2024-08-21 | 106075 | Lift | AP2 | [8 empty] | 2024-11-22
Nashwaaksis Middle | 2024-04-25 |  | 2024-08-31 | 106023 | Lift | AP2 | [8 empty] | 2024-11-22
New Maryland |  |  |  | 1266 | Lift | AP3
Oromocto High |  |  |  | 862 | Elevator | AP3
Park Street |  |  |  | 57644 | Lift | AP3 | [8 empty] | 2024-10-24
Ridgeview Middle |  |  |  | 864 | Lift | AP3
Royal Road |  |  |  | 1361 | Elevator | AP2
Saint Mary's Academy |  | 2024-11-08 | 2025-10-22 | 166 | Elevator | AP3 |  | 2024-08-23 | [6 empty] | 2024-10-10
Southern Victoria | 2024-04-27 | 2024-09-08 |  | 256029 | Elevator | AP2 |  |  |  | 2024-12-18 |  |  |  |  | 2024-09-25
Stanley Consolidated | 2024-06-03 |  | 2025-05-26 | 1258 | Elevator | AP2 | 2024-05 |  |  | 2024-12-12
Summerhill |  |  |  | 85622 | Lift | AP3 | [8 empty] | 2024-10-03
Sunbury West |  |  |  | 863 | Lift | AP2 | 2024-05
Tobique Valley | 2024-10-08 |  |  | 1404 | Lift | AP2 | [8 empty] | 2025-01-23
Tobique Valley | 2024-10-08 |  |  | 1405 | Lift | AP2
Townsview |  |  |  | 324949 | Elevator | AP3 | [8 empty] | 2024-10-29
Woodstock High | 2024-04-25 |  | 2024-10-28 | 25 | Lift | AP3 |  |  |  | 2024-12-18 |  |  |  |  | 2024-10-29
Notes: | [6 empty] | Repairs:
Ridgeview Middle getting replacement seals on hydrolic piston. (est 1 week) | [6 empty] | Spreadsheet: | Y:\Facilities\Buildings\Inspections & Reports\Elevators\Elevator Condition & Maintenance Reports - Elevator Repairs
Itallic's are information from Noha - 10-19
No inspections done in July and August.
Bath Community - out of service since 2018
Main issues with Kone is the Semi-Annual, Annual, Condition Reports, and Permits
Red, bold font is for expired permits. It is conditional formatting based on the expiry date so if the date is AFTER the current day the formatting will return to normal