## General
ASD-W Asset Protection General Data 2025-2026 Fiscal Year (April 1, 2025 to March 31, 2026)
| Asbestos Assessments |  | Food Establishment Inspection (Public Health Inspection) |  | Air Duct Inspection | Dust Collector Annual Inspection | Scissor Lift Inspections | Fire Hydrant Fee (SNB pays this unless there is a defeciency, then they will bill us) | Boiler Pressure Vessel (BPV) |  | Cathodic Protection | Precision Testing (3 Years) | Petroleum Storage Site License | Cooling Towers |  | Playground Comprehensive Annual Inspection
School | Date | Inspector | Date. | Colour | Date2 | Date, | Date' | Calendar Year Period | Date5 | # of Devices | Annual | Last done 2025/2026 | Expiry Date | Liscence Expiry | Testing | Date Inspected | Inspected By
Andover Elementary |  |  |  |  | 2026-02-10 | [6 empty] | 2025-10-03 | 2026-09-30 |  |  | 2025-09-08 | Mark McCarthy
Assiniboine Avenue Elementary | [8 empty] | 2025-03-26 | 2
Barkers Point |  |  |  |  | 2026-07-20 |  |  |  | 2025-04-01 | 1 |  |  | 2026-09-30 |  |  | 2025-07-15 | John Peters
Bath Community | [12 empty] | 2026-09-30 |  |  | 2025-09-08 | Timothy Broad
Bliss Carman Middle |  |  |  |  | 2026-08-05
Bristol Elementary | [10 empty] | 2025-06-16 | 2025-09-30 | 2026-09-30 |  |  | 2025-09-08 | Timothy Broad
Burton Elementary | 2025-06-01 | [11 empty] | 2026-09-30
Cambridge-Narrows | 2025-06-01 |  |  |  | 2026-03-05 | [5 empty] | 2025-06-16
Canterbury High Site/License 159 | [10 empty] | 2025-06-16 |  | 2026-09-30 |  |  | 2025-08-21 | Chris Jamieson
Carleton North High |  |  |  |  | 2026-02-18
Central New Brunswick Academy |  |  |  |  | 2026-08-05 |  | 2025-10-03 | [5 empty] | 2026-09-30
Centreville Community | [15 empty] | 2025-09-08 | Timothy Broad
Chipman Elementary | [12 empty] | 2026-09-30
Chipman Forest Avenue
Connaught Street | 2026-02-26 | Matt Hutchison |  |  | 2026-07-22
Cuffman Street | [8 empty] | 2025-04-01 | 2
Devon Middle | 2026-02-26
Doaktown Elementary | [8 empty] | 2025-07-29 | 1 | 2025-06-06 |  | 2026-09-30 |  |  | 2025-07-11 | Scott Jones
Donald Fraser Memorial | [15 empty] | 2025-09-10 | Mark McCarthy
Florenceville Elementary | [15 empty] | 2025-07-30 | Doug Booker
Florenceville Middle | [12 empty] | 2026-09-30 |  |  | 2025-07-31 | Doug Booker
Forest Hill | [15 empty] | 2025-10-09 | Jeff Durepos
Fredericton High |  |  |  |  | 2026-07-30 |  | 2025-03-07
Gagetown | 2025-06-01 | [7 empty] | 2025-04-01 | 1 | 2025-06-16 |  | 2026-09-30
Garden Creek
Geary Elementary |  |  |  |  | 2026-03-06 |  |  |  | 2025-04-01 | 1
George Street Middle |  |  |  |  | 2026-07-21 | [10 empty] | 2025-10-30 | Jeff Durepos
Gesner Street Elementary | 2025-06-01 | [7 empty] | 2025-03-26 | 2
Gibson Neill Memorial |  |  |  |  | 2026-07-28 |  |  |  | 2025-04-01 | 2 | [5 empty] | 2025-07-21 | John Peters
Hanwell Park Academy |  |  |  |  | 2026-08-04
Harold Peterson Middle | [8 empty] | 2025-03-26 | 1
Hartland Community |  |  |  |  | 2026-02-20 | [10 empty] | 2025-09-09 | Scott Davenport
Harvey Elementary | 2026-03-16 | Matt Smith | [13 empty] | 2025-08-26 | Mike Barrieau
Harvey High | 2026-03-16 | Matt Smith | 2025-12-16 | Green | 2026-07-16 | [8 empty] | 2026-03-31 | 2025-10-21
Hubbard Avenue Elementary |  |  |  |  | 2026-03-04 |  |  |  | 2025-03-26 | 2
John Caldwell |  |  |  |  | 2026-02-09 | 2025-10-07 | 2026-01-05 | [8 empty] | 2025-07-10 | Chad Crawford
Keswick Ridge | [12 empty] | 2026-09-30 |  |  | 2025-08-26 | Mike Barrieau
Keswick Valley Memorial |  |  | 2025-01-06 | Green | 2026-07-13 | [10 empty] | 2025-08-26 | Mike Barrieau
Kingsclear | [12 empty] | 2026-09-30
Leo Hayes High |  |  |  |  | 2026-03-05
Lincoln Elementary Community | [8 empty] | 2025-03-26 | 1 | [5 empty] | 2025-07-17 | John Peters
Liverpool Street
McAdam Elementary | 2026-03-16 | Matt Smith | [13 empty] | 2025-08-26 | Mike Barrieau
McAdam High | 2026-03-16 | Matt Smith |  |  | 2026-07-15 | [8 empty] | 2026-03-31 | 2025-10-21
Meduxnekeag |  |  |  |  | 2026-02-13 |  |  |  | 2025-07-03 | 2 |  |  | 2026-09-30 |  |  | 2025-09-08 | Scott Davenport
Minto Elementary/Middle |  |  |  |  | 2026-03-02 |  | 2025-06-05
Minto Memorial High |  |  |  |  | 2026-03-05 |  | 2025-06-05
Montgomery Street
Nackawic Elementary |  |  |  |  | 2026-02-18 | [10 empty] | 2025-08-20 | Chris Jamieson
Nackawic Middle |  |  |  |  | 2026-02-17 | [10 empty] | 2025-08-20 | Chris Jamieson
Nackawic Senior High |  |  |  |  | 2026-02-20 | 2025-08-13 | 2025-10-03
Nashwaak Valley | [15 empty] | 2025-07-14 | Scott Jones
Nashwaaksis Memorial
Nashwaaksis Middle |  |  |  |  | 2026-07-29 | [9 empty] | 2026-10-27
New Maryland Elementary |  |  |  |  | 2026-08-06
Oromocto High | 2025-06-18 | Anthony Currier | 2026-01-23 | Green | 2026-03-03 |  |  |  | 2025-03-19 | 3
Park Street |  |  |  |  | 2026-07-27 | [10 empty] | 2025-11-03 | Jeff Durepos
Perth-Andover Middle |  |  |  |  | 2026-02-12 | [10 empty] | 2025-09-08 | Mark McCarthy
Priestman Street
Ridgeview Middle | 2025-06-01 | [7 empty] | 2025-03-26 | 2
Royal Road |  |  |  |  | 2026-07-23 | [8 empty] | 2026-03-31 |  | 2025-07-14 | John Peters
Saint Mary's Academy | [15 empty] | 2025-09-089 | Timothy Broad
Southern Victoria High |  |  |  |  | 2026-02-11 | 2025-07-14 | [6 empty] | 2026-09-30
Stanley Consolidated |  |  |  |  | 2026-07-17 | 2025-07-30 | 2025-10-02 | [5 empty] | 2026-09-30 |  |  | 2025-07-18 | Scott Jones
Summerhill Street Elementary | [8 empty] | 2025-03-26 | 1
Sunbury West | 2025-06-19 | Anthony Currier
Sunset Acres
Tobique Valley High | [12 empty] | 2026-09-30
Townsview |  |  |  |  | 2026-02-19 | [7 empty] | 2026-09-30 |  |  | 2025-09-08 | Scott Davenport
Upper Miramichi Elementary | [15 empty] | 2025-07-17 | Scott Jones
Woodstock High |  |  |  |  | 2026-02-20 |  | 2025-10-06
Notes:
IP - in progress
Have been delayed due to COVID as the focus of the inspections is on more public venues.
Some kitchens have lost service or changed providers.
Air Duct - May appear overdue, we record the date of insection and may not receive the report until new fiscal year
,

## Water
ASD-W Asset Protection WATER 2025-2026 Fiscal Year (April 1, 2024 to March 31, 2025)
| Organic |  | Inorganic | Microbiology Monthly Test - ARSENIC (As), LEAD (Pb), VOC, HPC/MTBE, FLOURIDE (F) | [11 empty] | Special Test
School | FEC-Mar OEC-May WEC- Mar | FEC-Sep OEC- Nov WEC- Sep | FEC-Aug OEC- Aug WEC- Mar | 2025 Apr | 2025 May | 2025 Jun | 2025 July | 2025 Aug | 2025 Sept | 2025 Oct | 2025 Nov | 2025 Dec | 2026 Jan | 2026 Feb | 2026 Mar | Date
Bristol Elementary | 2025-04-30 |  |  | 30/30/30/30 |  | 5 | 18 | 28 | 24 | 30 |  | 2 | 28 | 26
Burton Elementary | 2025-05-28 | 2025-11-13 | 2025-08-19 | 16/16 | 28/28/28 | 23 | 22/22/22 | 19/19/19/19/19 | 17/17/17 | 22/22/13 | 13/13 | 19/19 | 21/21 | 18/18
Cambridge-Narrows | 2025-05-27 |  | 2025-08-19 | 16/16 | 27/27/27 | 19/19 | 22/22/22 | 19/19/19/19/19 | 18/18 | 30 | 27/27 | 19/19 | 19 | 18/18 | 16
Canterbury High | 2025-04-30 |  |  | 30/30/30/30 |  | 5 | 18 | 28 | 24 | 30 |  | 2 | 28 | 26
Carleton North High System 1 | 2025-04-30 |  |  | 30/30/30/30 |  | 5 | 18 | 28 | 24 | 30 |  | 2 | 28 | 26
Carleton North High System 2 | 2025-04-30 |  |  | 30/30/30/30 |  | 5 | 18 | 28 | 24 | 30 |  | 2 | 28 | 26
Central New Brunswick Academy |  | 2025-09-22 | 2025-08-25 | 29 | 26/26 | 25 | 29 | 26/26/26/26 | 22 | 30 | 25 | 15 | 27 | 24 |  | 2025-10-23 2026-02-12
Centreville Community | 2025-04-30 |  |  | 30/30/30/30 |  | 5 | 18 | 28/ | 24 | 30 |  | 2 | 28 | 26
Chipman Elementary | 2025-05-26 | 2025-11-14 | 2025-08-18 | 15/15 | 26/26/26 | 19 | 21/21 | 18/18/18/18/18 | 18/18 | 30/13/14 | 14/ | 18/18 | 22/22 | 17/17 | 16
Chipman Forest Avenue | 2025-05-26 | 2025-11-14 | 2025-08-18 | 15/ | 26/26 |  | 21 | 18/18/18/18/18 | 18 | 30/14 |  | 18 | 22 | 17 | 16
Florenceville Elementary | 2025-04-30 |  |  | 30/30/30/30 |  | 5 | 18 | 28 | 24 | 30 |  | 2 | 28 | 26
Florenceville Middle | 2025-04-30 |  | 2025-10-06 | 30/30/30/30 |  | 5 | 18 | 28 | 24 | 30 |  | 2 | 28 | 26 |  | 2025-10-01 2025-10-06
Gagetown | 2025-05-27 |  | 2025-08-25 | 16/16/16 | 27/27/27/27 | 19/19/19 | 22/22/22/22 | 19/19/19/19/19 | 17/17/17/17 | 22/22/22 | 27/27/27 | 19/19/19 | 19/19 | 18/18/18
Geary Elementary | 2025-05-28 | 2025-08-20 | 2025-08-25 | 16 | 28/28 | 23 | 22 | 20/20/20/20/20 | 17 | 22 | 13 | 19 |  | 26/26
Hanwell Park Academy |  | 2025-09-23 | 2025-08-25 | 28 |  | 26/ | 29 | 25/25/25/25/25 | 23 | 27 | 24 | 15 | 29 | 23
Harvey Elementary |  | 2025-09-23 | 2025-08-25 | 28 | 26/26 | 26/ | 29 | 25/25/25/25/25 | 23 | 27 | 24 | 15 | 29 | 23
Harvey High |  | 2025-09-23 | 2025-08-25 | 28 | 26/26 | 26/ | 29 | 25/25/25/25/25 | 23 | 27 | 24 | 15 | 29 | 23
Keswick Ridge |  | 2025-09-23 | 2025-08-25 | 28 | 5/5/5/26/26 | 26/ | 29 | 25/25/25/25/25 | 23 | 27 | 24 | 15 | 29 | 23 |  | 2025-05-05
Keswick Valley Memorial |  | 2025-09-28 | 2025-08-25 | 28 | 26/26 | 26/ | 29 | 25/25/25/25/25 | 23 | 27 | 24 | 15 | 29 | 23
Lincoln Elementary Community | 2025-05-28 | 2025-11-13 | 2025-08-25 | 16 | 28/28 | 23/ | 22 | 20/20/20/20/20 | 17 | 22/13 |  | 19 | 23 | 26
Minto Elem/Middle | 2025-05-26 | 2025-11-13 | 2025-08-25 | 15/15 | 26/26/26 | 18 | 21/21 | 18/18/18/18/18 | 19 | 30/30/13 | 13/13 | 18/18 | 22/22 | 17/17 | 17
Minto Memorial High | 2025-05-26 | 2025-11-13 | 2025-08-25 | 15 | 26/26 | 18/18 | 21 | 18/18/18/18/18 | 19 | 30/06/06/06/13 |  | 18 | 22 | 17 | 17 | 2025-10-27 2025-10-30
Nashwaak Valley |  | 2025-09-22 | 2025-08-26 | 29 | 26/26 | 25 | 29 | 26/26/26/26 | 22 | 30 | 25 | 15 | 27 | 24
Stanley High |  | 2025-09-22 | 2025-08-26 | 29 | 26/26 | 25 | 29 | 26/26/26/26 | 22 | 30 | 25 | 15 | 27 | 24
Upper Miramichi Elementary |  | 2025-09-22 | 2025-08-26 | 29 | 26/26 | 25 | 29 | 26/26/26/26 | 22 | 30 | 25 | 15 | 27 | 24

## Sprinkler & Fire
ASD-W Asset Protection Sprinklers & Fire 2025-2026 Fiscal Year (April 1, 2025 to March 31, 2026)
| Sprinkler Inspections Dry Pipe systems to be tested every 3 years for Leakage |  |  |  | Fire Marshal Inspections | Fire Pump | Fire Suppression Hoods Semi-Annual Inspections |  | Fire Alarm | Fire Extinguishers | Fire Hydrant | 5 year Internal Piping
| Y:\Facilities\Buildings\Inspections & Reports\Fire & Fire Prevention\Sprinklers\Sprinkler & Standpipe Inspection (1/4 sprinkler fire alarm from Troy) |  |  |  | Fire Prevention Oct/Nov |  | Cafeteria- Brunswick Fry |  | Sprinkler/Fire - Annual Sept | Atlantic Fire & Safety (Record the date of front of the invoice) |  | Just record the date
School | Inspection Date | Inspection Date2 | Inspection Date3 | Inspection Date4 | Inspection Date5 | Date Inspected | Date Inspected6 | Date Inspected7 | Inspection Date7 | Inspection Date8 | Inspection Date9 | Inspection Date10
Andover Elementary | 2025-03-11 | 2025-07-10 | 2025-11-18 | 2026-02-02 | 2025-10-15 |  |  |  | 2025-08-12 | 2026-01-13 | 2025-09-19
Assiniboine Avenue Elementary |  |  |  |  | 2025-10-21 |  |  |  | 2025-08-25 | 2025-06-11
Barkers Point | 2025-03-12 | 2025-06-04 | 2025-09-19 | 2025-12-23 | 2025-10-06 |  |  |  | 2025-08-06 | 2026-02-04
Bath Community |  |  |  |  | 2025-09-18 |  |  |  | 2025-08-01 | 2026-02-12
Bliss Carman Middle | 2025-03-04 | 2025-06-05 | 2025-10-22 | 2025-12-03 | 2025-10-09 |  | 2025-08-06 | 2026-02-25 | 2025-08-01 | 2026-01-07
Bristol Elementary |  |  |  |  | 2025-09-18 |  |  |  | 2025-08-01 | 2026-02-19
Burton Elementary | [8 empty] | 2025-08-22 | 2025-06-19
Cambridge-Narrows |  |  |  |  | 2025-11-05 |  | 2025-10-02 |  | 2025-08-22 | 2026-02-05
Canterbury High |  |  |  |  | 2025-09-18 |  | 2025-05-05 | 2025-11-03 | 2025-08-14 | 2025-05-01
Carleton North High |  |  |  |  | 2025-10-02 |  | 2025-05-26 | 2025-11-03 | 2025-07-30 | 2025-03-25
Central New Brunswick Academy | 2025-04-07 | 2025-07-09 | 2025-11-06 | 2026-01-12 | 2025-11-26 | 2025-07-09 | 2025-09-10 |  | 2025-08-07 | 2025-09-04
Centreville Community | 2025-05-14 | 2025-07-18 | 2025-11-25 | 2026-02-23 | 2025-10-03 | 2025-07-17 | 2025-05-27 | 2025-11-24 | 2025-07-30 | 2025-08-26
Chipman Elementary |  |  |  |  | 2025-10-29 |  |  |  | 2025-08-15
Chipman Forest Avenue | 2025-03-31 | 2025-12-31 |  |  | 2025-10-29 |  | 2025-04-29 | 2025-10-28 | 2025-08-15
Connaught Street | 2025-03-26 | 2025-07-16 | 2025-11-03 | 2025-12-03 | 2025-10-09 |  | 2025-04-23 | 2025-10-29 | 2025-08-08 | 2026-01-13
Cuffman |  |  |  |  | 2025-10-08 |  | 2025-12-22 |  |  | 2025-09-01
Devon Middle | 2025-03-13 | 2025-06-27 | 2025-09-19 | 2025-12-05 | 2025-10-06 |  |  |  | 2025-07-29 | 2026-02-04
Doaktown Elementary |  |  |  |  | 2025-12-01 |  |  |  | 2025-07-23 | 2025-09-01
Donald Fraser Memorial |  |  |  |  | 2025-10-08 |  |  |  | 2025-08-12 | 2026-02-11
Florenceville Elementary |  |  |  |  | 2025-10-11 |  |  |  | 2025-08-01 | 2025-03-24
Florenceville Middle |  |  |  |  | 2025-10-02 |  |  |  | 2025-08-01 | 2025-03-24
Florenceville School Bus Garage |  |  |  |  | - |  |  |  |  | 2025-11-12
Forest Hill |  |  |  |  | 2025-10-09 |  |  |  | 2025-07-24 | 2026-01-08
Fredericton High | 2025-04-11 | 2025-08-27 | 2025-11-18 |  | 2025-10-29 | 2025-08-27 | 2025-08-27 | 2026-02-24 | 2025-08-29 | 2025-04-17
Gagetown |  |  |  |  | 2025-11-13 |  | 2025-08-27 |  | 2025-08-14 | 2025-06-11
Garden Creek |  |  |  |  | 2025-10-14 |  | 2025-08-06 | 2026-02-24 | 2025-07-28 | 2026-03-13
Geary Elementary | [8 empty] | 2025-08-13 | 2025-06-11
George Street Middle | 2025-03-31 | 2025-08-26 | 2025-11-17 | 2025-12-31 | 2025-10-09 |  | 2025-04-14 | 2025-10-20 | 2025-07-30 | 2026-01-13
Gesner Street Elementary |  |  |  |  | 2025-10-21 |  |  |  | 2025-08-26 | 2025-06-19
Gibson Neill Memorial Elementary | 2025-03-03 | 2025-07-15 | 2025-11-06 | 2025-12-18 | 2025-10-07 |  | 2025-08-19 | 2026-02-25 | 2025-07-29 | 2026-02-04
Hanwell Park Academy | 2025-03-17 | 2025-07-15 | 2025-11-10 | 2025-12-23 | 2025-09-18 | 2025-07-15 | 2025-08-27 | 2026-02-26 | 2025-08-12 | 2025-09-01
Harold Peterson Middle STANDPIPE | 2025-03-17 | 2025-06-24 | 2025-10-21 | 2025-12-02 |  |  |  |  | 2025-08-25 | 2025-06-19
Hartland Community | 2025-03-17 | 2025-07-17 | 2025-11-25 | 2026-02-13 | 2025-10-15 | 2025-07-18 | 2025-05-28 | 2025-11-05 | 2025-08-07 | 2025-05-21 | 2025-09-22
Harvey Elementary | [8 empty] | 2025-07-31 | 2025-08-25
Harvey High | 2025-04-04 | 2025-08-13 | 2025-11-07 | 2025-12-08 |  |  | 2025-09-24 |  | 2025-07-31 | 2025-09-03
Hubbard Avenue Elementary STANDPIPE |  |  |  |  | 2025-10-30 |  | 2025-03-25 | 2025-09-04 | 2025-08-14 | 2025-06-19
John Caldwell | 2025-05-15 | 2025-07-10 | 2025-11-26 | 2026-02-16 | 2026-02-16 |  |  |  | 2025-08-12 | 2026-01-12
Keswick Ridge |  |  |  |  | 2025-09-18 |  |  |  | 2025-07-18 | 2026-03-12
Keswick Valley Memorial | 2025-03-27 | 2025-07-16 | 2025-11-17 | 2026-01-07 | 2025-09-18 |  | 2025-07-17 | 2025-12-08 | 2025-08-11 | 2026-03-09
Kingsclear |  |  |  |  | 2025-10-14 |  |  |  | 2025-07-28 | 2025-03-11
Leo Hayes High |  |  |  | 2025-01-02 | 2025-10-08 |  | 2025-04-03 | 2025-11-19 | 2025-08-11 | 2025-06-23
Lincoln Elementary Community | 2025-03-14 | 2025-06-23 | 2025-10-22 | 2025-12-02 |  | 2025-06-23 | 2025-08-05 | 2026-02-11 | 2025-08-21 | 2025-06-19
Liverpool Street |  |  |  |  | 2025-10-09 |  |  |  | 2025-08-01 | 2026-01-14
McAdam Avenue
McAdam Elementary | [8 empty] | 2025-07-21 | 2025-09-01
McAdam High |  | 2025-08-14 | 2025-11-07 | 2026-01-05 |  |  |  |  | 2025-07-21 | 2025-09-01
Meduxnekeag | 2025-04-03 | 2025-07-29 | 2025-10-23 | 2026-01-21 | 2025-09-09 | 2026-01-21 | 2025-05-05 | 2025-11-03 | 2025-08-07 | 2025-05-01 | 2025-09-22
Minto Elementary/Middle | 2025-04-03 | 2025-07-01 | 2025-11-19 | 2025-12-31 | 2025-10-09 |  | 2025-04-30 | 2025-10-15 | 2025-08-20 | 2026-02-05
Minto Memorial High |  |  |  |  | 2025-10-09 |  |  |  | 2025-08-20 | 2026-02-05
Montgomery Street |  |  |  |  | 2025-10-14 |  |  |  | 2025-07-28 | 2026-01-07
Nackawic Elementary |  |  |  |  | 2025-09-17 |  | 2025-05-12 | 2025-11-03 | 2025-07-31 | 2025-06-18
Nackawic Middle |  |  |  |  | 2025-09-05 |  | 2025-05-12 | 2025-11-03 | 2025-07-31 | 2025-06-18 | 2025-09-22
Nackawic Senior High | 2025-04-02 | 2025-08-13 | 2025-10-20 | 2026-01-21 | 2025-09-18 |  | 2025-05-12 | 2025-11-03 | 2025-07-31 | 2025-06-18 | 2025-09-22
Nashwaak Valley |  |  |  |  | 2025-10-31 |  |  |  | 2025-07-18 | 2025-09-01
Nashwaaksis Memorial | [9 empty] | 2025-03-12
Nashwaaksis Middle |  |  |  |  | 2025-10-07 |  | 2025-08-07 | 2026-02-24 | 2025-08-06 | 2026-02-04
New Maryland Elementary | 2025-04-03 | 2025-07-25 | 2025-11-14 | 2026-01-13 |  |  |  |  | 2025-07-24 | 2025-03-11 | 2025-10-23
Oromocto High | 2025-04-03 | 2025-08-20 | 2025-11-20 | 2026-01-22 |  |  | 2025-09-25 |  | 2025-08-19 | 2026-03-13 | 2025-09-10
Park Street | 2025-03-19 | 2025-07-07 | 2025-10-31 | 2025-12-15 | 2025-10-07 |  | 2025-10-01 |  | 2025-07-22 | 2026-03-17
Perth-Andover Middle | 2025-04-17 | 2025-07-14 | 2025-11-18 | 2026-01-19 | 2025-10-15 |  |  |  | 2025-08-12 | 2026-01-13 | 2025-09-19
Perth-Andover Maintenance Shop | [9 empty] | 2026-01-16
Priestman Street |  |  |  |  | 2025-10-14 |  |  |  | 2025-07-30 | 2026-01-13
Ridgeview Middle | [8 empty] | 2025-08-26 | 2025-05-23
Royal Road | 2025-03-03 | 2025-07-07 | 2025-10-20 | 2025-12-05 | 2025-10-07 |  |  |  | 2025-07-22 | 2026-03-16
Saint Mary's Academy | 2025-03-25 | 2025-08-20 | 2025-10-23 | 2025-12-09 | 2025-09-19 |  | 2025-05-14 | 2025-11-18 | 2025-08-08 | 2026-02-03 | 2025-09-18
Southern Victoria High | 2025-04-07 | 2025-07-14 | 2025-11-18 | 2026-02-17 | 2025-10-14 |  | 2025-05-06 | 2025-11-25 | 2025-08-12 | 2026-01-14
Stanley High | 2025-04-07 | 2025-07-30 | 2025-11-06 | 2026-01-12 | 2025-10-30 |  | 2025-05-20 | 2025-11-30 | 2025-07-25 | 2025-09-03
Summerhill Street Elementary | 2025-03-14 | 2025-06-20 | 2025-10-21 | 2025-12-01 | 2025-10-30 |  |  |  | 2025-08-21 | 2025-06-11 | 2025-09-10
Sunbury West | 2025-03-13 | 2025-07-28 | 2025-11-04 | 2025-12-30 |  |  | 2025-08-27 | 2026-02-19 | 2025-08-13 | 2025-06-11 | 2025-09-10
Sunset Acres | [7 empty] | 2025-12-10 |  | 2026-03-17
Tobique Valley High |  |  |  |  | 2025-10-07 |  | 2025-05-15 | 2025-11-19 | 2025-08-12 | 2026-02-09 | 2026-02-11
Tobique Valley High STANDPIPE | 2025-04-03 |  | 2025-11-26 | 2026-01-29
Tobique School Bus Garage | [9 empty] | 2025-02-25 | 2026-02-03
Townsview | 2025-04-02 | 2025-06-30 | 2025-10-30 | 2026-01-21 | 2025-09-09 |  | 2025-05-05 | 2025-11-04 | 2025-08-07 | 2025-05-14 | 2025-09-22
Townsview School STANDPIPE | 2025-04-03 | 2025-07-10
Upper Miramichi Elementary |  |  |  |  | 2025-10-31 |  |  |  | 2025-07-23 | 2025-09-01
Woodstock High | 2025-04-17 | 2025-08-19 | 2025-11-25 | 2026-01-21 | not done 2025 | 2025-08-19 | 2025-05-05 | 2025-11-04 | 2025-08-11 | 2025-05-01 | 2025-09-22
FEC
OEC
WEC

## Elevators
ASD-W Asset Protection Elevators 2025-2026 Fiscal Year (April 1, 2025 to March 31, 2026)
School | Permit Invoice Date (We Receive) | Permit Received | Permit Expires | Device # | Type | Group | Bi-monthly Apr-May (1 of 5) | Bi-monthly Jun-Sep (2 of 5) | Bi-monthly Oct-Nov (3 of 5) | Bi-monthly Dec-Jan (4 of 5) | Bi-monthly Feb-Mar (5 of 5) | Semi-Annual (1 of 2) | Semi-Annual (2 of 2) | Annual | Condition Report | 5 Year
Andover Elementary | 2026-01-29 |  |  | 238364 | Lift | AP2 |  | 2025-09-24 | 2025-11-26 | 2026-01-29 |  | 2025-11-26 |  | 2025-11-26 | 2025-05-28
Andover Elementary | 2025-09-08 | 2025-12-10 | 2026-11-07 | 17822 | Lift | AP2 |  | 2025-09-24 | 2025-11-26 | 2026-01-29 |  | 2026-11-26 |  |  | 2025-11-25
Assiniboine Avenue | 2025-11-04 | 2025-12-10 | 2026-12-12 | 148921 | Elevator | AP2 |  | 2025-09-18 | 2025-11-20 | 2026-01-28 |  |  |  | 2025-11-20 | 2025-11-20
Barkers Point | 2025-08-11 | 2025-10-15 | 2026-09-15 | 61272 | Lift | AP3 |  | 2025-09-12 | 2025-11-26 | 2026-01-28 |  |  |  | 2025-09-12 | 2025-09-12
Bath Middle | 2025-09-08 |  |  | 39 | Lift | AP
Bliss Carmen | 2025-07-31 | 2025-10-15 | 2026-09-15 | 199966 | Elevator | AP3 |  |  | 2025-10-27 | 2025-12-16 | 2026-02-26 | 2025-12-16 |  | 2025-06-18 | 2025-07-18
Cambridge Narrows | 2025-04-28 | 2025-09-24 | 2026-06-27 | 694 | Lift | AP2 |  | 2025-09-11 | 2025-11-19 | 2026-01-12 |  | 2025-11-19 |  |  | 2025-05-27
Canterbury High | 2026-02-26 |  |  | 64591 | Lift | AP2 |  | 2025-09-23 | 2025-11-25 | 2026-01-08
Canterbury High | 2026-02-26 |  |  | 64565 | Lift | AP2 |  | 2025-09-23 | 2025-11-25 | 2026-01-08
Carleton North | 2025-07-05 | 2025-12-10 | 2026-09-03 | 278844 | Lift | AP3 |  |  |  | 2025-12-17 |  |  |  |  | 2025-10-28
Centreville | 2025-06-26 |  | 2026-02-26 | 40 | Lift | AP3 |  |  | 2025-10-28 | 2025-12-17 | 2026-02-24 |  |  | 2025-06-26
Centreville | 2026-01-12 |  |  | 585615 | Lift | AP3 |  |  | 2025-10-28 | 2025-12-17 | 2026-02-24 |  |  | 2025-02-26
Chipman Forest | 2025-12-18 | 2025-02-25 | 2026-02-04 | 866 | Elevator | AP3 |  |  |  | 2025-12-25
Cuffman | 2025-11-04 |  |  | 776029 | Elevator |  |  |  | 2025-10-11 | 2025-12-15 |  |  |  | 2025-12-15
Doaktown | 2025-12-19 |  |  | 230642 | Lift | AP2 |  | 2025-09-03 | 2025-11-13 | 2026-01-21 |  |  |  |  | 2025-10-31
Doaktown | 2025-12-19 |  |  | 230633 | Lift | AP2 |  | 2025-09-03 | 2025-11-13 | [5 empty] | 2025-10-31
Donald Fraser | 2025-08-14 | 2025-10-15 | 2026-12-13 | 1387 | Lift | AP2 |  | 2025-09-02 | 2025-11-19 | 2026-01-20 |  |  |  | 2025-11-19 | 2025-11-19
Florenceville Middle | 2025-08-14 | 2025-12-10 | 2026-10-13 | 84148 | Lift | AP3 |  |  |  | 2025-12-17 | 2026-02-24 |  |  |  | 2025-10-20
Fredericton High | 2025- | 2025-06-10 | 2026-05-26 | 1343 | Elevator | AP2 |  | 2025-09-05 | 2025-11-10 | 2026-01-27 |  | 2025-09-10 |  |  | 2025-05-12
Geary Elementary | 2025-09-31 | 2025-12-10 | 2026-11-14 | 340230 | Elevator | AP2 |  | 2025-09-11 | 2025-11-20 | 2026-01-28 |  |  |  | 2025-11-20 | 2025-11-20
George Street | 2025-09-23 |  |  | 16885 | Elevator | AP3 |  |  |  | 2025-12-18 | 2026-02-26
Gesner Street | 2025-07-01 | 2025-09-08 | 2026-08-30 | 105763 | Lift | AP3 |  |  | 2025-10-28 | 2025-12-04 |  |  |  | 2025-06-09 | 2025-06-09
Hanwell Park Academy | 2025-06-20 | 2025-10-23 | 2026-08-15 | 657201 | Elevator | DTI |  | 2025-09-22 | 2025-11-19 | 2026-01-27 |  |  |  | 2025-09-22 | 2025-09-22
Harold Peterson (DTI) | 2025-11-04 | 2025-12-19 | 2026-12-12 | 148937 | Elevator | AP3 |  |  | 2025-10-25 | 2025-12-04 |  |  |  | 2025-12-04 | 2025-12-04
Hartland Community | 2025-12-19 |  |  | 150553 | Elevator | AP2 |  | 2025-09-24 | 2025-11-26 | 2026-01-27 |  |  | 2025-09-24 | 2026-01-27 | 2025-01-23
Harvey Elementary | 2025-06-01 | 2025-11-06 | 2026-07-31 | 219972 | Elevator | AP3 |  |  | 2025-10-24 | 2025-12-18 | 2026-02-25 |  |  | 2025-10-24 | 2025-10-28
Harvey High | 2025-04-23 | 2025-06-10 | 2026-05-26 | 1160 | Elevator | AP3 | 2025-04-14 |  | 2025-10-24 | 2025-12-18 | 2026-02-25 |  |  | 2025-04-14 | 2025-04-14
Hubbard (95 Drummond) | 2025-08-11 | 2025-10-17 | 2026-09-15 | 64433 | Lift | AP2 |  | 2025-09-18 | 2025-11-20 | 2026-01-28 |  |  |  | 2025-09-18 | 2025-09-18
John Caldwell | 2025-08-23 | 2025-10-17 | 2026-10-22 | 1395 | Elevator | AP2 |  | 2025-09-15 | 2025-11-25 | 2026-01-20 |  |  |  | 2025-09-15 | 2025-09-15
John Caldwell | 2025-08-23 |  |  | 1396 | Lift | AP2
Keswick Ridge | 2025-08-17 | 2025-11-24 | 2026-10-16 | 148416 | Lift | AP3 |  |  | 2025-10-27 | 2025-12-18 | 2026-02-23 |  |  | 2025-10-27 | 2025-10-27
Keswick Valley | 2026-02-17 |  |  | 1170 | Elevator | AP2 |  | 2025-09-22 | 2025-11-18 | 2026-01-27
Leo Hayes | 2025-07-28 | 2025-09-24 | 2026-07-26 | 6220 | Elevator | AP |  |  |  | 2025-11-20
McAdam Elementry | 2025- | 2025-11-05 | 2026-05-26 | 1159 | Elevator | AP3 |  |  | 2025-10-24 | 2025-12-19 | 2026-02-25 |  |  | 2025-06-03 | 2025-06-03
McAdam High | 2025- | 2025-11-05 | 2026-05-26 | 1362 | Elevator | AP3 |  |  | 2025-10-24 | 2025-12-19 | 2026-02-25 |  |  | 2025-06-03 | 2025-06-03
Meduxnekeag | 2024-10-20 |  |  | 618859 | Elevator | AP3
Meduxnekeag | 2025-11-04 | 2026-03-06 | 2026-12-19 | 324447 | Elevator | AP4 |  |  | 2025-10-28 | 2025-12-18 | 2026-02-24 |  |  | 2025-12-18 | 2025-12-18
Minto Elementary/Middle | 2025-04-28 | 2025-11-05 | 2026-06-27 | 691 | Elevator | AP3 |  |  |  | 2025-12-19 |  |  |  |  | 2025-07-12
Minto Memorial High | 2025-12-18 | 2025-10-28 | 2026-02-04 | 692 | Lift | AP3 |  |  | 2025-10-20 | 2025-12-19 |  |  |  | 2025-10-20 | 2025-10-20
Minto Memorial High | 2025-12-18 | 2025-10-28 | 2026-02-04 | 693 | Lift | AP3 |  | 2025-07-31 | 2025-10-20 | 2025-12-19 |  |  |  | 2025-07-31 | 2025-07-31
Nackawic Elementary | 2025-12-18 | 2026-03-06 | 2027-02-02 | 1227 | Lift | AP3 |  |  | 2025-10-22 | 2025-12-18 | 2026-02-09 |  |  | 2026-02-09 | 2025-02-26
Nackawic High | 2025-12-18 | 2026-03-06 | 2027-02-02 | 1240 | Lift | AP3 |  |  | 2025-10-22 | 2025-12-16 | 2026-02-09 |  |  | 2026-02-09 | 2025-02-26
Nackawic Middle | 2025-12-18 | 2026-03-06 | 2027-02-02 | 1187 | Lift | AP2 |  | 2025-09-23 | 2025-11-25 | 2026-01-29 |  |  |  | 2026-01-29 | 2026-01-29
Nashwaak Valley | 2025-04-09 | 2025-07-18 | 2026-06-08 | 40239 | Lift | AP3 |  |  | 2025-10-21 | 2025-12-19 | 2026-02-23 | 2025-12-19 |  | 2025-06-17 | 2025-07-17
Nashwaaksis Memorial | 2025-04-06 |  |  | 358144 | Lift | AP2 | [8 empty] | 2025-05-12
Nashwaaksis Memorial | 2025-04-06 |  |  | 358175 | Lift | AP2 | [8 empty] | 2025-05-12
Nashwaaksis Middle |  |  |  | 1374 | Elevator | AP2 |  | 2025-09-25 | 2025-11-17 | 2026-01-30 |  | 2025-11-17
Nashwaaksis Middle | 2025-07-02 | 2025-12-10 | 2026-08-31 | 106075 | Lift | AP2 |  | 2025-09-25 | 2025-11-17 | 2026-01-30 |  |  |  | 2025-11-17 | 2025-11-17
Nashwaaksis Middle | 2025-07-02 | 2025-12-10 | 2026-08-31 | 106023 | Lift | AP2 |  | 2025-09-25 | 2025-11-17 | 2026-01-30 |  |  |  | 2025-11-17 | 2025-11-27
New Maryland | 2025- | 2025-05-12 | 2026-05-28 | 1266 | Lift | AP3 |  |  |  | 2025-12-16 | 2026-02-25 |  |  |  | 2025-04-30
Oromocto High | 2025-04-28 | 2025-11-05 | 2026-06-27 | 862 | Elevator | AP3 |  |  | 2025-10-25 | 2025-12-04 |  | 2025-12-04 |  | 2025-06-09 | 2025-06-09
Park Street | 2025-06-28 |  |  | 57644 | Lift | AP3 | 2025-05-23 |  |  | 2025-12-17 | 2026-02-26 | 2025-05-23 |  | 2025-05-23
Ridgeview Middle | 2025-04-28 | 2025-11-05 | 2026-06-27 | 864 | Lift | AP3 |  |  | 2025-10-12 | 2025-12-04 |  | 2025-12-04 |  | 2025-06-09 | 2025-06-09
Royal Road |  |  |  | 1361 | Elevator | AP2 |  | 2025-09-22 | 2025-11-25 | 2026-01-27
Saint Mary's Academy | 2025-08-23 | 2025-11-24 | 2026-10-26 | 166 | Elevator | AP3 |  |  | 2025-10-30 | 2025-12-19 |  |  |  | 2025-10-30 | 2025-10-31
Southern Victoria | 2025-07-29 | 2025-10-17 | 2026-09-08 | 256029 | Elevator | AP2 |  | 2025-09-24 | 2025-11-26 | 2026-01-29 |  |  |  | 2025-09-24 | 2025-09-24
Stanley Consolidated | 2025- | 2025-11-05 | 2026-05-26 | 1258 | Elevator | AP2 |  | 2025-09-29 | 2025-11-05 | 2026-01-15 |  | 2025-09-29 | 2025-11-05
Summerhill | 2025-07-29 | 2025-09-08 | 2026-09-12 | 85622 | Lift | AP3 |  |  | 2025-10-25 | 2025-12-04 |  | 2025-12-04 |  | 2025-06-06 | 2025-06-09
Sunbury West | 2025-04-28 | 2025-06-10 | 2026-06-27 | 863 | Lift | AP2 |  | 2025-09-11 | 2025-11-20 | 2026-01-28 |  | 2025-11-20 |  |  | 2025-05-14
Sunset Acres
Tobique Valley | 2025-11-04 | 2025- | 2026-12-07 | 1404 | Lift | AP2 |  | 2025-09-08 | 2025-11-19 | 2026-01-20 |  |  |  | 2026-01-20
Tobique Valley | 2025-10-08 | 2025-12-09 | 2026-12-07 | 1405 | Lift | AP2 |  | 2025-09-08 | 2025-11-19 | 2026-01-20 |  |  |  | 2025-11-19 | 2025-11-19
Townsview | 2025-05-19 | 2025-07-18 | 2026-07-18 | 324949 | Elevator | AP3 |  |  | 2025-10-28 | 2025-12-18 | 2026-02-24 | 2025-12-18 |  | 2025-06-16 | 2025-07-16
Woodstock High | 2025-08-29 | 2025-11-13 | 2026-10-28 | 25 | Lift | AP3 |  |  | 2025-10-22 | 2025-12-17 | 2026-02-24 |  |  | 2025-10-22 | 2025-10-22
Notes: | [6 empty] | Repairs:
[7 empty] | Spreadsheet: | Y:\Facilities\Buildings\Inspections & Reports\Elevators\Elevator Condition & Maintenance Reports - Elevator Repairs
No inspections done in July and August.
Main issues with Kone is the Semi-Annual, Annual, Condition Reports, and Permits
Red, bold font is for expired permits. It is conditional formatting based on the expiry date so if the date is AFTER the current day the formatting will return to normal

## Backflow
Backflow Prevention Devices Requiring Inspection
ED. Centre | SCHOOL | LOCATION | TYPE | DEVICE NO. | SERIAL NO. | INSPECTION DATE | EXPERATION DATE | INSPECTED BY | Maintenance or Troy Life
WEC | ANDOVER ELEMENTARY | SPRINKLER ROOM | DCVA | 8930 | K1-1034 | 2025-07-10 | 2026-07-10 | Darryl Shirley | Troy Life
WEC | ANDOVER ELEMENTARY | BEHIND GYM | RPP | 8550 | 139531
WEC | ANDOVER ELEMENTARY | JANITOR ROOM | RPP | 8552 | 348250
WEC | ANDOVER ELEMENTARY | MECH ROOM UPSTAIRS | RPP | 8549 | 348253
WEC | ANDOVER ELEMENTARY | JANITOR ROOM | RPP | 8551 | 348256
WEC | ANDOVER ELEMENTARY |  | RPP | 333995 | 414474
OEC | ASSINIBOINE AVE | WATER FEED TO BOILER | DCVA | 10597 | 289672
OEC | ASSINIBOINE AVE | WATER MAIN BOILER ROOM | DCVA | 6629 | 44653
OEC | BARKERS POINT | New Boiler Room | Cast Iron Sectional - Hot Water | 23219 | 4046
OEC | BARKERS POINT | New Boiler Room | Hot Water Tank Over 42 | 23220 | 295062Y3 | 2025-04-06 | 2026-04-05 | Jason Paquin | Troy Life
OEC | BARKERS POINT | Second level Mechanical Room/Humidifier | RPP | 4020399T | PH415 | 2025-02-20 | 2026-02-20 | Paul Dykeman
OEC | BARKERS POINT | Upper Level Mechanical Room/Humidifer | RPP | 4020399T | PB414 | 2025-02-20 | 2026-02-20 | Paul Dykeman
OEC | BARKERS POINT | Boiler room | AMES | 2000 SS | 126159 | 2025-06-04 | 2026-06-04 | Roy Barton | Troy Life
OEC | BARKERS POINT | Boiler room/WATER MAIN | DCVA | 4010899T | MK057 | 2025-02-20 | 2026-02-20 | Paul Dykeman
OEC | BARKERS POINT | BOILER ROOM/BOILER FEED | RPP | 4020399T | PH408 | 2025-02-20 | 2026-02-20 | Paul Dykeman
OEC | BARKERS POINT | Custodial Room D27/Gym water main | DCVA | 7 | 249613 | 2025-02-20 | 2026-02-20 | Paul Dykeman
WEC | BATH COMMUNITY | WATER SUPPLY BOILER ROOM | RPP | 8275 | 291656
WEC | BATH ELEMENTARY | WATER SUPPLY BOILER ROOM | RPP | 8276 | 295833
FEC | BLISS CARMEN | Boiler Room | Cast Iron Sectional - Hot Water | PVX105338 | 7133839800260100
FEC | BLISS CARMEN | Boiler Room | Cast Iron Sectional - Hot Water | PVX105337 | 7142361700131
FEC | BLISS CARMEN | Air Seperator | Pressure Vessel Upto 42 | PVX105339 | 117094 | 2025-04-04 | 2026-04-04 | Jason Paquin | Troy Life
FEC | BLISS CARMEN | Boiler Room Expansion Tank | Hydro Pneumatic Tank | PVX105340 | 183198 | 2025-04-04 | 2026-04-04 | Jason Paquin | Troy Life
FEC | BLISS CARMEN | Custodial Room 215/Cold Supply | RPP | 975X6 | W356075 | 2026-02-06 | 2027-02-06 | Paul Dykeman
FEC | BLISS CARMEN | Custodal Room 215/Hot Supply | RPP | 975X6 | W358090 | 2026-02-06 | 2027-02-06 | Paul Dykeman
FEC | BLISS CARMEN | Custodial Room 113/ Hot Supply | RPP | 975X6 | W358097 | 2026-02-06 | 2027-02-06 | Paul Dykeman
FEC | BLISS CARMEN | Custodial Room 113/Cold Supply | RPP | 975X6 | W357968 | 2025-01-15 | 2026-01-15 | Paul Dykeman
FEC | BLISS CARMEN | Custodial Room 108/ Hot Supply | RPP | 975X6 | W358099 | 2026-02-06 | 2027-02-06 | Paul Dykeman
FEC | BLISS CARMEN | Custodial Room 108/ Cold Supply | RPP | 975X6 | W357973 | 2026-02-06 | 2027-02-06 | Paul Dykeman
FEC | BLISS CARMEN | Custodial Room 143/Hot Supply | RPP | 975X6 | W348037
FEC | BLISS CARMEN | Custodial Room 143/Cold Supply | RPP | 975X6 | W356053 | 2026-02-06 | 2027-02-06 | Paul Dykeman
FEC | BLISS CARMEN | Custodial Room 143 | RPP | 975XL | W358637 | 2026-02-06 | 2027-02-06 | Paul Dykeman
FEC | BLISS CARMEN | Kitchen/Dishwasher | PVB | 800M4QT | 306232 | 2026-02-05 | 2027-02-05 | Paul Dykeman
FEC | BLISS CARMEN | Custodial Room 153/Cold Supply | RPP | 975X6 | W358096 | 2026-02-05 | 2027-02-05 | Paul Dykeman
FEC | BLISS CARMEN | Boiler Room/Boiler Feed | RPP | 375 | 2676416 | 2026-02-05 | 2027-02-05 | Paul Dykeman
FEC | BLISS CARMEN | Second Floor Mechanical Room/Humidifier | RPP | 975X6 | W291367 | 2026-02-05 | 2027-02-05 | Paul Dykeman
FEC | BLISS CARMEN | Custodial Room 153/Hot Supply | RPP | 975X6 | W358093 | 2026-02-05 | 2027-02-05 | Paul Dykeman
FEC | BLISS CARMEN | Custodial Room 147B/HOT SUPPLY | RPP | 975XL | W358089 | 2026-02-05 | 2027-02-05 | Paul Dykeman
FEC | BLISS CARMEN | Custodial Room 147B/COLD SUPPLY | RPP | 975XL | W356103 | 2026-02-05 | 2027-02-05 | Paul Dykeman
FEC | BLISS CARMEN | Custodial Room 209/COLD SUPPLY | RPP | 975XL | W358094 | 2026-02-06 | 2027-02-06 | Paul Dykeman
FEC | BLISS CARMEN | Custodial Room 209/HOT SUPPLY | RPP | 975XL | W358095 | 2026-02-06 | 2027-02-06 | Paul Dykeman
FEC | BLISS CARMEN | SPRINKLER ROOMWATER MAIN | DCVA | 950XLT | 3048938 | 2026-02-05 | 2027-02-05 | Paul Dykeman
FEC | BLISS CARMEN | SPRINKLER ROOMWATER MAIN | DCVA | 950XLT | 3048940 | 2026-02-05 | 2027-02-05 | Paul Dykeman
FEC | BLISS CARMEN | SPRINKLER ROOM |  | 757 | IF1091 | 2025-06-05 | 2026-06-05 | Roy Barton | Troy Life
WEC | BRISTOL ELEMENTARY | WATER SUPPLY BOILER ROOM | RPP | 315407 | 411439
OEC | BURTON | Boiler Room | RPP |  | AJAU8799
WEC | CANTERBURY | WATER SUPPLY BOILER ROOM | RPP | 3373957 | 174369
WEC | CARLETON NORTH | MECHANICAL ROOM | RPP | 7098 | A90888
FEC | CENTRAL NEW BRUNSWICK | Automotive Shop - Small Room - Air Compressor | Air Tank Mounted | PVH161177 | 393563 | 2024-04-09 | 2026-04-09 | Jason Paquin | Troy Life
FEC | CENTRAL NEW BRUNSWICK | Boiler Room - Air Separator | Pressure Vessel Upto 42 | PVS103957 | 193877 | 2024-04-09 | 2026-04-09 | Jason Paquin | Troy Life
FEC | CENTRAL NEW BRUNSWICK | Boiler Room - Expantion Tank | Pressure Vessel Upto 43 | PVS103958 |  | 2024-04-09 | 2026-04-09 | Jason Paquin | Troy Life
FEC | CENTRAL NEW BRUNSWICK | Boiler Room - Air Compressor | Air Tank Mounted | PVH161176 | 272581 | 2024-04-09 | 2026-04-09 | Jason Paquin | Troy Life
FEC | CENTRAL NEW BRUNSWICK | BOILER FEED -MECH ROOM | RPP | 7562 | B32857
FEC | CENTRAL NEW BRUNSWICK | FEED TO FIRE TANK | RPP | 7561 | B32863
FEC | CENTRAL NEW BRUNSWICK | WALL BETWEEN 2 LAB | RPP | 7565 | A58214
WEC | CENTREVILLE | Air Handler Room | RPP | 10889 | 425614 | 2025-11-21 | 2026-11-21 | Tim Broad
OEC | CHIPMAN ELEMENTARY | BOILER ROOM | RPP | 8075 | 270833
OEC | CHIPMAN ELEMENTARY | BOILER ROOM | Cast Iron Sectional - Hot Water | BOS104071 | 67107
OEC | CHIPMAN ELEMENTARY | BOILER ROOM | Pressure Vessel Upto 42 | PV81039 | 51525 | 2024-04-09 | 2026-04-09 | Jason Paquin | Troy Life
OEC | CHIPMAN FOREST AVENUE | SPRINKLER ROOM | Hydro Pneumatic Tank | PV61674 | U2601 | 2024-04-09 | 2026-04-09 | Jason Paquin | Troy Life
OEC | CHIPMAN FOREST AVENUE | MECHANICAL ROOM SPRINKLER | Hydro Pneumatic Tank | PV61673 | U2600 | 2024-04-09 | 2026-04-09 | Jason Paquin | Troy Life
OEC | CHIPMAN FOREST AVENUE | MECHANICAL ROOM | Electric Boiler - Hot Water | BO61677 | 23817 | 2024-04-09 | 2026-04-09 | Jason Paquin | Troy Life
OEC | CHIPMAN FOREST AVENUE | MECHANICAL ROOM | Air Tank Mounted | pv61676 | 5.8445 | 2024-04-09 | 2026-04-09 | Jason Paquin | Troy Life
OEC | CHIPMAN FOREST AVENUE | MECHANICAL ROOM | Air Tank Mounted | PV61675 | 585584 | 2024-04-09 | 2026-04-09 | Jason Paquin | Troy Life
OEC | CHIPMAN FOREST AVENUE | MECHANICAL ROOM UPSTAIRS HUMIDIFIER |  |  | 261914
OEC | CHIPMAN FOREST AVENUE | PENTHOUSE HUMIDIFIER |  |  | 261916
OEC | CHIPMAN FOREST AVENUE | TANK ROOM |  | 007M1QT | A04871 | 2025-07-01 | 2026-07-01 | Roy Barton | Troy Life
FEC | CONNAUGHT | Boiler Room | Horizontal Return Tube - Hot Water | PVH161146 | 7745189900064
FEC | CONNAUGHT | Boiler Room Expansion Tank | Hydro Pneumatic Tank | PVH161147 | 1019025001 | 2024-04-04 | 2026-04-04 | Jason Paquin | Troy Life
FEC | CONNAUGHT | Boiler Room Air Seperator | Pressure Vessel Upto 42 | PVH161150 | 301427 | 2024-04-04 | 2026-04-04 | Jason Paquin | Troy Life
FEC | CONNAUGHT | BOILER ROOM/WATER MAIN | DCVA | 7 | 1274481 | 2025-02-16 | 2026-02-26 | Paul Dykeman
FEC | CONNAUGHT | CAFETERIA/DISHWASHER | PVB | 460XL | 438656 | 2025-02-26 | 2026-02-26 | Paul Dykeman
FEC | CONNAUGHT | CAFETERIA/DISHWASHER | PVB | 460XL | 438649 | 2025-02-26 | 2026-02-26 | Paul Dykeman
FEC | CONNAUGHT | Cafeteria/TRAP PRIMERS | PVB | 460XL | 427054 | 2025-02-26 | 2026-02-26 | Paul Dykeman
FEC | CONNAUGHT | CUSTODIAL CLOSET ROOM 37/TRAP PRIMERS | PVB | 460XL | 427053 | 2025-02-26 | 2026-02-26 | Paul Dykeman
FEC | CONNAUGHT | Penthouse Mechanical Room/HUMIDIFIER | RPP | RPLFUA | 831874 | 2025-02-26 | 2026-02-26 | Paul Dykeman
FEC | CONNAUGHT | Penthouse Mechanical Room/TRAP PRIMERS | PVB | 460XL | 427057 | 2025-02-26 | 2026-02-26 | Paul Dykeman
FEC | CONNAUGHT | Sprinkler Room | DCVA | 350XL | AKG8762 | 2025-02-27 | 2026-02-27 | Paul Dykeman
FEC | CONNAUGHT | Sprinkler Room | DCVA | 7 | 70012 | 2025-02-27 | 2026-02-27 | Paul Dykeman
| CONNAUGHT | Closet in Classroom 5 |  | 757 | S1-0081 | 2025-07-16 | 2026-07-16 | Roy Barton | Troy Life
OEC | CUFFMAN |  |  |  | 434330
OEC | CUFFMAN |  |  |  | 369762
OEC | CUFFMAN |  |  |  | 413367
OEC | CUFFMAN |  |  |  | 413368
OEC | CUFFMAN |  |  |  | 413369
OEC | CUFFMAN |  |  |  | 413371
OEC | CUFFMAN |  |  |  | 413372
OEC | CUFFMAN |  |  |  | 413377
OEC | CUFFMAN |  |  |  | 413378
OEC | CUFFMAN |  |  |  | 413381
OEC | CUFFMAN |  |  |  | 413450
OEC | CUFFMAN |  |  |  | 413455
OEC | CUFFMAN |  |  |  | 413998
OEC | CUFFMAN |  |  |  | 414344
OEC | CUFFMAN |  |  |  | XF2550
OEC | CUFFMAN |  |  |  | 42615
OEC | CUFFMAN |  |  |  | XF2568
OEC | DEVON | . | Cast Iron Sectional - Hot Water | BOS104012 | A8553933903079
OEC | DEVON | Boiler Room - Fire Compressor | Air Tank Mounted | PVS104011 | NB1554890 | 2024-04-09 | 2026-04-09 | Jason Paquin | Troy Life
OEC | DEVON | Boiler Room - Under Stiars Air Compressor | Air Tank Mounted | PVN165038 | 1663010 | 2024-04-09 | 2026-04-09 | Jason Paquin | Troy Life
OEC | DEVON | Tunnel | RPP | 909 | 92867 | 2025-02-24 | 2026-02-24 | Paul Dykeman
OEC | DEVON | Boiler Room | RPP | 909 | 199587 | 2025-02-24 | 2026-02-24 | Paul Dykeman
OEC | DEVON | SCHOOL STREET TUNNEL |  | 774 | 1-05600-0602 | 2025-06-27 | 2026-06-27 | Roy Barton | Troy Life
FEC | DOAKTOWN | ELECTRICAL ROOM | RPP | 3600 | 281854
FEC | DOAKTOWN | JANITOR ROOM | RPP | 8395 | 345266
FEC | DOAKTOWN | BOILER ROOM | Cast Iron Sectional - Hot Water | PVP98288 | A8544961103…34
FEC | DOAKTOWN | ELECTRICAL ROOM | DCVA | 3599 | A05080
FEC | DOAKTOWN | GLYCOL MACHINE BOILER ROOM | RPP | 8397 | 335137
FEC | DOAKTOWN | JANITOR ROOM | RPP | 8396 | A69497
FEC | DOAKTOWN | JANITOR ROOM | RPP | 8394 | 73333
FEC | DOAKTOWN | JANITOR ROOM | RPP | 8393 | A69490
WEC | FLORENCEVILLE MIDDLE | BOILER ROOM | RPP | 1767 | 119150
| FLORENCEVILLE MIDDLE | BOILER ROOM |  |  | B24106 | 2025-11-04 | 2026-11-04 | Jordan Mean
WEC | FLORENCEVILLE MIDDLE | BOILER ROOM | RPP | 2312 | 174046 | 2025-11-04 | 2026-11-04 | Jordan Mean
FEC | FOREST HILL | BOILER ROOM | Cast Iron Sectional - Hot Water | BOS103977 | 9350307000027
FEC | FOREST HILL | BOILER ROOM | Air Tank Mounted | PVH161269 | A17060988 | 2024-04-04 | 2026-04-04 | Jason Paquin | Troy Life
FEC | FOREST HILL | BOILER ROOM | DCVA | 7 | 272200 | 2025-02-27 | 2026-02-24 | Paul Dykeman
FEC | FOREST HILL | BOILER ROOM | RPP | 9 | A38495 | 2025-02-27 | 2026-02-27 | Paul Dykeman
FEC | FOREST HILL | Equipment Room | DCVA | 7 | 260222 | 2025-02-28 | 2026-02-28 | Paul Dykeman
FEC | FREDERICTON HIGH | C Block Penthouse/Hunidifier Feed | RPP | 9 | 243814
FEC | FREDERICTON HIGH | Boiler Room/Boiler Feed | RPP | 9 | 38495
FEC | FREDERICTON HIGH | Equipment Room off Gym/ Water Main | DCVA | 7
FEC | FREDERICTON HIGH | Storage Room B/Water Main | DCVA | 7 | 272884
FEC | FREDERICTON HIGH | York St. Entrance/Water Main | DCVA | 7 | 272194
FEC | FREDERICTON HIGH | Boiler Room/water Main | DCVA | 7 | 267503
FEC | FREDERICTON HIGH | Sprinkler Room in Auto Shop |  | 870V | 11221349 | 2025-08-27 | 2026-08-27 | Roy Barton | Troy Life
FEC | FREDERICTON HIGH | Custodial Closet Room E128 |  | 975XL | W341485XLTCU | 2025-08-27 | 2026-08-27 | Roy Barton | Troy Life
FEC | FREDERICTON HIGH | Staff Wellness Room D 112 |  | 375 A | X14240 | 2025-08-27 | 2026-08-27 | Roy Barton | Troy Life
FEC | FREDERICTON HIGH | Cafeteria Storage Room |  | 975XL | W341496XLTCU | 2025-08-27 | 2026-08-27 | Roy Barton | Troy Life
FEC | FREDERICTON HIGH | Custodial Closet C136 |  | 975XL | 2876128XLTCU | 2025-08-27 | 2026-08-27 | Roy Barton | Troy Life
FEC | FREDERICTON HIGH | ROOM E136 |  | RP4A | 797332 | 2025-04-08 | 2026-04-08 | Greg Hallet
FEC | FREDERICTON HIGH | ROOM F113 |  | RP4A | 810369 | 2025-04-17 | 2026-04-17 | Greg Hallet
FEC | FREDERICTON HIGH | PENTHOUSE B WING |  | RPLF4A | 873154 | 2025-04-17 | 2026-04-17 | Greg Hallet
FEC | FREDERICTON HIGH | PENTHOUSE D WING |  | RPLF4A | 922780 | 2025-04-17 | 2026-04-17 | Greg Hallet
FEC | FREDERICTON HIGH | COOLING TOWER |  |  | 922993 | Temp. out of service
FEC | FREDERICTON HIGH | SPRINKER ROOM Main Office |  | 880V | 9910201159 | 2025-04-17 | 2026-04-17 | Greg Hallet
FEC | FREDERICTON HIGH | WASH STATION |  |  | 388779
FEC | FREDERICTON HIGH | Cafeteria WASH STATION |  | 460X6 | 388773 | 2025-04-17 | 2026-04-17 | Greg Hallet
FEC | FREDERICTON HIGH | WASH STATION |  | 460XL | 405148 | 2025-04-17 | 2026-04-17 | Greg Hallet
FEC | FREDERICTON HIGH | CHEF CAFÉ |  | 460 | 414366 | 2025-04-17 | 2026-04-17 | Greg Hallet
FEC | FREDERICTON HIGH | CHEF CAFÉ |  | 460 | 418862 | 2025-04-17 | 2026-04-17 | Greg Hallet
FEC | FREDERICTON HIGH | STORE ROOM #3 |  | 8 | 15156 | 2025-04-17 | 2026-04-17 | Greg Hallet
FEC | FREDERICTON HIGH | ROOM C60 |  | 8 | 12725 | 2025-04-17 | 2026-04-17 | Greg Hallet
FEC | FREDERICTON HIGH | MOP SINK |  |  | 109796
FEC | FREDERICTON HIGH | UPSTAIRS MECHANICAL ROOM |  | IF009 | 109814 | 2025-04-07 | 2026-04-07 | Greg Hallet
FEC | FREDERICTON HIGH | GYM CUSTODIAL CLOSET/MOP SINK |  | 9 | 709796 | 2025-04-17 | 2026-04-17 | Greg Hallet
FEC | FREDERICTON HIGH | GYM CUSTODIAL MOP SINK |  | 9 | 110044 | 2025-04-01 | 2026-04-01 | Greg Hallet
FEC | FREDERICTON HIGH | MECHANIC SHOP |  | LF800M | 31521 | 2025-04-17 | 2026-04-17 | Greg Hallet
FEC | FREDERICTON HIGH | ROOM A26 |  |  | 20203
FEC | FREDERICTON HIGH | CUSTODIAL ROOM |  | 008PCQT | 20205 | 2025-04-07 | 2026-04-07 | Greg Hallet
FEC | FREDERICTON HIGH | MOP SINK ROOM |  | 8 | 20206 | 2025-04-07 | 2026-04-07 | Greg Hallet
FEC | FREDERICTON HIGH | ROOM E128 |  | LF008 | 20378 | 2025-04-07 | 2026-04-07 | Greg Hallet
FEC | FREDERICTON HIGH | ROOM F105 |  | 9 | 176505 | 2025-04-17 | 2026-04-17 | Greg Hallet
FEC | FREDERICTON HIGH | ROOM C144 |  | 8 | 20738 | 2025-04-17 | 2026-04-17 | Greg Hallet
FEC | FREDERICTON HIGH | ROOM C103 |  | LF008 | 21825 | 2025-04-08 | 2026-04-08 | Greg Hallet
FEC | FREDERICTON HIGH | CAFETERIA |  | LF008 | 21829 | 2025-04-17 | 2026-04-17 | Greg Hallet
FEC | FREDERICTON HIGH | ROOM F104 |  | 8 | 21832 | 2025-04-17 | 2026-04-17 | Greg Hallet
FEC | FREDERICTON HIGH | ROOM E11 |  | LF008 | 22999 | 2025-04-01 | 2026-04-01 | Greg Hallet
FEC | FREDERICTON HIGH | CUSTODIAL CLOSET ROOM C027 |  |  | 23000 | 2025-04-07 | 2026-04-07 | Greg Hallet
FEC | FREDERICTON HIGH | ROOM C136 |  | LF008 | 23002 | 2025-04-08 | 2026-04-08 | Greg Hallet
FEC | FREDERICTON HIGH | ROOM D3 |  | 8 | 23011 | 2025-04-17 | 2026-04-17 | Greg Hallet
FEC | FREDERICTON HIGH | BESIDE MAIN OFFICE |  | LF008 | 23013 | 2025-04-07 | 2026-04-07 | Greg Hallet
FEC | FREDERICTON HIGH | ROOM C51 |  | 8 | 23014 | 2025-04-17 | 2026-04-17 | Greg Hallet
OEC | GAGETOWN | BOILER ROOM | RPP | 10580 | SP161 Replaced
FEC | GAGETOWN | BOILER ROOM | RPP | 10580 | AJBA3634
OEC | GEARY | WATER MAIN BOILER ROOM | DCVA | 348556 | 125995 Replaced
OEC | GEARY | WATER MAIN BOILER ROOM | DCVA | 348556 | AKH6206 | 2025-03-04 | 2026-03-04 | Jeff Donahue
OEC | GEARY | KITCHEN BEHIND STEAM OVEN | PVB | 348566 | 380404 | 2025-03-04 | 2026-03-04 | Jeff Donahue
OEC | GEARY | MECHANICAL ROOM | RPP | 348696 | 429860 Replaced
OEC | GEARY | MECHANICAL ROOM Rm E 117 | RPP | 348696 | AJBE7929 | 2025-03-04 | 2026-03-04 | Jeff Donahue
OEC | GEARY | JANITOR ROOM | RPP | 348562 | 450016 Replaced
OEC | GEARY | JANITOR ROOM 2nd Floor Rm E209 | RPP | 348562 | AJUAU1130 | 2025-03-04 | 2026-03-04 | Jeff Donahue
OEC | GEARY | CUSTODIAL ROOM 2nd Floor Rm E209 | RPP |  | AJAY4626 | 2025-03-04 | 2026-03-04 | Jeff Donahue
OEC | GEARY | TRAP PRIMER/ WATER ENTRANCE | RPP | 348569 | 450020 Replaced
OEC | GEARY | TRAP PRIMER/ WATER ENTRANCE Rm E 107 | RPP | 348569 | AJAU0712 | 2025-03-04 | 2026-03-04 | Jeff Donahue
OEC | GEARY | PENTHOUSE MECHANICAL | RPP | 348568 | 450021
OEC | GEARY | STORAGE ROOM INTERCEPTOR | RPP | 348535 | 450169 Replaced
OEC | GEARY | STORAGE ROOM INTERCEPTOR Rm 123 | RPP | 348535 | AJU4963
OEC | GEARY | JANITOR ROOM | RPP | 348557 | 450173
OEC | GEARY | JANITOR ROOM | RPP | 348539 | 450174
OEC | GEARY | BOILER ROOM | RPP | 348551 | 450175 Replaced
OEC | GEARY | BOILER ROOM | RPP | 348551 | AJAU0722 | 2024-03-04 | 2026-04-03 | Jeff Donahue
OEC | GEARY | JANITOR ROOM | RPP | 348559 | 450177 Replaced
OEC | GEARY | JANITOR ROOM by Kitchen Rm E122 | RPP | 348559 | AJAU0711 | 2024-03-04 | 2026-04-03 | Jeff Donahue
OEC | GEARY | STORAGE ROOM INTERCEPTOR | RPP | 348540 | 450178 Replaced
OEC | GEARY | STORAGE ROOM INTERCEPTOR Rm E123 | RPP | 348540 | AJBA3678 | 2024-03-04 | 2026-04-03 | Jeff Donahue
OEC | GEARY | JANITOR ROOM | RPP | 348564 | 450609
FEC | GEORGE ST | Room 216 Above Ceiling/Lab hot water supply | RPP | 9 | 194418 | OUT OF SEVICE
FEC | GEORGE ST | Room 216 Above Cei8ling/Lab cold water | RPP | 9 | 174496 | OUT OF SEVICE
FEC | GEORGE ST | Annex Tunnel | DCVA | 7 | 234191 | 2025-02-26 | 2026-02-26 | Paul Dykeman
FEC | GEORGE ST | Gym Tunnel/Water Main | DCVA | 7 | 272879 | 2025-02-26 | 2026-02-26 | Paul Dykeman
FEC | GEORGE ST | Room 104/Water Main | DCVA | 7 | 272878 | 2025-02-26 | 2026-02-26 | Paul Dykeman
FEC | GEORGE ST | ROOM 105 CUSTODIAL |  | 774 | 105583 | 2025-08-26 | 2026-08-26 |  | Troy Life
OEC | GESNER | WATER FEED TO BOILER | DCVA | 3757 | 134165
OEC | GESNER | WATER MAIN BOILER ROOM | DCVA | 6628 | 44682 Replaced
OEC | GESNER | WATER MAIN BOILER ROOM Rm 105 | DCVA | 6628 | AKG8754
OEC | GESNER | KITCHEN / DISHWASHER | RPP | 429192 | 3638
OEC | GIBSON NEILL | Mechanical Room - Boiler #1 | Cast Iron Secitonal - Hot Water | BOS108859 | 7134284200038100
OEC | GIBSON NEILL | Mechanical Room - Boiler #2 | Cast Iron Secitonal - Hot Water | BOS109958 | 7134284100032100 | 2024-04-05 | 2026-04-05 | Jason Paquin | Troy Life
OEC | GIBSON NEILL | Boiler Room - Expansion Tank #2 | Pressure Vessel UPto42 | PVS104820 | 699771 | 2024-04-05 | 2026-04-05 | Jason Paquin | Troy Life
OEC | GIBSON NEILL | Boiler Room - Expansion Tank #1 | Pressure Vessel UPto43 | PVS104819 | 699772 | 2024-04-05 | 2026-04-05 | Jason Paquin | Troy Life
OEC | GIBSON NEILL | Mechanical Room 148/Humidifier | DCVA | 7 | 67405 | 2025-02-03 | 2026-02-03 | Greg Hallet
OEC | GIBSON NEILL | Mechanical Room 148/Trap Seal Primer | PVB | 460 | 349323 | 2025-02-03 | 2026-02-03 | Greg Hallet
OEC | GIBSON NEILL | Custodial Room 152/Trap Seal Primer | PVB | 460 | 349238 | 2025-03-10 | 2026-03-10 | Greg Hallet
OEC | GIBSON NEILL | Custodial Room 152/Cold Supply | RPP | 375 | A146256 | 2025-01-23 | 2026-01-23 | Greg Hallet
OEC | GIBSON NEILL | Custodian Room 152/Hot Supply | RPP | 375 | A149509 | 2025-01-23 | 2026-01-23 | Greg Hallet
OEC | GIBSON NEILL | Mechanical Room 127/Humidifier | DCVA | 7 | 71196 | 2025-01-23 | 2026-01-23 | Greg Hallet
OEC | GIBSON NEILL | Mechanical Room 127/Trap Seal Primer | PVB | 460 | 349286 | 2025-01-23 | 2026-01-23 | Greg Hallet
OEC | GIBSON NEILL | Work Room/Trap Seal Primer | PVB | 460 | 349289 | 2025-01-23 | 2026-01-23 | Greg Hallet
OEC | GIBSON NEILL | Custodial Closet 131/Trap Seal Primer | PVB | 460 | 349382 | 2025-03-10 | 2025-03-10 | Greg Hallet
OEC | GIBSON NEILL | Custodian Room 131/Cold Supply | RPP | 375 | A149506 | 2025-01-23 | 2026-01-23 | Greg Hallet
OEC | GIBSON NEILL | Custodial Room 131/Hot Supply | RPP | 375 | A149500 | 2025-01-23 | 2026-01-23 | Greg Hallet
OEC | GIBSON NEILL | Boys Washroom Room 113/Trap Seal Primer | PVB | 460 | 349316 | 2025-01-23 | 2026-01-23 | Greg Hallet
OEC | GIBSON NEILL | Custodial Room by Office/cold supply | RPP | 375 | A149531 | 2025-01-23 | 2026-01-23 | Greg Hallet
OEC | GIBSON NEILL | Custodial Closet by office/Hot Supply | RPP | 375 | A142991 | 2025-01-23 | 2026-01-23 | Greg Hallet
OEC | GIBSON NEILL | Kitchen/Trap Seal Primer | PVB | 460 | 349385 | 2025-01-23 | 2026-01-23 | Greg Hallet
OEC | GIBSON NEILL | Custodian Room off Kitchen/Cold Supply | RPP | 9 | 344692 | 2025-01-23 | 2026-01-23 | Greg Hallet
OEC | GIBSON NEILL | Custodian Roof Off Kitchen/Hot Supply | RPP | 9 | 335906 | 2025-01-23 | 2026-01-23 | Greg Hallet
OEC | GIBSON NEILL | Girls Washroom Roof 196/Trap Seal Primer | PVB | 460 | 349317 | 2025-01-23 | 2026-01-23 | Greg Hallet
| GIBSON NEILL | Room 178 |  |  | 349291 | 2025-03-10 | 2026-03-10 | Greg Hallet
OEC | GIBSON NEILL | Public Gym Washroom Room 216/Trap Seal Primer | PVB | 460 | 349296 | 2025-01-23 | 2026-01-23 | Greg Hallet
OEC | GIBSON NEILL | Room 230/Trap Seal Primer | PVB | 460 | 349283 | 2025-03-10 | 2026-03-10 | Greg Hallet
OEC | GIBSON NEILL | Room 230/Custodian Sink Hot Supply | RPP | 375 | A138319 | 2025-01-23 | 2026-01-23 | Greg Hallet
OEC | GIBSON NEILL | Custodial Room 230/Custodian Sink Cold Supply | RPP | 375 | 145717 | 2025-01-23 | 2026-01-23 | Greg Hallet
OEC | GIBSON NEILL | Shower Room 211/Trap Seal Primer | PVB | 460 | 349287 | 2025-01-23 | 2026-01-23 | Greg Hallet
OEC | GIBSON NEILL | Boiler Room/Trap Seal Primer | PVB | 460 | 349318 | 2025-03-10 | 2026-03-10 | Greg Hallet
OEC | GIBSON NEILL | Boiler Room/Water Main | RPP | 375 | A178232 | 2025-01-24 | 2026-01-24 | Greg Hallet
OEC | GIBSON NEILL | Boiler Room/Water Main | RPP | 375 | A189695 | 2025-01-24 | 2025-01-25 | Greg Hallet
OEC | GIBSON NEILL | Second Level Mechanical Room/Trap Seal Primer | PVB | 460 | 349301 | 2025-03-10 | 2026-03-10 | Greg Hallet
OEC | GIBSON NEILL | Second Level Mechanical Room/Trap Seal Primer | PVB | 460 | 349330 | 2025-01-23 | 2026-01-23 | Greg Hallet
OEC | GIBSON NEILL | Second Level Mechanical Room/Trap Seal Primer | PVB | 460 | 349329 | 2025-01-23 | 2026-01-23 | Greg Hallet
OEC | GIBSON NEILL | Second Level Mechanical Room/Humidifier | DCVA | 7 | 72895 | 2025-01-23 | 2026-01-23 | Greg Hallet
OEC | GIBSON NEILL | Second Level Mechanical Room/Humidifier | DCVA | 7 | 71192 | 2025-01-23 | 2026-01-23 | Greg Hallet
OEC | GIBSON NEILL | Second Level Mechanical Room/Humidifier | DCVA | 7 | 60274 | 2025-01-23 | 2026-01-23 | Greg Hallet
OEC | GIBSON NEILL | Custodial Closet 178 | RPP | 375 | A061895 | 2025-01-23 | 2026-01-23 | Greg Hallet
OEC | GIBSON NEILL | Custodial Closet 179 | RPP | 376 | 149536 | 2025-01-23 | 2026-01-23 | Greg Hallet
OEC | GIBSON NEILL | Mechanical Room C 174/humidifier | DCVA | 7 | 70652 | 2025-01-23 | 2026-01-23 | Greg Hallet
OEC | GIBSON NEILL | Mechanical Room C 174/humidifier | PVB | 460 | 349288 | 2025-01-23 | 2026-01-23 | Greg Hallet
OEC | GIBSON NEILL | SPRINKLER ROOM/BOILER RM |  | DC200 | L150508 | 2025-07-15 | 2026-07-15
OEC | HAROLD PETERSON | WATER MAIN CLOSET | DCVA | 6701 | 44686
OEC | HAROLD PETERSON | WATER FEED TO BOILER | RPP | 3758 | 5Z108
OEC | HAROLD PETERSON | SPRINKLER MAIN/Reception Closet | DCVA | 6702 | IJ1505 | 2025-06-24 | 2026-06-24 | Roy Barton | Troy Life
WEC | HARTLAND COMMUNITY | MECHANICAL ROOM ii | RPP | 4532 | AC177 | 2025-11-24 | 2026-11-24 | Jordan Mean
WEC | HARTLAND COMMUNITY | MECHANICAL ROOM DOWNSTAIRS | RPP | 4531 | AC184 | 2025-11-24 | 2026-11-24 | Jordan Mean
WEC | HARTLAND COMMUNITY | MECHANICAL ROOM #2 | RPP | 4530 | ACJ07 | 2025-11-24 | 2026-11-24 | Jordan Mean
WEC | HARTLAND COMMUNITY | LAB ROOM A210 | RPP | 4534 | AGE46
WEC | HARTLAND COMMUNITY | MECHANICAL ROOM WATER MAIN | DCVA | 4529 | NEG99 | 2025-11-24 | 2026-11-24 | Jordan Mean
WEC | HARTLAND COMMUNITY | LAB ROOM A210 | RPP | 4533 | UM346
WEC | HARTLAND COMMUNITY | SPRINKLER ROOM | DCVA | 5019 | 91200606
WEC | HARTLAND COMMUNITY | SPRINKLER ROOM |  | 757 | RC-1893 | 2025-07-17 | 2026-07-17 | Darryl Shirley | Troy Life
WEC | HARTLAND COMMUNITY | CAFETERIA |  |  | B285041 | 2025-11-24 | 2026-11-24 | Jordan Mean
WEC | HARTLAND COMMUNITY | CAFETERIA |  |  | B252189 | 2025-11-24 | 2026-11-24 | Jordan Mean
WEC | HARTLAND COMMUNITY | Mechanical Room |  |  | ACI71 | 2025-11-24 | 2026-11-24 | Jordan Mean
OEC | HARVEY ELEMENTARY | BOILER ROOM | RPP | 3598 | 281872
OEC | HARVEY HIGH | BOILER ROOM | RPP | 3601 | 219677
OEC | HARVEY HIGH | PUMP ROOM | DCVA | 5371 | 2595473
OEC | HARVEY HIGH | SPRINKLER ROOM ON TANK | DCVA | 7119 | 65341 | 2025-08-13 | 2026-08-13 | Roy Barton | Troy Life
FEC | HANWELL PARK | ON WATER ENTRANCE | LF009QT |  | 41719
FEC | HANWELL PARK | SCIENCE LAB 2ND FLOOR | LF009QT |  | 102315
FEC | HANWELL PARK | SCIENCE LAB 2ND FLOOR | LF009QT |  | 102325
FEC | HANWELL PARK | BOILER ROOM | LF009QT |  | 125166
FEC | HANWELL PARK | 1st FLOOR UNDER STAIRS BESIDE KITCHEN | LF009QT |  | 230718
FEC | HANWELL PARK | 1st FLOOR UNDER STAIRS BESIDE KITCHEN | LF009QT |  | 230719
FEC | HANWELL PARK | BOILER ROOM | LF009QT |  | 232701
FEC | HANWELL PARK | CUSTODIAL ROOM 1st FLOOR | LF009QT |  | 311434
FEC | HANWELL PARK | CUSTODIAL ROOM 1st FLOOR | LF009QT |  | 321772
FEC | HANWELL PARK | CUSTODIAL ROOM 2nd FLOOR WEST WING | LF009QT |  | 321773
FEC | HANWELL PARK | CUSTODIAL ROOM 1st FLOOR | LF009QT |  | 321774
FEC | HANWELL PARK | CUSTODIAL ROOM 3rd FLOOR COLD | LF009QT |  | 321775
FEC | HANWELL PARK | CUSTODIAL ROOM WEST WING | LF009QT |  | 321795
FEC | HANWELL PARK | CUSTODIAL ROOM 3rd FLOOR HOT | LF009QT |  | 321796
FEC | HANWELL PARK | CUSTODIAL ROOM 2nd FLOOR | LF009QT |  | 321797
FEC | HANWELL PARK | CUSTODIAL ROOM ACROSS KITCHEN | LF009QT |  | 321798
FEC | HANWELL PARK | CUSTODIAL ROOM 1st FLOOR | LF009QT |  | 321799
FEC | HANWELL PARK | CUSTODIAL ROOM ACROSS KITCHEN | LF009QT |  | 321800
FEC | HANWELL PARK | CUSTODIAL ROOM 1st FLOOR | LF009QT |  | 321801
FEC | HANWELL PARK | CUSTODIAL ROOM 2nd FLOOR | LF009QT |  | 321802
FEC | HANWELL PARK | CUSTODIAL ROOM 1st FLOOR | LF009QT |  | 321803
FEC | HANWELL PARK | CUSTODIAL ROOM OFF CAFETERIA |  |  | 321804 |  |  |  | Maintenance
FEC | HANWELL PARK | CUSTODIAL ROOM 1st FLOOR | LF009QT |  | 321805
FEC | HANWELL PARK | CUSTODIAL ROOM OFF CAFETERIA |  |  | 321807 |  |  |  | Maintenance
FEC | HANWELL PARK | MECHANICAL ROOM 3rd FLOOR | LF009QT |  | 325926
FEC | HANWELL PARK | GYM MECHANICAL ROOM | LF009QT |  | 325929
FEC | HANWELL PARK | AIR HANDLING ROOM 2nd FLOOR | LF009QT |  | 325930
FEC | HANWELL PARK | GYM MECHANICAL ROOM HUMIDIFIER | LF009QT |  | 325938
FEC | HANWELL PARK | CUSTODIAL ROOM 1st FLOOR | LF009QT |  | 334026
OEC | HUBBARD AVENUE | WATER FEED TO BOILER | RPP | 557 | 106802
OEC | HUBBARD AVENUE | WATER MAIN TO BOILER | DCVA | 6699 | 44667
OEC | HUBBARD AVENUE | SPRINKLER LINE BOILER ROOM | DCVA | 6700 | IK0471
OEC | HUBBARD AVENUE | BOILER ROOM | RPP |  | AJAX5628 | 2025-03-11 | 2026-03-11 | Jeff Donahue | Troy Life
FEC | KESWICK RIDGE | Boiler Room Expansion Tank | Pressure Vessel Upto 42 | PVS108861 | 250244 | 2024-04-05 | 2026-04-05 | Jason Paquin | Troy Life
FEC | KESWICK RIDGE |  | Cast Iron Sectional - Hot Water | BOS104014 | 33149
FEC | KESWICK VALLEY | SPRINKLER ROOM ABOVE TANKS | RPP | 4165 | 105565 | 2025-07-16 | 2026-07-16 | Roy Barton | Troy Life
FEC | KINGSCLEAR | Basement Boiler Room | Hydro Pneumatic Tank | PVX105390 | Y07796 | 2024-04-04 | 2026-04-04 | Jason Paquin | Troy Life
FEC | KINGSCLEAR | Basement Boiler Room | Cast Iron Sectional - Hot Water | PVX105389 | 7160534900030100
OEC | LEO HAYES | Cafeteria Ceiling - Hot -by cash |  | 7 | 134187 | 2025-07-16 | 2026-07-16 | Paul Dykeman
OEC | LEO HAYES | Cafeteria Ceiling - Cold -by cash |  | 350XL | AJAM9991 | 2025-07-16 | 2026-07-16 | Paul Dykeman
OEC | LEO HAYES | Cafeteria Ceiling - by steam table |  | 350XL | AJAG3458 | 2025-07-16 | 2026-07-16 | Paul Dykeman
OEC | LEO HAYES | Room D 118-1 |  | 825 | 9901291556 | 2025-07-16 | 2026-07-16 | Paul Dykeman
OEC | LEO HAYES | Penthouse |  | 350XL | AJAL5497 | 2025-07-16 | 2026-07-16 | Paul Dykeman
OEC | LEO HAYES | Penthouse #2 |  | 9 | 55169 | 2025-07-16 | 2026-07-16 | Paul Dykeman
OEC | LEO HAYES | Sprinkler Room |  | 860 | 9811181514 | 2025-07-16 | 2026-07-16 | Paul Dykeman
OEC | LINCOLN | Boiler Room | Bertical Boiler - Hot Water | BON165039 | 7499086200136
OEC | LINCOLN | Boiler Room |  |  | A200925
OEC | LINCOLN | Water line Main in Boiler Room | DCVA |  | A164333
OEC | LINCOLN | Boiler Room - Expansion Tank | Pressure Vessel Upto 42 | PVN165040 | 210858
OEC | LINCOLN | Boiler Room - Air Seperator | Pressure Vessel Upto 43 | PVN165041 | 719822
OEC | LINCOLN | KITCHEN - HOT | RPP | 303433 | A203021
OEC | LINCOLN | CUSTODIAL- COLD WATER | RPP | 303466 | A204568
OEC | LINCOLN | CUSTODIAL- COLD WATER Rm 182 | RPP |  | A23022
OEC | LINCOLN | CUSTODIAL- HOT WATER Rm 182 | RPP |  | A203020
OEC | LINCOLN | CUSTODIAL- COLD WATER Rm 132 | RPP |  | A211576
OEC | LINCOLN | CUSTODIAL- HOT WATER Rm 132 | RPP |  | A211841
OEC | LINCOLN | PENTHOUSE COLD WATER | RPP | 303480 | A191452
OEC | LINCOLN | MECHANICAL POTABLE WATER | RPP | 303475 | A200921 | 2025-06-23 | 2026-06-23 | Roy Barton | Troy Life
OEC | LINCOLN | DISHWASHER in KITCHEN RM 108 | RPP |  | A178492 | 2025-03-05 | 2026-03-05 | Jeff Donahue
FEC | LIVERPOOL STREET | Upper Level Mechanical Room/Humidifer | RPP | 9 | 102077
FEC | LIVERPOOL STREET | Room 142 | DCVA | 7 | 229475 | 2025-02-27 | 2026-02-27 | Paul Dykeman
FEC | LIVERPOOL STREET | Penthouse Mechanical Room | RPP | 9 | 162077 | 2025-02-27 | 2026-02-27 | Paul Dykeman
FEC | MCADAM AVENUE | Boiler Room/Boiler Feed | RPP | 9 | 157709
FEC | MCADAM ELEMENTARY | WATER ROOM | RPP | 345587 | 86761
FEC | MCADAM ELEMENTARY | BOILER ROOM | RPP | 3602 | 278909
FEC | MCADAM ELEMENTARY | BOILER ROOM / WATER MAIN | RPP | 345584 | 111600
FEC | MCADAM ELEMENTARY | BOILER ROOM/ ABOVE CEILING | RPP | 3603 | 290768
FEC | MCADAM HIGH
WEC | MEDUXNEKEAG | SUPPLY TRAP Rm 108 | PVB | 356144 | 378410 | 2025-11-05 | 2026-11-05 | Jordan Mean
WEC | MEDUXNEKEAG | SUPPLY TRAP ROOM A129 | PVB | 356150 | 384391 | 2025-11-05 | 2026-11-05 | Jordan Mean
WEC | MEDUXNEKEAG | PENTHOUSE SUPPLY TRAP | PVB | 356152 | 384401 | 2025-11-05 | 2026-11-05 | Jordan Mean
WEC | MEDUXNEKEAG | SPRINKLER MAIN SUPPLY | RPP | 356436 | 39832 | 2025-11-05 | 2026-11-05 | Jordan Mean
WEC | MEDUXNEKEAG | SPRINKLER ON WATER SUPPLY | RPP | 356167 | 39865 | 2025-11-05 | 2026-11-05 | Jordan Mean
WEC | MEDUXNEKEAG | HOT SUPPLY B104 | RPP | 356434 | 420249
WEC | MEDUXNEKEAG | HUMIDIFIER ROOM C108 | RPP | 356397 | 435424
WEC | MEDUXNEKEAG | JANITOR ROOM SINK | RPP | 356400 | 527408 | 2025-11-05 | 2026-11-05 | Jordan Mean
WEC | MEDUXNEKEAG | HOT SUPPLY ROOM B111 | RPP | 356418 | 527410 | 2025-11-05 | 2026-11-05 | Jordan Mean
WEC | MEDUXNEKEAG | COLD SUPPLY ROOM C204 | RPP | 356445 | 527413
WEC | MEDUXNEKEAG | HOT SUPPLY ROOM C104 | RPP | 356172 | 531160
WEC | MEDUXNEKEAG | COLD SUPPLY ROOM 234 | RPP | 356453 | 545888
WEC | MEDUXNEKEAG | JANITOR'S SINK KITCHEN | RPP | 356415 | 545893 | 2025-11-05 | 2026-11-05 | Jordan Mean
WEC | MEDUXNEKEAG | SINK ROOM B215 | RPP | 356455 | 545903 | 2025-11-05 | 2026-11-05 | Jordan Mean
WEC | MEDUXNEKEAG | JANITOR'S SINK KITCHEN | RPP | 356165 | 551163 | 2025-11-05 | 2026-11-05 | Jordan Mean
WEC | MEDUXNEKEAG | HOT SUPPLY ROOM C204 | RPP | 356471 | 551164
WEC | MEDUXNEKEAG | COLD SUPPLY ROOM B104 | RPP | 356431 | 551165
WEC | MEDUXNEKEAG | COLD SUPPLY JANITOR'S SINK | RPP | 356398 | 551170 | 2025-11-05 | 2026-11-05 | Jordan Mean
WEC | MEDUXNEKEAG | JANITOR'S SINK B215 | RPP | 356454 | 551171 | 2025-11-05 | 2026-11-05 | Jordan Mean
WEC | MEDUXNEKEAG | SUPPLY TO HUMIDIFIER ROOM | RPP | 356437 | 551172 | 2025-11-05 | 2026-11-05 | Jordan Mean
WEC | MEDUXNEKEAG | COLD SUPPLY ROOM B111 | RPP | 356426 | 551173 | 2025-11-05 | 2026-11-05 | Jordan Mean
WEC | MEDUXNEKEAG | HOT SUPPLY ROOM 234 | RPP | 356446 | 551208
WEC | MEDUXNEKEAG | COLD SUPPLY ROOM C104 | RPP | 356171 | 551210
WEC | MEDUXNEKEAG | SUPPLY TRAP ROOM C108 | PVB | 356009 | 381146
WEC | MEDUXNEKEAG | SPRINKLER ROOM | PVB | 356005 | 384366 | 2025-11-05 | 2026-11-05 | Jordan Mean
WEC | MEDUXNEKEAG | SUPPLY TO TRAP | PVB | 355998 | 384369 | 2025-11-05 | 2026-11-05 | Jordan Mean
WEC | MEDUXNEKEAG | SUPPLY TO TRAP 1ST FLOOR | PVB | 356004 | 384373 | 2025-11-05 | 2026-11-05 | Jordan Mean
WEC | MEDUXNEKEAG | HUMIDIFER IN PENTHOUSE | RPP | 356476 | 453598 | 2025-11-05 | 2026-11-05 | Jordan Mean
WEC | MEDUXNEKEAG | SCIENCE LAB | RPP | 356478 | 514927 | 2025-11-05 | 2026-11-05 | Jordan Mean
WEC | MEDUXNEKEAG | SCIENCE LAB | RPP | 356477 | 515290 | 2025-11-05 | 2026-11-05 | Jordan Mean
WEC | MEDUXNEKEAG | SUPPLY TO PENTHOUSE | RPP | 356482 | 515504
WEC | MEDUXNEKEAG | SUPPLY TO HUMIDIFIER PENTHOUSE | RPP | 356474 | 527416
WEC | MEDUXNEKEAG | SUPPLY TO HUMIDIFIER PENTHOUSE | RPP | 356473 | 551201 | 2025-11-05 | 2026-11-05 | Jordan Mean
WEC | MEDUXNEKEAG | TRAP PRIMER / BOILER ROOM | PVB | 356157 | 384364
WEC | MEDUXNEKEAG | BOILER MAKE UP | RPP | 356168 | 515512
WEC | MEDUXNEKEAG | JANITOR'S SINK ROOM A129 | RPP | 356457 | 527386 | 2025-11-05 | 2026-11-05 | Jordan Mean
WEC | MEDUXNEKEAG | JANITOR'S SINK ROOM A129 | RPP | 356757 | 551199 | 2025-11-05 | 2026-11-05 | Jordan Mean
WEC | MEDUXNEKEAG | B104 |  |  | 51403 | 2025-11-05 | 2026-11-05 | Jordan Mean
WEC | MEDUXNEKEAG | D202 |  |  | AJB57433 | 2025-11-05 | 2026-11-05 | Jordan Mean
WEC | MEDUXNEKEAG | D202 |  |  | B241945 | 2025-11-05 | 2026-11-05 | Jordan Mean
WEC | MEDUXNEKEAG | SUPPLY DISH KITCHEN | PVB | 356138 | 380924
WEC | MEDUXNEKEAG | Pump Room | Watts | 774 | 1141940614 | 2025-07-29 | 2026-07-29 | Roy Barton | Troy Life
OEC | MINTO ELEM-MIDDLE | Mechanical Room | Electric Boiler - Hot Water | BO60937 | H21534 | 2024-04-09 | 2026-04-09 | Jason Paquin | Troy Life
OEC | MINTO ELEM-MIDDLE | Mechanical Room | Electric Boiler - Hot Water | BO60938 | H21535 | 2024-04-09 | 2026-04-09 | Jason Paquin | Troy Life
OEC | MINTO ELEM-MIDDLE | Mechanical Room (Air Separator) | Pessure Vessel Upto 42 | PV60939 | 112071 | 2024-04-09 | 2026-04-09 | Jason Paquin | Troy Life
OEC | MINTO ELEM-MIDDLE | Fire Protection Room | Hydro Pneumatic Tank | PV60931 | U-2240 | 2024-09-04 | 2026-04-09 | Jason Paquin | Troy Life
OEC | MINTO ELEM-MIDDLE | Fire Protection Room | Hydro Pneumatic Tank | PV60932 | U-2241 | 2024-04-09 | 2024-04-09 | Jason Paquin | Troy Life
OEC | MINTO ELEM-MIDDLE | Tank RoomSprinkler Room |  | 55990 | 4010772 | 2025-07-01 | 2026-07-01 | Roy Barton | Troy Life
OEC | MINTO HIGH | MECHANICAL ROOM BASEMENT | RPP | 1976 | OP401
OEC | MINTO HIGH | PUMP ROOM | DCVA | 2528 | SS990
OEC | MINTO HIGH | MOP ROOM | RPP | 8049 | 368105
OEC | MINTO HIGH | Automotive Shop - Small Room | Air Tank Mounted | PVS108892 | 646139 | 2024-04-09 | 2026-04-09 | Jason Paquin | Troy Life
OEC | MINTO HIGH | Automotive Shop - Custodial Sink |  |  | AJAL4567
OEC | MINTO HIGH | MECHANICAL ROOM 2nd Floor | RPP | 3199 | SF352 | 2025-03-07 | 2026-03-07 | Jeff Donahue
OEC | MINTO HIGH | MECHANICAL ROOM 1 | RPP | 3200 | TC448 Replaced
OEC | MINTO HIGH | MECHANICAL ROOM 2 | RPP | 3200 | AJAY4629 | 2025-03-07 | 2026-03-07 | Jeff Donahue
FEC | MONTGOMERY STREET |  | Cast Iron Sectional - Hot Water | BOS104043 | 307000024
FEC | MONTGOMERY STREET | Boiler Room/water Main | DCVA | 7 | 260220 | 2025-02-20 | 2026-02-20 | Paul Dykeman
FEC | MONTGOMERY STREET | Boiler Room/Boiler Feed | RPP | 9 | 162068 | 2025-02-20 | 2026-02-20 | Paul Dykeman
FEC | NACKAWIC HIGH | BOILER ROOM BEHIND MUSIC ROOM |  | 350A | 456478 | 2025-08-13 | 2026-08-13 | Roy Barton | Troy Life
FEC | NASHWAAK VALLEY | MECHANICAL ROOM UPSTAIRS | RPP | 3604 | 273937
FEC | NASHWAAKSIS MEMORIAL | Boiler Room/water Main | DCVA | 7 | 267389 | 2025-02-24 | 2026-02-24 | Paul Dykeman
FEC | NASHWAAKSIS MEMORIAL
OEC | NASHWAAKSIS MIDDLE | PENTHOUSE MECHANICAL ROOM | RPP | 9 | 151607 | 2025-02-24 | 2026-02-24 | Paul Dykeman
OEC | NASHWAAKSIS MIDDLE | Boiler Room/Boiler Feed | RPP | 9 | 65346 REPLACED
OEC | NASHWAAKSIS MIDDLE | Boiler Room/Boiler Feed | RPP | 9\009 | 316324 | 2025-02-24 | 2026-02-24 | Paul Dykeman
FEC | NASHWAAKSIS MIDDLE | Boiler Room/water Main | DCVA | 7 | 114623 | 2025-02-24 | 2026-02-24 | Paul Dykeman
FEC | NEW MARYLAND | WATER MAIN TANK ROOM | DCVA | 1890 | 117129
FEC | NEW MARYLAND | SPRINKLER ROOM | DCVA | 1785 | 1392 | 2025-07-24 | 2026-07-24
FEC | NEW MARYLAND | SPRINKLER ROOM |  | 770 | Q1392
OEC | OROMOCTO HIGH | MECHANICAL ROOM 155 | RPP | 1383 | LY363 Replaced
OEC | OROMOCTO HIGH | MECHANICAL ROOM 155 | RPP | 1383 | AJBA3774
OEC | OROMOCTO HIGH | HUMIDIFIER ROOM 194 | RPP | 2966 | PB380 Replaced
OEC | OROMOCTO HIGH | HUMIDIFIER ROOM 194 | RPP | 2966 | AJBS3771
OEC | OROMOCTO HIGH | BOILER ROOM SPRINKLER | DCVA | 2315 | 326553 | 2025-08-19 | 2026-08-19 | Roy Barton | Troy Life
OEC | OROMOCTO HIGH | BOILER ROOM WATER SOFTENER |  |  | A845523
FEC | PARK STREET | Boiler Room - Boiler #2 | Scotch Dry Back - Hot Water |  | 101473
FEC | PARK STREET | Boiler Room - Boiler #1 | Scotch Dry Back - Hot Water |  | 101472
FEC | PARK STREET | Boiler Room - Left Side | Hydro Pneumatic Tank |  | 404071 | 2024-04-09 | 2026-04-09 | Jason Paquin | Troy Life
FEC | PARK STREET | Boiler Room - Right Side | Hydro Pneumatic Tank |  | B14909 | 2024-04-09 | 2026-04-09 | Jason Paquin | Troy Life
FEC | PARK STREET | Boiler Room - Air Seperator #1 | Pressure Vessel UPto42 | PVN165036 | 304056 | 2024-04-09 | 2026-04-09 | Jason Paquin | Troy Life
FEC | PARK STREET | Boiler Room - Air Seperator #2 | Pressure Vessel UPto43 | PVN165037 | 304078 | 2024-04-09 | 2026-04-09 | Jason Paquin | Troy Life
FEC | PARK STREET | Sprinkler Room |  | 774 | 2950 | 2025-07-07 | 2026-07-07
FEC | PARK STREET | Boiler Room/Humidifier Feed | RPP | 9 | 160260 | 2025-02-25 | 2026-02-25 | Paul Dykeman
FEC | PARK STREET | Boiler Room/Boiler Feed | RPP | 9 | 84792 | 2025-02-25 | 2026-02-25 | Paul Dykeman
FEC | PARK STREET | SPRINKLER ROOM | DCVA | 7 | 108406 | 2025-02-25 | 2026-02-25 | Paul Dykeman
WEC | PERTH-ANDOVER | ROOM 154 DOMESTIC HOT WATER | RPP | 2851 | 30701
WEC | PERTH-ANDOVER | ROOM 111 BACK OF WATER MAIN | DCVA | 3055 | 8433
WEC | PERTH-ANDOVER | ROOM 154 HUMIDIFIER | RPP | 3053 | 238943
WEC | PERTH-ANDOVER | ROOM 154 DOEMSTIC COLD | RPP | 3056 | 25293
WEC | PERTH-ANDOVER | MECHANICAL ROOM SPRINKLER | DCVA | 3182 | 1890 | 2025-07-14 | 2026-07-14 | Darryl Shirley | Troy Life
WEC | PERTH-ANDOVER | MECHANICAL ROOM 111 | RPP | 3057 | 162482
FEC | PRIESTMAN | YORK STREET ENTRANCE | DCVA | 7 | 272194 | 2025-10-03 | 2026-10-03 | Greg Hallet
OEC | RIDGEVIEW | WATER FEED TO BOILER | RPP | 1784 | 1M896 Replaced
OEC | RIDGEVIEW | WATER FEED TO BOILER | RPP | 1784 | AJAX9115
FEC | ROYAL ROAD | Boiler Room/Boiler Feed | RPP | 9 | 64916 | 2025-02-24 | 2026-02-24 | Paul Dykeman
FEC | ROYAL ROAD | Sprinkler Room Rm 133 | Watts | 774 | 103505 | 2025-07-07 | 2026-07-07 | Roy Barton | Troy Life
FEC | ROYAL ROAD | Mech Room 111/Humidifier Feed | RPP | 9 | 208125 | 2025-02-24 | 2026-02-24 | Paul Dykeman
FEC | ROYAL ROAD | SPRINKLER ROOM | DCVA | 7 | 114566 | 2025-02-24 | 2026-02-24 | Paul Dykeman
WEC | SOUTHERN VICTORIA |  | RPP | 11023 | 129855 | 2025-11-26 | 2026-11-26 | Timothy Broad
WEC | SOUTHERN VICTORIA |  | RPP | 11022 | 129841 | 2025-11-26 | 2026-11-26 | Timothy Broad
WEC | SOUTHERN VICTORIA | BOILER ROOM | RPP | 10483 | 401288
WEC | SOUTHERN VICTORIA | CUSTODIAL ROM BY GYM |  |  | 863706 | 2025-11-27 | 2026-11-27 | Timothy Broad
FEC | STANLEY CONSOLIDATED | Sprinkler Room Compressor | Air Tank Mounted | PVH161099 | 1651227 | 2024-04-09 | 2026-04-09 | Jason Paquin | Troy Life
FEC | STANLEY CONSOLIDATED | Carpentry Shop - SM Room - Air Compressor | Air Tank Mounted | PVX105219 | 201154 | 2024-04-09 | 2024-04-09 | Jason Paquin | Troy Life
FEC | STANLEY CONSOLIDATED | Sprinkler Room - tank #5 | Pressure Vessel Over 42 | PV75324 | U3003 | 2024-04-09 | 2026-04-09 | Jason Paquin | Troy Life
FEC | STANLEY CONSOLIDATED | Sprinkler Room Tank #4 | Pressure Vessel Over 42 | PV75323 | U2999 | 2024-04-09 | 2026-04-09 | Jason Paquin | Troy Life
FEC | STANLEY CONSOLIDATED | Sprinkler Room Tank #3 | Pressure Vessel Over 42 | PV75322 | U3002 | 2024-04-09 | 2026-04-09 | Jason Paquin | Troy Life
FEC | STANLEY CONSOLIDATED | Sprinkler Room Tank #2 | Pressure Vessel Over 42 | PV75321 | V3004 | 2024-04-09 | 2026-04-09 | Jason Paquin | Troy Life
FEC | STANLEY CONSOLIDATED | Sprinkler Room Tank #1 | Pressure Vessel Over 42 | PV75320 | V3005 | 2024-04-09 | 2026-04-09 | Jason Paquin | Troy Life
FEC | STANLEY CONSOLIDATED | Sprinkler Room Tank #8 | Pressure Vessel Over 42 | PV75327 | 3000 | 2024-04-09 | 2026-04-09 | Jason Paquin | Troy Life
FEC | STANLEY CONSOLIDATED | Boiler Room Air Compressor | Air Tank Mounted | PV75342 | 60726 | 2024-04-09 | 2026-04-09 | Jason Paquin | Troy Life
FEC | STANLEY CONSOLIDATED | Boiler Room - Boiler #2 | Cast Iron Sectional - Hot Water | PVX105223 | 71342895000122096 | 2024-04-09 | 2026-04-09 | Jason Paquin | Troy Life
FEC | STANLEY CONSOLIDATED | Boiler Room Expansion Tank - Right | Pessure Vessel Upto 42 | PV75345 | 4983 | 2024-04-09 | 2026-04-09 | Jason Paquin | Troy Life
FEC | STANLEY CONSOLIDATED | Boiler Room Expansion Tank - Left | Pressure Vessel Upto 42 | PV75343 | 4984 | 2024-04-09 | 2026-04-09 | Jason Paquin | Troy Life
FEC | STANLEY CONSOLIDATED | Sprinkler Room Tank #7 | Pressure Vessel Upto 42 | PV75326 | U3001 | 2024-04-09 | 2026-04-09 | Jason Paquin | Troy Life
FEC | STANLEY CONSOLIDATED | Sprinkler Room Tank #6 | Pressure Vessel Upto 42 | PV75325 | U3006 | 2024-04-09 | 2026-04-09 | Jason Paquin | Troy Life
FEC | STANLEY CONSOLIDATED | Tank Room |  | 007M1 | 10957 | 2025-07-30 | 2026-07-30 | Roy Barton | Troy Life
OEC | SUMMERHILL | WATER FEED TO BOILER | RPP | 1385 | 135501
OEC | SUMMERHILL | WATER MAIN BOILER ROOM | DCVA | 6627 | 44661 Replaced
OEC | SUMMERHILL | WATER MAIN BOILER ROOM | DCVA | 6627 | AKH2654 | 2025-03-05 | 2025-03-05 | Jeff Donahue
OEC | SUMMERHILL | BOILER ROOM | DCVA |  | AJI3415
OEC | SUMMERHILL | Sprinkler Room | DCVA | 369626 | 5046A | 2025-06-20 | 2026-06-20 | Roy Barton | Troy Life
FEC | SUNSET ACRES | AT WATER METER | 4" DCVA PRMISE | 2882
FEC | SUNSET ACRES | AT WATER METER | 4" DCVA PRMISE | 2826
FEC | SUNSET ACRES | MAIN FLOOR JANITOR RM NEAR BATHROOM CW TO MOP SINK | 3/4" RP | 427906
FEC | SUNSET ACRES | MAIN FLOOR JANITOR RM CW TO MOP SINK | 3/4" RP | 427907
FEC | SUNSET ACRES | 2ND FLOOR REAR WING CW TO MOP SINK | 3/4" RP | 427908
FEC | SUNSET ACRES | HW TO DISHWSHER IN KITCHEN | 3/4" RP | 427909
FEC | SUNSET ACRES | PENTHOUSE HOSE CONNECTION | 3/4" RP | 427910
FEC | SUNSET ACRES | KITCHEN MOP SINK | 3/4" RP | 427912
FEC | SUNSET ACRES | HEATING SYSTEM MAKE UP LINE | 1/2" RP | 427913
FEC | SUNSET ACRES | 2ND FLOOR FRONT WING, HW TO MOP SINK | 3/4" RP | 427914
FEC | SUNSET ACRES | 3rd FLOOR FRONT WING, CW TO MOP SINK | 3/4" RP | 427915
FEC | SUNSET ACRES | MAIN FLOOR JANITOR ROOM HW TO MOP SINK | 3/4" RP | 427916
FEC | SUNSET ACRES | FLOOR MOP SINK REAR WING HW |  | 427918
FEC | SUNSET ACRES | PENTHOUSE HUMIDIFIER | 3/4" RP | 427919
FEC | SUNSET ACRES | MAIN FLOOR NEAR BOTTOM JANITOR RM HW TO MOP SINK | 3/4" RP | 427922
FEC | SUNSET ACRES | ON SPRINKLER LINE SPRINKLER RM | 8" DCVA | YG-0271
WEC | TOBIQUE VALLEY | WATER ENTRANCE | DCVA | 6839 | 136870
WEC | TOBIQUE VALLEY | BOILER ROOM |  |  | W398950 | 2025-11-12 | 2026-11-12 | Timothy Broad
WEC | TOBIQUE VALLEY | WATER ENTRANCE | DCVA | 6840 | JA-0420 | 2025-07-10 | 2026-07-10 | Darryl Shirley | Troy Life
WEC | TOWNSVIEW | A129 COLD WATER | RPP | 399407 | A326772 | 2025-10-28 | 2026-10-28 | Jordan Mean
WEC | TOWNSVIEW | A129 HOT WATER-Custodial RM | RPP | 399408 | A327332 | 2025-10-28 | 2026-10-28 | Jordan Mean
WEC | TOWNSVIEW | CAFETERIA- COLD WATER | RPP | 402242 | A327329 | 2025-10-28 | 2026-10-28 | Jordan Mean
WEC | TOWNSVIEW | BOILER ROOM EYE WASH | PVB | 429980 | 383008 | 2025-10-28 | 2026-10-28 | Jordan Mean
WEC | TOWNSVIEW | C108 MECHANICAL ROOM | PVB | 428850 | 385441 | 2025-10-28 | 2026-10-28 | Jordan Mean
WEC | TOWNSVIEW | C108 MECHANICAL ROOM | RPP | 409099 | A333867 | 2025-10-28 | 2026-10-28 | Jordan Mean
WEC | TOWNSVIEW | CAFETERIA |  |  | A327324 | 2025-10-28 | 2026-10-28 | Jordan Mean
WEC | TOWNSVIEW | SCIENCE LAB |  |  | A324412 | 2025-10-28 | 2026-10-28 | Jordan Mean
WEC | TOWNSVIEW | SCIENCE LAB |  |  | A335592 | 2025-10-28 | 2026-10-28 | Jordan Mean
WEC | TOWNSVIEW | PENTHOUSE |  |  | A186120 | 2025-10-28 | 2026-10-28 | Jordan Mean
WEC | TOWNSVIEW | D118 |  |  | L88938 | 2025-10-28 | 2026-10-28 | Jordan Mean
WEC | TOWNSVIEW | D118 |  |  | L88940 | 2025-10-28 | 2026-10-28 | Jordan Mean
WEC | TOWNSVIEW | BOILER ROM |  |  | A333925 | 2025-10-28 | 2026-10-28 | Jordan Mean
WEC | TOWNSVIEW | C104 |  |  | A333871 | 2025-10-28 | 2026-10-28 | Jordan Mean
WEC | TOWNSVIEW | C104 |  |  | A316448 | 2025-10-28 | 2026-10-28 | Jordan Mean
WEC | TOWNSVIEW | B108 |  |  | 385441 | 2025-10-28 | 2026-10-28 | Jordan Mean
WEC | TOWNSVIEW | B108 |  |  | 385447 | 2025-10-28 | 2026-10-28 | Jordan Mean
WEC | TOWNSVIEW | B108 |  | 428851 | A321576 | 2025-10-28 | 2026-10-28 | Jordan Mean
WEC | TOWNSVIEW | B108 MECHANICAL -NON POTABLE HOT | PVB | 428852 | 383009 | 2025-10-28 | 2026-10-28 | Jordan Mean
WEC | TOWNSVIEW | B100 WING -CUSTODIAL SINK COLD | RPP | 429992 | A340020 | 2025-10-28 | 2026-10-28 | Jordan Mean
WEC | TOWNSVIEW | B100 CUSTODIAL HOT | RPP | 429988 | A326128 | 2025-10-28 | 2026-10-28 | Jordan Mean
WEC | TOWNSVIEW | B111 CUSTODIAL HOT | RPP | 429984 | A326133
WEC | TOWNSVIEW | B234 CUSTODIAL ROOM HOT | RPP | 429981 | A326775 | 2025-10-28 | 2026-10-28 | Jordan Mean
WEC | TOWNSVIEW | B234 SINK -COLD | RPP | 429993 | A327896 | 2025-10-28 | 2026-10-28 | Jordan Mean
WEC | TOWNSVIEW | B111 CUSTODIAL COLD | RPP | 429987 | A335833
WEC | TOWNSVIEW | TRAP PRIMER | PVB | 409073 | 385445 | 2025-10-28 | 2026-10-28 | Jordan Mean
WEC | TOWNSVIEW | C204 COLD | RPP | 409084 | A325215 | 2025-10-28 | 2026-10-28 | Jordan Mean
WEC | TOWNSVIEW | B215 SINK- HOT | RPP | 409086 | A326786 | 2025-10-28 | 2026-10-28 | Jordan Mean
WEC | TOWNSVIEW | C204 SINK- HOT | RPP | 409080 | A327330 | 2025-10-28 | 2026-10-28 | Jordan Mean
WEC | TOWNSVIEW |  | RPP | 409097 | A346312 | 2025-10-28 | 2026-10-28 | Jordan Mean
WEC | TOWNSVIEW | D118 SPRINKLER | DCVA | 427057 | NL-2455 | 2025-06-30 | 2026-06-30 | Roy Barton | Troy Life
WEC | TOWNSVIEW | PENTHOUSE BESIDE GYM | PVB | 352629 | 385465 | 2025-10-28 | 2026-10-28 | Jordan Mean
WEC | TOWNSVIEW | C104 JANITOR ROOM | PVB | 352664 | 50064 | 2025-10-28 | 2026-10-28 | Jordan Mean
WEC | TOWNSVIEW | A129 CUSTODIAN ROOM EYE WASH | PVB | 352634 | 50066
WEC | TOWNSVIEW | KITCHEN DISH WASHER | PVB | 352622 | 385442 | 2025-10-28 | 2026-10-28 | Jordan Mean
WEC | TOWNSVIEW | KITCHEN | PVB | 352665 | 50058 | 2025-10-28 | 2026-10-28 | Jordan Mean
WEC | TOWNSVIEW | KITCHEN | RPP | 352666 | A316451 | 2025-10-28 | 2026-10-28 | Jordan Mean
WEC | TOWNSVIEW | PENTHOUSE BESIDE GYM | RPP | 352627 | A326778 | 2025-10-28 | 2026-10-28 | Jordan Mean
WEC | TOWNSVIEW | PENTHOUSE BESIDE GYM | RPP | 352628 | A327333 | 2025-10-28 | 2026-10-28 | Jordan Mean
WEC | TOWNSVIEW | PENTHOUSE BESIDE GYM | RPP | 352625 | A327341 | 2025-10-28 | 2026-10-28 | Jordan Mean
WEC | TOWNSVIEW | D131 JANITOR ROOM | RPP | 352636 | A327890 | 2025-10-28 | 2026-10-28 | Jordan Mean
WEC | TOWNSVIEW | D131 JANITOR ROOM |  |  | 50065 | 2025-10-28 | 2026-10-28 | Jordan Mean
WEC | TOWNSVIEW | D121 JANITOR ROOM | RPP | 352641 | A327903 | 2025-10-28 | 2026-10-28 | Jordan Mean
WEC | TOWNSVIEW | B111 JANITOR ROOM | PVB | 352598 | 50063
WEC | TOWNSVIEW | B234- JANITOR ROOM | PVB | 352681 | 50059 | 2025-10-28 | 2026-10-28 | Jordan Mean
WEC | TOWNSVIEW | D118 WATER MECH ROOM | PVB | 352677 | 385471 | 2025-10-28 | 2026-10-28 | Jordan Mean
WEC | TOWNSVIEW | B215 JANITOR ROOM | PVB | 352678 | 50062 | 2025-10-28 | 2026-10-28 | Jordan Mean
WEC | TOWNSVIEW | B104 JANITOR ROOM | PVB | 352644 | 50067 | 2025-10-28 | 2026-10-28 | Jordan Mean
WEC | TOWNSVIEW | C204 JANITOR ROOM | PVB | 352679 | 50068 | 2025-10-28 | 2026-10-28 | Jordan Mean
FEC | UMES
FEC | UPPER MIRAMICHI ELEMENTARY | BOILER ROOM | Vertical Boiler - Hot Water | PVH161327 | 2108302238203940
WEC | WOODSTOCK HIGH | SPRINKLER ROOM | DCVA | 350750 | 114150014 | 2025-08-19 | 2026-08-19 | Roy Barton | Troy Life
l | WOODSTOCK HIGH (THEATRE) | SPRINKLER ROOM | PVB | 353441 | 388400